{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Gallons","EFC Table"],"not_rendered":{"charts":0,"images":11,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Gallons","index":0,"n_rows":176,"n_cols":15,"rows_kept":176,"cut":false,"hidden":false,"merged":[[2,1,2,3],[3,1,3,2]]}
["Local Water Supply Plan Completion Assistance Tool version 2.1",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(OR(MOD(B5,400)=0,AND(MOD(B5,4)=0,MOD(B5,100)<>0)),\"Leap Year\", \"NOT a Leap Year\")","v":"Leap Year"}]
[]
["Water System Name:","LCFWASA-Kings Bluff"]
["PWS ID#:","50-09-013"]
["Reporting Year:",2020]
[]
["Water Use by Type",null,null,{"$f":"D9+D10+D11+D12+D13","v":0},null,null,{"$f":"G9+G10+G11+G12","v":0}]
["Type of Use","Metered Connections","Gallons per Yr.","Metered Average Use (MGD)","Non-Metered Connections","Estimated Gallons per Yr.","Non-Metered Estimated Use (MGD)"]
["Residential",null,null,{"$f":"IF(C9>0,C9/1000000/365,0)","v":0},null,null,{"$f":"IF(F9>0,F9/1000000/365,0)","v":0}]
["Commercial",null,null,{"$f":"IF(C10>0,C10/1000000/365,0)","v":0},null,null,{"$f":"IF(F10>0,F10/1000000/365,0)","v":0}]
["Industrial",null,null,0,null,null,0]
["Institutional",null,null,0,null,null,0]
["System Process",null,null,0]
[]
[]
[]
[]
[]
["Water Sales",null,null,{"$f":"(IF(C21>0,D21*E21,0)+IF(C22>0,D22*E22,0)+IF(C23>0,D23*E23,0)+IF(C24>0,D24*E24,0)+IF(C25>0,D25*E25,0)+IF(C26>0,D26*E26,0)+IF(C27>0,D27*E27,0)+IF(C28>0,D28*E28,0)+IF(C29>0,D29*E29,0)+IF(C30>0,D30*E30,0)+IF(C31>0,D31*E31))/IF(O1=\"Leap Year\",366,365)","v":25.823764579234975}]
["Purchaser","PWSID","Gallons Sold per Yr.","Average Daily Sold (MGD)","Days Sold per Yr."]
["Brunswick County","04-10-045",5055844250,{"$f":"IF(E21=0,0,IF(C21>0,C21/1000000/E21,0))","v":13.85162808219178},365]
["Cape Fear Publc Utility Authority","04-65-015",3815250023,{"$f":"IF(E22=0,0,IF(C22>0,C22/1000000/E22,0))","v":10.452739789041097},365]
["Pender County","07-71-011",580403563,1.5901467479452054,365]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[]
[]
[]
[]
[]
["Monthly Withdrawals & Purchases",null,null,"                   (Please read message box before completing table)",null,null,null,null,{"$f":"(SUM(C39:C42)+SUM(F39:F42)+SUM(I39:I42))/12","v":27.68003788253306}]
[null,"Gallons","Average Daily Use (MGD)",null,"Gallons","Average Daily Use (MGD)",null,"Gallons","Average Daily Use (MGD)"]
["January",611562200,{"$f":"IF(B39>0,IF(D45=\"N\",B39/1000000/DAY(DATE(B5,1+1,1)-1)+D118,B39/1000000/DAY(DATE(B5,1+1,1)-1)),D118)","v":19.727812903225804},"May",903458360,{"$f":"IF(E39>0,IF(D45=\"N\",E39/1000000/DAY(DATE(B5,5+1,1)-1)+D118,E39/1000000/DAY(DATE(B5,5+1,1)-1)),D118)","v":29.143818064516129},"September",939776100,{"$f":"IF(H39>0,IF(D45=\"N\",H39/1000000/DAY(DATE(B5,9+1,1)-1)+D118,H39/1000000/DAY(DATE(B5,9+1,1)-1)),D118)","v":31.325870000000002}]
["February",706200200,{"$f":"IF(B40>0,IF(D45=\"N\",B40/1000000/DAY(DATE(B5,2+1,1)-1)+D118,B40/1000000/DAY(DATE(B5,2+1,1)-1)),D118)","v":24.351731034482757},"June",886919447,{"$f":"IF(E40>0,IF(D45=\"N\",E40/1000000/DAY(DATE(B5,6+1,1)-1)+D118,E40/1000000/DAY(DATE(B5,6+1,1)-1)),D118)","v":29.563981566666666},"October",874616400,{"$f":"IF(H40>0,IF(D45=\"N\",H40/1000000/DAY(DATE(B5,10+1,1)-1)+D118,H40/1000000/DAY(DATE(B5,10+1,1)-1)),D118)","v":28.213432258064515}]
["March",844719700,{"$f":"IF(B41>0,IF(D45=\"N\",B41/1000000/DAY(DATE(B5,3+1,1)-1)+D118,B41/1000000/DAY(DATE(B5,3+1,1)-1)),D118)","v":27.24902258064516},"July",974842700,{"$f":"IF(E41>0,IF(D45=\"N\",E41/1000000/DAY(DATE(B5,7+1,1)-1)+D118,E41/1000000/DAY(DATE(B5,7+1,1)-1)),D118)","v":31.446538709677419},"November",817989450,{"$f":"IF(H41>0,IF(D45=\"N\",H41/1000000/DAY(DATE(B5,11+1,1)-1)+D118,H41/1000000/DAY(DATE(B5,11+1,1)-1)),D118)","v":27.266315000000002}]
["April",897170000,{"$f":"IF(B42>0,IF(D45=\"N\",B42/1000000/DAY(DATE(B5,4+1,1)-1)+D118,B42/1000000/DAY(DATE(B5,4+1,1)-1)),D118)","v":29.905666666666665},"August",940125500,{"$f":"IF(E42>0,IF(D45=\"N\",E42/1000000/DAY(DATE(B5,8+1,1)-1)+D118,E42/1000000/DAY(DATE(B5,8+1,1)-1)),D118)","v":30.326629032258065},"December",732828740,{"$f":"IF(H42>0,IF(D45=\"N\",H42/1000000/DAY(DATE(B5,12+1,1)-1)+D118,H42/1000000/DAY(DATE(B5,12+1,1)-1)),D118)","v":23.639636774193551}]
[]
[]
["Does your system purchase source water ONLY?",null,null,"N","( Yor N )"]
[]
[]
["Ground Water Sources",null,{"$f":"(IF(B50>0,C50*D50,0)+IF(B51>0,C51*D51,0)+IF(B52>0,C52*D52,0)+IF(B53>0,C53*D53,0)+IF(B54>0,C54*D54,0)+IF(B55>0,C55*D55,0)+IF(B56>0,C56*D56,0)+IF(B57>0,C57*D57,0)+IF(B58>0,C58*D58,0)+IF(B59>0,C59*D59,0)+IF(B60>0,C60*D60)+IF(B61>0,C61*D61,0)+IF(B62>0,C62*D62,0)+IF(B63>0,C63*D63,0)+IF(B64>0,C64*D64,0)+IF(B65>0,C65*D65,0)+IF(B66>0,C66*D66,0)+IF(B67>0,C67*D67,0)+IF(B68>0,C68*D68,0)+IF(B69>0,C69*D69,0)+IF(B70>0,C70*D70,0)+IF(B71>0,C71*D71,0)+IF(B72>0,C72*D72,0)+IF(B73>0,C73*D73,0)+IF(B74>0,C74*D74,0)+IF(B75>0,C75*D75,0)+IF(B76>0,C76*D76,0)+IF(B77>0,C77*D77,0)+IF(B78>0,C78*D78,0)+IF(B79>0,C79*D79,0)+IF(B80>0,C80*D80,0)+IF(B81>0,C81*D81,0)+IF(B82>0,C82*D82,0)+IF(B83>0,C83*D83,0)+IF(B84>0,C84*D84,0)+IF(B85>0,C85*D85,0)+IF(B86>0,C86*D86,0)+IF(B87>0,C87*D87,0)+IF(B88>0,C88*D88,0)+IF(B89>0,C89*D89,0)+IF(B90>0,C90*D90,0)+IF(B91>0,C91*D91,0)+IF(B92>0,C92*D92,0)+IF(B93>0,C93*D93,0)+IF(B94>0,C94*D94,0)+IF(B95>0,C95*D95,0)+IF(B96>0,C96*D96,0)+IF(B97>0,C97*D97,0)+IF(B98>0,C98*D98,0)+IF(B99>0,C99*D99,0)+IF(B100>0,C100*D100,0))/IF(O1=\"Leap Year\",366,365)","v":0}]
["Name or Number","Gallons Pumped per Yr.","Average Daily Withdrawal (MGD)","Days Used per Yr."]
[null,null,{"$f":"IF(D50=0,0,IF(B50>0,B50/1000000/D50,0))","v":0}]
[null,null,{"$f":"IF(D51=0,0,IF(B51>0,B51/1000000/D51,0))","v":0}]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[null,null,0]
[]
[]
[]
[]
[]
["Surface Water Sources",null,null,{"$f":"(IF(C108>0,D108*E108,0)+IF(C109>0,D109*E109,0)+IF(C110>0,D110*E110,0)+IF(C111>0,D111*E111,0)+IF(C112>0,D112*E112,0))/IF(O1=\"Leap Year\",366,365)","v":28.103102754098362}]
["Stream","Reservoir","Gallons Withdrawn per Yr.","Average Daily Withdrawal      (MGD)","Days Used per Yr."]
["Cape Fear River",null,10285735608,{"$f":"IF(E108=0,0,IF(C108>0,C108/1000000/E108,0))","v":28.180097556164387},365]
[null,null,null,{"$f":"IF(E109=0,0,IF(C109>0,C109/1000000/E109,0))","v":0}]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[]
[]
[]
[]
[]
["Water Purchases From Other Systems",null,null,{"$f":"(IF(C120>0,D120*E120,0)+IF(C121>0,D121*E121,0)+IF(C122>0,D122*E122,0)+IF(C123>0,D123*E123,0)+IF(C124>0,D124*E124,0))/IF(O1=\"Leap Year\",366,365)","v":0}]
["Seller","    PWSID","Gallons Purchased per Yr.","Average Daily Purchased         (MGD)","Days Used per Yr."]
[null,null,null,{"$f":"IF(E120=0,0,IF(C120>0,C120/1000000/E120,0))","v":0}]
[null,null,null,{"$f":"IF(E121=0,0,IF(C121>0,C121/1000000/E121,0))","v":0}]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[]
[]
[]
[]
[]
["Monthly Discharges",null,"                      (Please read message box before completing table)",null,null,null,null,null,{"$f":"(SUM(C132:C135)+SUM(F132:F135)+SUM(I132:I135))/12","v":0}]
[null,"Gallons","Average Daily Use (MGD)",null,"Gallons","Average Daily Use (MGD)",null,"Gallons","Average Daily Use (MGD)"]
["January",0,{"$f":"IF(B132>0,IF(E138=\"N\",B132/1000000/DAY(DATE(B5,1+1,1)-1)+D141,B132/1000000/DAY(DATE(B5,1+1,1)-1)),D141)","v":0},"May",0,{"$f":"IF(E132>0,IF(E138=\"N\",E132/1000000/DAY(DATE(B5,5+1,1)-1)+D141,E132/1000000/DAY(DATE(B5,5+1,1)-1)),D141)","v":0},"September",0,{"$f":"IF(H132>0,IF(E138=\"N\",H132/1000000/DAY(DATE(B5,9+1,1)-1)+D141,H132/1000000/DAY(DATE(B5,9+1,1)-1)),D141)","v":0}]
["February",0,{"$f":"IF(B133>0,IF(E138=\"N\",B133/1000000/DAY(DATE(B5,2+1,1)-1)+D141,B133/1000000/DAY(DATE(B5,2+1,1)-1)),D141)","v":0},"June",0,{"$f":"IF(E133>0,IF(E138=\"N\",E133/1000000/DAY(DATE(B5,6+1,1)-1)+D141,E133/1000000/DAY(DATE(B5,6+1,1)-1)),D141)","v":0},"October",0,{"$f":"IF(H133>0,IF(E138=\"N\",H133/1000000/DAY(DATE(B5,10+1,1)-1)+D141,H133/1000000/DAY(DATE(B5,10+1,1)-1)),D141)","v":0}]
["March",0,{"$f":"IF(B134>0,IF(E138=\"N\",B134/1000000/DAY(DATE(B5,3+1,1)-1)+D141,B134/1000000/DAY(DATE(B5,3+1,1)-1)),D141)","v":0},"July",0,{"$f":"IF(E134>0,IF(E138=\"N\",E134/1000000/DAY(DATE(B5,7+1,1)-1)+D141,E134/1000000/DAY(DATE(B5,7+1,1)-1)),D141)","v":0},"November",0,{"$f":"IF(H134>0,IF(E138=\"N\",H134/1000000/DAY(DATE(B5,11+1,1)-1)+D141,H134/1000000/DAY(DATE(B5,11+1,1)-1)),D141)","v":0}]
["April",0,{"$f":"IF(B135>0,IF(E138=\"N\",B135/1000000/DAY(DATE(B5,4+1,1)-1)+D141,B135/1000000/DAY(DATE(B5,4+1,1)-1)),D141)","v":0},"August",0,{"$f":"IF(E135>0,IF(E138=\"N\",E135/1000000/DAY(DATE(B5,8+1,1)-1)+D141,E135/1000000/DAY(DATE(B5,8+1,1)-1)),D141)","v":0},"December",0,{"$f":"IF(H135>0,IF(E138=\"N\",H135/1000000/DAY(DATE(B5,12+1,1)-1)+D141,H135/1000000/DAY(DATE(B5,12+1,1)-1)),D141)","v":0}]
[]
[]
["Does your system discharge wastewater through an interconnection ONLY?",null,null,null,"N","( Yor N )"]
[]
[]
["Wastewater Interconnections",null,null,{"$f":"(IF(F143<>\"R\",D143*E143,0)+IF(F144<>\"R\",D144*E144,0)+IF(F145<>\"R\",D145*E145,0)+IF(F146<>\"R\",D146*E146,0)+IF(F147<>\"R\",D147*E147,0))/IF(O1=\"Leap Year\",366,365)","v":0}]
["Water System","PWSID","Gallons per Yr.","Average Daily Amount            (MGD)","Days Used per Yr.","Type (D or R)"]
[null,null,null,{"$f":"IF(E143=0,0,IF(C143>0,C143/1000000/E143,0))","v":0}]
[null,null,null,{"$f":"IF(E144=0,0,IF(C144>0,C144/1000000/E144,0))","v":0}]
[null,null,null,0]
[null,null,null,0]
[null,null,null,0]
[]
[1]
[1]
[1]
[1,"MGD"]
["Average Annual Withdrawals and Purchases",{"$f":"ROUND(C48+D106+D118,5)","v":28.103100000000001},"Discrepancy"]
[null,"MGD",{"$f":"IF(B153>0,ABS(B153-B155)/((B153+B155)/2),0)","v":1.5168100380362827E-2},"If the discrepancy is greater than 5%, check withdrawal and purchase values."]
["Average Monthly Withdrawals and Purchases",{"$f":"I37","v":27.68003788253306}]
[]
[null,"MGD"]
["Average Annual Accounted-for Water Use",{"$f":"IF(D7=0,IF(G7=0,\"No Data\",D19+D7+G7),D19+D7+G7)","v":"No Data"}]
[]
[null,"MGD","Percent"]
["Unaccounted-for Water",{"$f":"IF(D7=0,IF(G7=0,0,B153-B158),B153-B158)","v":0},{"$f":"IF(B161>0,B161/(D118+D106+C48),IF(B161=0,0,\"Error\"))","v":0},"If the unaccounted-for water is negative, check water used and source water values. It is not possible to have negative unaccounted-for water."]
[null,null,null,"If the unaccounted-for water is zero, check water used and source water values. It is not practical to not have any water loss."]
[]
[]
["Unaccounted-for Water is lost revenue for your water system. See below for an"]
["estimate of lost revenue based on your system operations."]
["Although this workbook is designed to give you a snapshot of water related revenue"]
["loss, it should not be viewed as a substitute for conducting a complete water audit."]
["To access our water audit, click on the DEQ icon above."]
[]
["Monthly-Equivalent Inside Residential Water Bill (based on 5,000 gallons used)1:",null,null,null,{"$f":"IF(B3<>\"\",IFERROR(INDEX('EFC Table'!A4:P560,MATCH(B3,'EFC Table'!A4:A560,0),11),\"Water system name match not found. Recheck entry or use the button above to find your system in the rate table.\"),\"Enter water system name at the top of this worksheet.\")","v":"Water system name match not found. Recheck entry or use the button above to find your system in the rate table."}]
["Estimated Revenue loss for the Reporting Year2,3:",null,null,{"$f":"IF(B3<>\"\",IFERROR(B161*365000000*E171/5000,\"Water system name match not found. Recheck entry or use the button above to find your system in the rate table.\"),0)","v":"Water system name match not found. Recheck entry or use the button above to find your system in the rate table."}]
[]
["1: Data taken from the Tables of Rate Structures and Computed Bills published by the UNC Environmental Finance Center and NC League of Municipalitie as of January 2019. All water systems may not be represented."]
["2: All revenue loss is not recoverable, and includes losses from infrastructure leaks, meter errors, billing errors, theft, and other uses not accounted for in the local water supply plan."]
["3: Based on unaccounted-for water due to apparent losses (e.g. meter errors, billing errors, theft) and delivered water that was not sold. A complete water audit is recommended for a more detailed revenue loss estimate."]

{"sheet":"EFC Table","index":1,"n_rows":560,"n_cols":16,"rows_kept":560,"cut":false,"hidden":true,"merged":[[0,0,0,15],[1,0,2,0],[1,1,2,2],[1,3,2,3],[1,4,1,5],[1,6,1,7],[1,8,1,9],[1,10,1,11],[1,12,1,13],[1,14,1,15]]}
["Rate Table 2: FY18-19 Monthly-Equivalent RESIDENTIAL WATER Bills at Various Consumption Levels (Includes Base Charges)"]
["Utility / Rate Structure","Service Population",null,"Oper. Revenue/ Oper. Expense\n(FY17 LGC Data)","Zero Gallons \n(0 cf)",null,"3,000 Gallons \n(401 cf)",null,"4,000 Gallons \n(535 cf)",null,"5,000 Gallons \n(668 cf)",null,"10,000 Gallons\n(1,337 cf)",null,"15,000 Gallons \n(2,005 cf)"]
[null,null,null,null,"Inside","Outside","Inside","Outside","Inside","Outside","Inside","Outside","Inside","Outside","Inside","Outside"]
["Aberdeen",9935,1,"",7,11,17.170000000000002,31.69,20.75,39.42,24.33,47.15,43.95,88.85,67.5,137]
["Ahoskie",5479,1,"",13.98,38.6,29.94,38.6,35.26,38.6,40.58,38.6,67.180000000000007,38.6,93.78,38.6]
["Alamance Village",1100,1,0.76,8.5,17,25.27,50.54,30.86,61.72,36.450000000000003,72.900000000000006,64.400000000000006,128.80000000000001,92.35,184.7]
["Albemarle",16000,1,1.1299999999999999,12.11,24.19,14.78,29.56,18.309999999999999,36.659999999999997,21.84,43.75,39.479999999999997,79.25,57.13,114.74]
["Alexander County - Bethlehem",12587,1,1.1499999999999999,32.159999999999997,"",41.55,"",44.67,"",47.8,"",63.44,"",79.09,""]
["Alexander County - Sugarloaf and Hwy 16",12587,1,1.1499999999999999,32.159999999999997,"",41.55,"",44.67,"",47.8,"",63.44,"",79.09,""]
["Andrews",3359,1,0.62,28,56,28,56,35.5,66,43,76,80.5,126,118,176]
["Angier",7180,1,"",19.8,39.6,23.25,46.5,26.7,53.4,30.15,60.3,47.4,94.8,64.650000000000006,129.30000000000001]
["Anson County",13380,1,"",13,"",17.32,"",21.64,"",25.97,"",45.09,"",60.47,""]
["Ansonville",1262,1,1.1499999999999999,21.1,26.52,21.1,26.52,25.79,31.21,30.48,35.9,53.93,59.35,77.38,82.8]
["Apex",50394,1,0.78,5.54,11.08,18.11,36.22,22.3,44.6,26.49,52.98,49.96,99.92,79.069999999999993,158.13999999999999]
["Apex - Colvin Park (no water bills)","","","","","","","","","","","","","","",""]
["Aqua North Carolina",197680,1,"",19.25,"",36.74,"",42.57,"",48.4,"",77.55,"",106.7,""]
["Aqua North Carolina - Brookwood and LaGrange",197680,1,"",14.03,"",25.31,"",29.07,"",32.83,"",51.63,"",70.430000000000007,""]
["Aqua North Carolina - Fairways and Beau Rivage",197680,1,"",8.36,"",12.95,"",14.48,"",16.010000000000002,"",23.66,"",31.31,""]
["Arba Water Corporation",203,1,"",28,"",28,"",33,"",38,"",63,"",88,""]
["Archdale",12600,1,1.31,14.84,29.68,19.29,38.58,23.74,47.48,28.19,56.38,50.44,100.88,72.69,145.38]
["Asheboro",25761,1,1.05,13.91,34.78,20.79,51.98,24.45,61.14,28.12,70.290000000000006,46.43,116.08,64.75,161.87]
["Asheville",124300,1,1.45,7.28,"",23.84,"",29.36,"",34.880000000000003,"",62.49,"",90.1,""]
["Atlantic Beach",6380,1,"",11.75,"",15,"",18.25,"",21.5,"",37.75,"",54,""]
["Aulander",1438,1,"",26,36,33.5,45.75,36,49,38.5,52.25,51,68.5,63.5,84.75]
["Aurora",502,1,"",21.63,43.25,32.03,64.08,35.5,71.02,38.97,77.959999999999994,56.32,112.67,73.66,147.38]
["Autryville",472,1,1.03,20.36,25.45,34.86,43.57,42.11,52.63,49.36,61.69,85.61,106.99,121.86,152.29]
["Ayden",5100,1,1.03,13,26,28.75,44.75,34,51,39.25,57.25,71.75,94.75,104.25,132.25]
["Bailey",568,1,"",20,40,32.33,53.83,36.44,58.44,40.549999999999997,63.05,61.1,86.1,81.650000000000006,109.15]
["Bakersville",725,1,0.78,19.5,29.5,19.5,29.5,19.5,29.5,21.5,32.5,31.5,47.5,41.5,62.5]
["Bald Head Island",3150,1,"",19.7,"",36.380000000000003,"",45.49,"",54.6,"",100.15,"",145.69999999999999,""]
["Banner Elk",1407,1,1.1599999999999999,24,48,29,58,34,68,39,78,71,142,106,212]
["Bath",290,1,"",31,"",41,"",51,"",61,"",111,"",161,""]
["Baton Water Corporation",7025,1,"",23.86,"",23.86,"",31.81,"",39.76,"",79.510000000000005,"",119.26,""]
["Bay River Metropolitan Sewerage District (no water bills)","","","","","","","","","","","","","","",""]
["Beaufort",4874,1,1.1599999999999999,10.37,20.74,25.58,43.57,30.65,51.18,35.72,58.79,61.07,96.84,86.42,134.88999999999999]
["Beaufort County - District I",31150,1,1.2,36.049999999999997,"",42.2,"",48.35,"",54.5,"",85.25,"",116,""]
["Beaufort County - District II",31150,1,1.2,29.4,"",35.4,"",41.4,"",47.4,"",77.400000000000006,"",107.4,""]
["Beaufort County - District III",31150,1,1.2,32.15,"",37.65,"",43.15,"",48.65,"",76.150000000000006,"",103.65,""]
["Beaufort County - District IV",31150,1,1.2,37.01,"",43.32,"",49.63,"",55.94,"",87.49,"",119.04,""]
["Beaufort County - District V",31150,1,1.2,38.4,"",44.93,"",51.46,"",57.99,"",90.64,"",123.29,""]
["Beaufort County - District VI",31150,1,1.2,32.15,"",37.65,"",43.15,"",48.65,"",76.150000000000006,"",103.65,""]
["Beaufort County - District VII",31150,1,1.2,35.46,"",41.61,"",47.76,"",53.91,"",84.66,"",115.41,""]
["Beech Mountain",2418,1,1.08,36.5,73,36.5,73,41.5,83,46.5,93,77.75,155.5,115.25,230.5]
["Belhaven",1960,1,"",30,"",30,"",37.35,"",44.7,"",81.45,"",118.2,""]
["Bell Arthur Water Corporation",10025,1,"",17.5,"",37.44,"",44.46,"",51.48,"",87.83,"",125.43,""]
["Belmont",11077,1,1.45,14.67,29.34,22.14,44.28,29.61,59.22,37.08,74.16,74.83,149.66,112.98,225.96]
["Benson",3435,1,1.07,10,12,22.87,32.79,27.16,39.72,31.45,46.65,52.9,81.3,74.349999999999994,115.95]
["Bermuda Run",1222,2,1.71,13.3,"",20.96,"",26.07,"",31.18,"",56.73,"",82.28,""]
["Bertie County",12662,1,"",15.5,"",29,"",33.5,"",38,"",60.5,"",83,""]
["Bessemer City",5484,1,0.93,10.199999999999999,20.399999999999999,16.5,33,22.8,45.6,29.1,58.2,60.6,121.2,92.1,184.2]
["Bethel",1640,1,"",34,68,47.6,95.2,54.4,108.8,61.2,122.4,95.2,190.4,129.19999999999999,258.39999999999998]
["Beulaville",1326,1,0.9,10.6,11.7,23.8,27.1,30.4,34.799999999999997,37,42.5,70,81,103,119.5]
["Biltmore Forest",1356,1,0.94,13.73,"",34.54,"",40.22,"",45.9,"",74.3,"",102.7,""]
["Biscoe",2430,1,0.97,12,22,17.5,33,23,44,28.5,55,56,110,83.5,165]
["Black Creek",1795,1,"",9.75,17.600000000000001,20.95,35.200000000000003,25.75,42.4,30.55,49.6,55.35,89.6,82.85,137.1]
["Black Mountain",8938,1,1.07,6.45,6.45,25.2,36.99,31.45,47.17,37.700000000000003,57.35,68.95,108.25,100.2,159.15]
["Bladen County",15353,1,"",17.64,"",24.34,"",27.69,"",31.04,"",47.79,"",64.540000000000006,""]
["Bladenboro",3225,1,0.77,9.49,18.98,13.08,26.15,15.47,30.93,17.86,35.71,29.81,59.61,41.76,83.51]
["Blowing Rock",1637,1,0.99,22.75,45.5,25.75,48.5,31.75,54.5,37.75,60.5,67.75,90.5,97.75,120.5]
["Boardman",165,1,"",20,"",24,"",28,"",30,"",40,"",50,""]
["Bogue Banks Water Corporation",4995,1,"",15,"",21,"",23,"",25,"",35,"",45,""]
["Boiling Springs",4756,1,1.05,18,30,23.5,38.5,29,47,34.5,55.5,62,98,89.5,140.5]
["Bolton",750,1,0.54,16.5,"",19,"",21.5,"",24,"",36.5,"",49,""]
["Boone",18089,1,1.31,14.25,28.5,21.9,43.8,28.05,56.1,34.200000000000003,68.400000000000006,66.2,132.4,99.45,198.9]
["Boonville",1791,1,1.33,21,36.5,24.15,42.8,27.3,49.1,30.45,55.4,46.2,86.9,61.95,118.4]
["Bostic",500,1,1.47,29.05,36.9,34.01,44.34,38.979999999999997,51.78,43.94,59.23,68.75,96.44,91.19,130.11000000000001]
["Brentwood Water Corporation",10489,1,"",17,"",25.33,"",30.88,"",36.43,"",64.180000000000007,"",91.93,""]
["Brevard",8700,1,1.1100000000000001,16.350000000000001,23.2,35.85,52.5,43.65,64.22,51.45,75.94,90.45,134.54,129.44999999999999,193.14]
["Bridgeton (no water bills)","","","","","","","","","","","","","","",""]
["Broad River Water Authority",16525,1,1.64,27.62,"",37.979999999999997,"",43.16,"",48.34,"",74.239999999999995,"",100.14,""]
["Broadway",1503,1,1.03,8,8,20.6,33.200000000000003,24.8,41.6,29,50,51,94,73,138]
["Broadway Water Association",3556,1,"",16,"",24.9,"",29.35,"",33.799999999999997,"",56.05,"",78.3,""]
["Brunswick",556,1,0.88,17,21,17,21,19,23.5,21,26,31,38.5,41,51]
["Brunswick County",95739,1,1.38,12,"",21.15,"",24.2,"",27.25,"",42.7,"",58.2,""]
["Brunswick Regional Water and Sewer H2GO",25583,1,"",12,"",22.5,"",26.5,"",30.5,"",50.5,"",70.5,""]
["Bryson City",4395,1,0.94,13.91,27.81,21.95,43.56,24.63,48.81,27.31,54.06,40.71,80.31,54.11,106.56]
["Bunn",1126,1,1.05,10.23,10.23,27.78,45.36,33.630000000000003,57.07,39.479999999999997,68.78,68.73,127.33,97.98,185.88]
["Burgaw",4250,1,"",9.26,18.54,13.89,27.81,18.82,37.68,23.75,47.55,48.54,97.18,73.89,147.93]
["Burke County",4057,1,0.86,24,"",37.200000000000003,"",41.6,"",47.1,"",74.599999999999994,"",102.1,""]
["Burlington",52034,1,1.28,4.04,8.08,12.12,24.24,16.16,32.32,20.2,40.4,40.4,80.8,58.6,117.2]
["Burnsville",3850,1,1.01,21,42,21,42,28.03,56.06,35.090000000000003,70.180000000000007,75.8,146.6,121.8,228.6]
["Cajah's Mountain (no water bills)","","","","","","","","","","","","","","",""]
["Caldwell County",22487,1,1.18,21.28,"",21.28,"",23.48,"",28.68,"",54.68,"",79.319999999999993,""]
["Calypso",660,1,1.25,15,15,28.5,34.5,33,41,37.5,47.5,60,80,87.5,117.5]
["Cameron",490,1,0.86,13,13,31,43,37,53,43,63,73,113,103,163]
["Candor",875,1,"",25.31,44.45,31.79,57.41,38.270000000000003,70.37,44.75,83.33,77.150000000000006,148.13,109.55,212.93]
["Canton",4259,1,1.1599999999999999,15,30,15,30,18.88,37.76,22.76,45.52,42.16,84.32,61.56,123.12]
["Cape Fear Public Utility Authority",174668,1,1.24,13.78,"",25.84,"",29.86,"",33.880000000000003,"",53.98,"",74.08,""]
["Carolina Beach",10632,1,1.49,18.93,37.86,18.93,37.86,24.26,48.52,29.59,59.18,56.24,112.48,82.89,165.78]
["Carolina Water Service",63419,1,"",27.53,"",48.77,"",55.85,"",62.93,"",98.33,"",133.72999999999999,""]
["Carolina Water Service - Bradfield Farms",63419,1,"",16.739999999999998,"",27.99,"",31.74,"",35.49,"",54.24,"",72.989999999999995,""]
["Carolina Water Service - Corolla Light and Monteray Shores (no water bills)","","","","","","","","","","","","","","",""]
["Carolina Water Service - Elk River",63419,1,"",19.57,"",32.47,"",36.770000000000003,"",41.07,"",62.57,"",84.07,""]
["Carolina Water Service - Fairfield Harbour",63419,1,"",16.739999999999998,"",27.99,"",31.74,"",35.49,"",54.24,"",72.989999999999995,""]
["Carolina Water Service - Fairfield Mountains",63419,1,"",27.53,"",48.77,"",55.85,"",62.93,"",98.33,"",133.72999999999999,""]
["Carolina Water Service - Treasure Cove",63419,1,"",16.739999999999998,"",27.99,"",31.74,"",35.49,"",54.24,"",72.989999999999995,""]
["Carteret County",2871,1,"",27.5,"",41.3,"",48.2,"",55.1,"",89.6,"",124.1,""]
["Carthage",4216,1,1.35,17.5,31.87,31.6,62.47,37.299999999999997,75.27,43,88.07,78,171.27,119.6,274.87]
["Cary",189600,1,1.3,3.25,9.76,17.77,53.32,22.61,67.84,27.45,82.36,57.41,172.21,91.66,274.95999999999998]
["Catawba County",2309,1,"",32.159999999999997,"",41.55,"",44.67,"",47.8,"",63.44,"",79.09,""]
["Cerro Gordo",225,1,0.49,19,"",19,"",21.5,"",24,"",36.5,"",49,""]
["Chadbourn",2370,1,1.05,14,26,27,52,35,68,43,84,86.5,171,131.5,261]
["Charlotte Water",954644,1,1.48,7.4,"",13.94,"",16.75,"",19.559999999999999,"",48.36,"",98.33,""]
["Chatham County",20838,1,1.26,15,"",36,"",43,"",50,"",95.5,"",145.5,""]
["Cherryville",5800,1,"",16,32,20.84,41.68,25.68,51.36,30.52,61.04,54.72,109.44,78.92,157.84]
["Chimney Rock",200,1,0.54,30,"",37.75,"",40.75,"",43.75,"",58.75,"",78.75,""]
["Chinquapin Water Association",4686,1,"",15.5,"",20.75,"",26.01,"",31.26,"",57.52,"",83.79,""]
["Chocowinity",2550,1,"",12.75,25.5,21,33.75,23.75,36.5,27.75,40.5,50.25,63,76.5,89.25]
["Chowan County",10762,1,"",14,"",21,"",28,"",35,"",70,"",105,""]
["Claremont",2525,1,1.29,13.77,27.54,23.61,47.22,26.89,53.78,30.17,60.34,46.57,93.14,62.97,125.94]
["Clarkton",1500,1,"",10.5,21,16.88,33.75,21.13,42.25,25.38,50.75,46.63,93.25,67.88,135.75]
["Clay County Water and Sewer District",1384,1,0.6,18.09,"",34.06,"",38.200000000000003,"",42.34,"",63.04,"",83.74,""]
["Clayton",22967,1,0.77,17,32,30.86,51.83,35.479999999999997,58.44,40.1,65.05,63.2,98.1,86.3,131.15]
["Clayton - Riverwood Subdivision",22967,1,0.77,17,"",31.31,"",36.08,"",40.85,"",64.7,"",88.55,""]
["Clearwater Valley Water Association",46,1,"",15,"",15,"",15,"",15,"",15,"",15,""]
["Cleveland",835,1,1.56,12.65,25.3,23.03,46.06,26.49,52.98,29.95,59.9,47.25,94.5,64.55,129.1]
["Cleveland County Water",51040,1,1.0900000000000001,12,18,19.41,29.03,24.35,36.380000000000003,29.29,43.73,53.99,80.48,78.69,117.23]
["Cliffside Sanitary District (no water bills)","","","","","","","","","","","","","","",""]
["Clinton",12410,1,1.01,13.51,26.24,15.56,30.22,18.28,35.49,20.99,40.76,34.56,67.09,48.13,93.43]
["Clyde",3263,1,1.07,28.5,50.05,31.98,56.25,35.46,62.45,38.94,68.650000000000006,56.34,99.65,73.739999999999995,130.65]
["Coats",2386,1,1.07,13.5,27.5,19.5,39.5,25.5,51.5,31.5,63.5,61.5,123.5,91.5,183.5]
["Cofield",417,1,"",20,30,35,52.5,40,60,45,67.5,70,105,95,142.5]
["Colerain (no water bills)","","","","","","","","","","","","","","",""]
["Columbia",891,1,"",12.79,19.190000000000001,16.18,24.13,19.57,29.07,22.96,34.01,39.909999999999997,58.71,56.86,83.41]
["Columbus",2038,1,1.22,19.239999999999998,38.47,19.239999999999998,38.47,22.04,44.08,24.84,49.69,38.840000000000003,77.739999999999995,58.09,116.29]
["Columbus County",14106,1,1.19,24,"",35.4,"",39.4,"",43.4,"",64.650000000000006,"",85.9,""]
["Concord",99352,1,1.27,4.04,4.54,20.12,23.86,25.48,30.3,30.84,36.74,65.69,78.59,108.59,130.09]
["Concord Community Water System",945,1,"",22,"",22,"",29.5,"",37,"",74.5,"",112,""]
["Conetoe Community Water Association",1050,1,"",13,"",15,"",17,"",19,"",29,"",39,""]
["Conover",14656,1,0.97,13.67,27.34,19.91,39.82,21.99,43.98,24.07,48.14,34.47,68.94,44.87,89.74]
["Conway",711,1,0.78,12,24,13.75,27.5,15.5,31,17.25,34.5,26,52,34.75,69.5]
["Cove City",440,1,0.57999999999999996,5.5,"",23.53,"",29.54,"",35.56,"",65.61,"",95.67,""]
["Craven County",32500,1,"",15,"",15,"",18,"",21,"",38.5,"",61.5,""]
["Creswell",482,1,0.53,19.100000000000001,25.07,55.1,61.07,67.099999999999994,73.069999999999993,79.099999999999994,85.07,141.6,147.57,206.6,212.57]
["Crossnore",200,1,0.77,21.5,25.5,21.5,25.5,21.5,25.5,24,29,36.5,46.5,49,64]
["Cumberland County - Kelly Hills District (no water bills)","","","","","","","","","","","","","","",""]
["Cumberland County - NORCRESS District (no water bills)","","","","","","","","","","","","","","",""]
["Cumberland County - Southpoint",124,1,0.67,22,"",33,"",44,"",55,"",116,"",186,""]
["Currituck County - Mainland Water Department",22265,1,"",20,"",33.5,"",38,"",42.5,"",75,"",117.5,""]
["Currituck County - Maple Commerce Park (no water bills)","","","","","","","","","","","","","","",""]
["Currituck County - Moyock Central Sewer (no water bills)","","","","","","","","","","","","","","",""]
["Currituck County - Moyock Commons Sewer District (no water bills)","","","","","","","","","","","","","","",""]
["Currituck County - Newtown Road Wastewater Treatment District (no water bills)","","","","","","","","","","","","","","",""]
["Currituck County - Ocean Sands Water/Sewer District",22265,1,"",20,"",33.5,"",38,"",42.5,"",75,"",117.5,""]
["Currituck County - Southern Outer Banks",22265,1,"",20,"",33.5,"",38,"",42.5,"",75,"",117.5,""]
["Currituck County - Walnut Island Sanitary District (no water bills)","","","","","","","","","","","","","","",""]
["Dallas",7236,1,1.1499999999999999,10.42,29.63,23.48,52.47,29.88,63.89,36.28,75.31,70.78,144.36000000000001,107.78,219.06]
["Dan River Water",11890,1,"",23,"",28.57,"",34.14,"",39.71,"",67.66,"",95.81,""]
["Dare County",30621,1,1.03,12.99,"",25.91,"",32.369999999999997,"",38.83,"",71.13,"",103.43,""]
["Davidson County (no water bills)","","","","","","","","","","","","","","",""]
["Davidson Water",147455,1,"",13.25,"",17.75,"",22.25,"",26.75,"",49.25,"",74.5,""]
["Davie County",29502,1,1.1399999999999999,13,"",20.5,"",25.5,"",30.5,"",55.5,"",80.5,""]
["Davie County - East Davie Sewer (no water bills)","","","","","","","","","","","","","","",""]
["Deep Run Water Corporation",13183,1,"",10,"",28,"",34,"",40,"",70,"",100,""]
["Denton",3080,1,1.1000000000000001,25.5,51,38.04,76.08,44.31,88.62,50.58,101.16,81.93,163.86,113.28,226.56]
["Dobson",2615,1,0.87,12.5,25,21.8,43.6,24.9,49.8,28,56,43.5,87,59,118]
["Dortches",48,1,"",25,"",44,"",51,"",58,"",93,"",128,""]
["Dover",425,1,"",18,21,23.25,26.25,28.5,31.5,33.75,36.75,65,68,98.75,101.75]
["Drexel",2990,1,0.84,17.399999999999999,34.65,17.399999999999999,34.65,18.7,37.1,20,39.549999999999997,26.5,51.8,33,64.05]
["Dublin",447,1,0.98,10,20,26.2,45.2,31.6,53.6,37,62,64,104,91,146]
["Dunn",11110,1,0.88,12.75,25.5,16.829999999999998,33.659999999999997,20.91,41.82,24.99,49.98,45.39,90.78,65.790000000000006,131.58000000000001]
["Duplin County",17000,1,"",23,"",26.5,"",30,"",33.75,"",53.5,"",73.5,""]
["Durham",262725,0,1.25,7.15,14.3,16.86,33.72,20.85,41.7,25.11,50.23,51.65,103.29,89.91,179.83]
["Durham County (no water bills)","","","","","","","","","","","","","","",""]
["East Arcadia",609,1,0.83,20,25,20,25,22.75,28.25,25.5,31.5,39.25,47.75,53,64]
["East Bend",1422,1,0.99,27.51,35.5,54.29,67.28,65,79.989999999999995,75.709999999999994,92.7,129.26,156.25,182.81,219.8]
["East Spencer",1775,1,1.1399999999999999,4.99,"",36.270000000000003,"",46.7,"",57.13,"",109.27,"",161.41,""]
["Eastern Pines Water Corporation",21300,1,"",12.5,"",30.5,"",36.5,"",42.5,"",72.5,"",102.5,""]
["Eastover Sanitary District",6340,1,"",31,"",41.25,"",45.1,"",48.95,"",75.2,"",101.45,""]
["Eden",15527,1,1,12.35,24.7,27.62,55.24,32.71,65.42,37.799999999999997,75.599999999999994,63.25,126.5,88.7,177.4]
["Edenton",5500,1,0.95,8.23,"",20.53,"",26.68,"",32.83,"",63.58,"",100.18,""]
["Edgecombe Water and Sewer District",13504,1,"",30,"",47.25,"",53,"",58.75,"",90,"",123.75,""]
["Elizabeth City",18988,1,1,22.44,"",35.700000000000003,"",42.33,"",48.96,"",82.11,"",115.26,""]
["Elizabethtown",4200,1,"",12.5,31.25,15.25,38.130000000000003,18,45.01,20.75,51.89,36.200000000000003,90.53,60.4,151.05000000000001]
["Elk Park",495,1,0.83,17,34,17,34,19.25,38.5,21.5,43,34.630000000000003,69.25,49.63,99.25]
["Elkin",4024,1,"",15.5,31,21.5,43,27.5,55,33.5,67,63.5,127,93.5,187]
["Ellenboro",2028,1,1.04,15.5,29.8,23.25,29.8,31,39.700000000000003,38.75,49.6,77.5,99.1,116.25,148.6]
["Ellerbe",1640,1,"",14.28,28.61,18.68,35.21,20.88,38.51,23.08,41.81,34.08,58.31,45.08,74.81]
["Elm City",1720,1,"",13,26,20.079999999999998,40.159999999999997,27.16,54.32,34.24,68.48,69.64,139.28,105.04,210.08]
["Elon",11070,1,1.01,8.1,16.2,16.2,32.4,21.6,43.2,27,54,54,108,81,162]
["Energy United Water Corporation",12257,1,"",17,"",28.85,"",32.799999999999997,"",36.75,"",57.75,"",78.75,""]
["Enfield",2506,1,1.01,30,30,43.4,56.8,50.2,70.400000000000006,59,88,103,176,147,264]
["Engelhard Sanitary District (no water bills)","","","","","","","","","","","","","","",""]
["Eureka (no water bills)","","","","","","","","","","","","","","",""]
["Fair Bluff",889,1,"",13.5,"",15,"",16.5,"",18,"",25.5,"",33,""]
["Fairmont",2881,1,0.97,21.28,42.56,23.36,46.72,25.44,50.88,27.52,55.04,37.92,75.84,48.32,96.64]
["Faison",1410,1,"",22,41,22.83,42.5,24.48,45.5,26.13,48.5,34.380000000000003,63.5,42.63,78.5]
["Faith",1145,1,0.9,9.5,23.75,9.5,23.75,10.6,26.5,12.8,32,23.8,59.5,34.799999999999997,87]
["Falcon",714,1,0.82,20,24,23.63,27.63,26.05,30.05,28.47,32.47,40.57,44.57,52.67,56.67]
["Fallston",589,1,0.71,13.2,"",18.600000000000001,"",24,"",29.4,"",56.4,"",83.4,""]
["Farmville",7468,1,1.0900000000000001,24.15,36.21,32.11,48.14,36.25,54.36,40.39,60.58,61.09,91.68,81.790000000000006,122.78]
["Fayetteville Public Works Commission",206194,1,1.33,13,22.75,20.81,36.42,23.72,41.51,26.63,46.6,46.43,81.25,70.08,122.65]
["Fearrington Utilities (no water bills)","","","","","","","","","","","","","","",""]
["First Craven Sanitary District",6325,1,"",15,"",26.55,"",30.4,"",34.25,"",53.5,"",72.75,""]
["Forest City",16558,1,0.94,14.95,27.15,14.95,27.15,18.66,34.119999999999997,22.37,41.09,40.92,75.94,57.57,107.19]
["Fork Township Sanitary District",11864,1,"",14,"",22,"",30,"",38,"",78,"",130.5,""]
["Fountain",427,1,0.84,22,27,36,43,43,51,50,59,85,99,120,139]
["Four Oaks",2940,1,"",13,18.75,15.76,23.23,19.21,28.83,22.66,34.43,39.909999999999997,62.43,57.16,90.43]
["Foxfire Village",1355,1,1.6,22,27,22,27,25.26,27,31.76,27,65.760000000000005,74.25,109.76,123]
["Franklin",9575,1,1.24,17.8,35.6,24,48,27.1,54.2,30.2,60.4,45.7,91.4,61.2,122.4]
["Franklin County",13517,1,1.3,30,"",37.299999999999997,"",44.6,"",51.9,"",88.4,"",124.9,""]
["Franklinville",1360,1,"",25,30,44.5,49.5,51,56,57.5,62.5,90,100,122.5,137.5]
["Franklinville - HWY 22 Kidd's Mill Road",1360,1,"",42.5,"",66.709999999999994,"",74.78,"",82.85,"",128.19999999999999,"",173.55,""]
["Fremont",1463,1,"",16.75,16.75,33.61,39.130000000000003,39.229999999999997,46.59,44.85,54.05,72.95,91.35,101.05,128.65]
["Fuquay-Varina",25653,1,1.1299999999999999,9.93,19.86,24.75,49.5,29.69,59.38,34.630000000000003,69.260000000000005,59.33,118.66,84.03,168.06]
["Gamewell (no water bills)","","","","","","","","","","","","","","",""]
["Garland",962,1,1.1200000000000001,13,22,23.5,34,27,38,30.5,42,48,62,65.5,82]
["Gates County",11621,1,"",10,"",16,"",19,"",22,"",37,"",52,""]
["Gibson",659,1,0.7,24.85,40.700000000000003,24.85,40.700000000000003,26.74,44.48,28.63,48.26,38.08,67.16,47.78,86.56]
["Gibsonville",6800,1,1.21,6.95,13.89,13.9,27.78,18.53,37.04,23.16,46.3,46.31,92.6,69.459999999999994,138.9]
["Godwin",275,1,1.01,36,"",44,"",48,"",52,"",72,"",92,""]
["Goldsboro",34959,1,"",12.14,16.78,20.75,34.03,23.62,39.78,26.49,45.53,40.840000000000003,74.28,55.19,103.03]
["Goldston (no water bills)","","","","","","","","","","","","","","",""]
["Goldston-Gulf Sanitary District",1250,1,0.96,25,36,35,50.5,45,65,55,79.5,105,152,155,224.5]
["Graham",14308,1,1.25,4.8099999999999996,9.6199999999999992,14.43,28.86,19.239999999999998,38.479999999999997,24.05,48.1,48.1,96.2,72.150000000000006,144.30000000000001]
["Granite Falls",6330,1,1,25.29,44.27,25.29,44.27,28.83,50.47,32.369999999999997,56.67,50.07,87.67,67.77,118.67]
["Green Level",2403,1,"",18.690000000000001,23.36,28.47,35.6,35.07,43.86,41.67,52.12,75.38,94.28,110.22,137.84]
["Greene County Regional Water System",9708,1,"",27.64,"",32.590000000000003,"",37.54,"",42.49,"",67.89,"",93.29,""]
["Greenevers",1390,1,0.62,17.75,20,35.75,38,41.75,44,47.75,50,77.75,80,107.75,110]
["Greensboro",285344,1,1.27,3.85,9.69,13.15,32.99,17.16,43.06,21.17,53.12,43.89,109.69,69.3,172.59]
["Greenville Utilities Commission",103140,1,1.2,8,9.1999999999999993,21.11,29.54,25.48,36.32,29.85,43.1,51.7,77,73.55,110.9]
["Grifton",2800,1,0.89,16.8,33.6,32.46,64.92,37.68,75.36,42.9,85.8,69,138,100.1,200.2]
["Grimesland",610,1,"",17,34,31.37,48.37,36.159999999999997,53.16,40.950000000000003,57.95,64.900000000000006,81.900000000000006,88.85,105.85]
["Grover",700,1,0.77,17.670000000000002,29.59,23.14,38.770000000000003,28.61,47.95,34.08,57.13,61.43,103.03,88.78,148.93]
["Halifax",456,1,0.62,16.600000000000001,19.600000000000001,16.600000000000001,19.600000000000001,18.649999999999999,21.9,22.75,26.5,44.5,50.75,67.5,76.25]
["Halifax County",20835,1,"",28.45,"",38.409999999999997,"",41.73,"",45.05,"",61.65,"",78.25,""]
["Hamilton",408,1,"",16,19.5,26.95,37.5,30.6,43.5,34.25,49.5,52.5,79.5,70.75,109.5]
["Hamlet",10452,1,0.8,18,28,25.5,41.5,28,46,30.5,50.5,45.5,75.5,63,103]
["Hamlet - East Rockingham",10452,1,0.8,28,"",41.5,"",46,"",50.5,"",75.5,"",103,""]
["Handy Sanitary District",7899,1,1.27,21,"",27,"",33,"",39,"",69,"",99,""]
["Harkers Island Sanitary District",2451,1,1.44,20,"",34.4,"",39.200000000000003,"",44,"",68,"",92,""]
["Harmony (no water bills)","","","","","","","","","","","","","","",""]
["Harnett County",92610,1,"",18.5,"",23.75,"",29,"",34.25,"",60.5,"",86.75,""]
["Harrells Water Corporation",1633,1,"",16,"",20,"",24,"",28,"",48,"",67.75,""]
["Harrellsville",843,1,1.22,28,30,28,30,30,32,32,34,42,44,52,54]
["Harrisburg",15612,1,1.26,10.38,14.84,16.75,24.65,23.12,34.46,29.49,44.27,66.540000000000006,93.32,109.09,142.37]
["Havelock",14246,1,1.02,21.8,44.4,29.42,67.17,32.299999999999997,75.78,35.18,84.39,51.38,133.02000000000001,69.23,186.87]
["Haw River",2390,1,"",12.93,25.86,19.82,39.64,26.71,53.42,33.6,67.2,68.05,136.1,102.5,205]
["Henderson",15325,1,"",11.73,29.31,11.73,29.31,12.65,31.62,16.190000000000001,40.5,33.909999999999997,84.88,51.62,129.27000000000001]
["Henderson County - Cane Creek Water and Sewer District (no water bills)","","","","","","","","","","","","","","",""]
["Hendersonville",60000,1,1.05,5.68,8.52,14.23,21.36,17.079999999999998,25.64,19.93,29.92,35.340000000000003,53,51.46,77.14]
["Hertford",2143,1,0.97,22.5,36,37.5,51.75,42.5,57,47.5,62.25,72.5,88.5,97.5,114.75]
["Hertford County",7970,1,1.67,25,"",29,"",33,"",37,"",57,"",77,""]
["Hickory",58364,1,1.28,16.079999999999998,32.159999999999997,20.77,41.55,22.34,44.67,23.9,47.8,31.72,63.44,39.54,79.09]
["High Point",112201,1,"",9.0299999999999994,18.07,21.02,42.05,25.02,50.05,29.02,58.04,49,98.02,68.989999999999995,137.99]
["High Shoals",572,1,0.74,15,"",30,"",36,"",42,"",72,"",102,""]
["Highlands",6510,1,0.88,35,55,37.5,57.5,42.5,62.5,47.5,67.5,72.5,92.5,97.5,117.5]
["Hillsborough",14000,1,"",22.05,43,26.46,51.6,35.28,68.8,44.1,86,88.2,172,132.30000000000001,258]
["Hobgood",770,1,"",15,25,24.3,37.450000000000003,27.4,41.6,30.5,45.75,46,66.5,61.5,87.25]
["Hoke County",30551,1,1.17,12.25,"",23.5,"",27.25,"",31,"",49.75,"",76,""]
["Holden Beach",6278,1,"",18,"",21.1,"",24.2,"",27.3,"",46.8,"",67.3,""]
["Holly Springs",35825,1,1.84,12.5,25,25.06,50.12,29.98,59.96,34.9,69.8,66.099999999999994,131,102.44,202.24]
["Hookerton",409,1,"",25.5,29,25.5,29,29,33.5,32.5,38,50,60.5,67.5,83]
["Hot Springs",640,1,0.85,17.75,"",27.75,"",37.75,"",47.75,"",97.75,"",147.75,""]
["Hyde County",5256,1,"",25,"",31,"",37,"",43,"",73,"",103,""]
["Icard Township Water Corporation",8298,1,"",25,"",25,"",28.9,"",32.799999999999997,"",52.3,"",71.8,""]
["Iredell Water Corporation",23899,1,"",11.5,"",22.3,"",25.9,"",29.5,"",47.5,"",65.5,""]
["Jackson",513,1,0.94,7,7.7,19.75,21.73,24,26.4,28.25,31.08,49.5,54.45,70.75,77.83]
["Jacksonville",44196,1,1.06,16.649999999999999,33.299999999999997,19.940000000000001,39.880000000000003,23.23,46.46,26.52,53.04,46.26,92.52,70.94,141.88]
["Jamestown",6388,1,1.4,5.9,11.8,11.83,23.66,15.78,31.55,19.72,39.44,39.44,78.88,59.16,118.32]
["Jamesville",480,1,0.85,16.600000000000001,"",30.38,"",35.89,"",41.4,"",68.95,"",96.5,""]
["Jefferson",1450,1,0.95,27.43,54.86,31.89,63.77,36.340000000000003,72.680000000000007,40.799999999999997,81.599999999999994,57.5,115,74.2,148.4]
["Johnston County",82760,1,1.33,16,"",26.35,"",29.8,"",33.65,"",55.3,"",80.83,""]
["Jones County",9260,1,1.1399999999999999,21,"",27.6,"",29.8,"",32,"",49.5,"",69.5,""]
["Jonesville",3012,1,1.26,24.2,48.4,33.950000000000003,67.900000000000006,43.7,87.4,53.45,106.9,102.2,204.4,150.94999999999999,301.89999999999998]
["Junaluska Sanitary District",4613,1,1.2,23.44,32.950000000000003,28.13,39.54,37.51,52.72,46.89,65.900000000000006,93.79,131.80000000000001,140.69,197.7]
["Kannapolis",51254,1,1.28,6.95,8.15,25.4,30.05,31.55,37.35,37.700000000000003,44.65,69.319999999999993,82.2,101.52,120.45]
["Kenansville",876,1,"",13,26,26.5,53,31.25,62.5,36,72,60.75,121.5,88.25,176.5]
["Kenly",1400,1,"",5,10,22.37,39.19,28.16,48.92,33.950000000000003,58.65,62.9,107.3,91.85,155.94999999999999]
["Kill Devil Hills",6800,1,1.1000000000000001,21,26.67,30.67,37,37.92,44.75,45.17,52.5,81.42,91.25,118.5,130.83000000000001]
["King",20490,1,1.1100000000000001,14.5,18.13,17.61,22.02,20.72,25.91,23.83,29.8,39.380000000000003,49.25,54.93,68.7]
["Kings Mountain",12662,1,0.95,13.63,25.97,21.43,42.38,24.03,47.85,26.63,53.32,39.630000000000003,80.67,52.63,108.02]
["Kingstown (no water bills)","","","","","","","","","","","","","","",""]
["Kinston",27475,1,"",15.01,26.71,31.12,58.87,36.49,69.59,41.86,80.31,68.709999999999994,133.91,95.56,187.51]
["Kure Beach",4978,1,1.03,13.5,23,15.75,26.94,20.25,34.81,24.75,42.69,54,82.06,97.88,121.44]
["La Grange",3167,1,"",25.75,34.75,32.75,42.95,35.25,46.65,37.75,50.35,51.25,69.349999999999994,67,91.6]
["Lake Lure",940,1,1.18,27,54,40.71,81.42,45.83,91.66,50.95,101.9,76.55,153.1,105.15,210.3]
["Lake Santeetlah",437,1,0.96,34.58,"",43.58,"",46.58,"",49.58,"",64.58,"",79.58,""]
["Lake Waccamaw",2375,1,1,18,30,18,30,18,30,21,34.75,36,58.5,51,82.25]
["Landis",3100,1,0.97,12.5,"",38.75,"",47.75,"",56.75,"",102.25,"",148.5,""]
["Lansing",168,1,0.83,14,"",17,"",20,"",23,"",38,"",53,""]
["Lattimore (no water bills)","","","","","","","","","","","","","","",""]
["Laurel Park",2010,1,1.02,19.25,"",33.200000000000003,"",37.85,"",42.5,"",65.75,"",89,""]
["Laurinburg",17242,1,1.32,13.18,31.85,15.46,36.44,17.739999999999998,41.03,20.02,45.62,31.42,68.569999999999993,43.12,91.92]
["Lawndale",636,1,0.72,8.5,"",26.35,"",32.299999999999997,"",38.25,"",68,"",97.75,""]
["Lea Acres Water Company",120,1,"",24,"",24,"",29,"",34,"",69,"",104,""]
["Leland",3805,1,1.29,15,"",25.47,"",29.21,"",32.950000000000003,"",53.09,"",74.34,""]
["Lenoir",21344,1,1.33,10.42,20.85,17.02,34.049999999999997,20.32,40.65,23.62,47.25,40.119999999999997,80.25,56.62,113.25]
["Lexington",18931,1,1.04,14.6,29.93,22.18,45.45,24.71,50.63,27.23,55.8,39.869999999999997,81.67,52.5,107.54]
["Liberty",3558,1,0.92,16.3,27.23,16.3,27.23,20.02,34.380000000000003,23.74,41.53,42.86,78.48,62.11,115.73]
["Lilesville",900,1,"",13,19.96,33.729999999999997,51.46,40.64,61.96,47.55,72.459999999999994,82.1,124.96,116.65,177.46]
["Lillington",3361,1,"",11.72,23.18,15.76,31.12,19.8,39.06,23.84,47,44.04,86.7,64.239999999999995,126.4]
["Lincoln County",31727,1,1.37,21.2,42.4,23.7,44.9,28.7,49.9,33.700000000000003,54.9,58.7,79.900000000000006,87.94,109.14]
["Lincolnton",12320,1,1.31,16.55,33.1,21.03,42.06,25.51,51.02,29.99,59.98,52.39,104.78,74.790000000000006,149.58000000000001]
["Linden",1973,1,1.23,3.63,"",27.9,"",35.99,"",44.08,"",84.53,"",124.98,""]
["Littleton",1478,1,"",19.05,22.05,24.5,27.5,30.45,33.450000000000003,36.9,39.9,76.650000000000006,79.650000000000006,121.4,124.4]
["Locust (no water bills)","","","","","","","","","","","","","","",""]
["Long View",5846,1,0.93,19.89,39.78,19.89,39.78,22.25,44.5,24.61,49.22,36.409999999999997,72.819999999999993,48.21,96.42]
["Louisburg",4165,1,"",19.93,39.86,24.44,48.88,28.95,57.9,33.46,66.92,56.01,112.02,78.56,157.12]
["Lowell",3643,1,"",9.0500000000000007,18.100000000000001,19.48,38.950000000000003,26.43,52.85,33.380000000000003,66.75,68.13,136.25,102.88,205.75]
["Lucama",881,1,0.84,18.64,20.89,24.93,27.18,31.22,33.47,37.51,39.76,68.959999999999994,71.209999999999994,100.41,102.66]
["Lumberton",25590,1,"",8.5399999999999991,21.2,14.78,36.76,17.899999999999999,44.54,21.02,52.32,36.619999999999997,91.22,52.22,130.12]
["Macclesfield",450,1,"",17.25,26,17.25,26,22.6,33,27.95,40,56.65,78.45,86.65,119.2]
["Madison",2787,1,"",5.0599999999999996,10.119999999999999,24.38,48.76,30.82,61.64,37.26,74.52,69.459999999999994,138.91999999999999,101.66,203.32]
["Maggie Valley (no water bills)","","","","","","","","","","","","","","",""]
["Maggie Valley Sanitary District - gravity fed",9540,1,1.04,26,"",26,"",31,"",36,"",61,"",86,""]
["Maggie Valley Sanitary District - pumped 1x",9540,1,1.04,27,"",27,"",32,"",37,"",62,"",87,""]
["Maggie Valley Sanitary District - pumped 2x",9540,1,1.04,29,"",29,"",34,"",39,"",64,"",89,""]
["Maggie Valley Sanitary District - pumped 3x",9540,1,1.04,31,"",31,"",36,"",41,"",66,"",91,""]
["Magnolia",980,1,"",15,30,21.33,40.9,27.66,51.8,33.99,62.7,65.64,117.2,97.29,171.7]
["Maiden",4945,1,1.08,15.45,30.9,15.45,30.9,18.47,36.94,21.49,42.98,36.590000000000003,73.180000000000007,51.69,103.38]
["Manteo",2638,1,1.19,18.27,32.18,27.66,50.63,30.79,56.78,34.450000000000003,64.09,52.75,100.64,71.05,137.19]
["Marion",8668,1,0.94,15.21,38,20.399999999999999,50.94,22.92,57.23,25.44,63.52,38.04,94.97,50.64,126.42]
["Mars Hill",3200,1,1.1299999999999999,15.3,24.38,20.85,32.92,26.4,41.46,31.95,50,59.7,92.7,88.05,136.30000000000001]
["Marshall",1326,1,0.83,20.53,45.8,28.73,55.18,36.93,64.56,45.13,73.94,86.13,120.84,127.13,167.74]
["Marshville",2475,1,1.1399999999999999,14,28,25.4,50.8,29.2,58.4,33,66,52,104,71,142]
["Martin County",4864,1,1.1000000000000001,50,"",67,"",75.5,"",84,"",126.5,"",169,""]
["Maxton",3125,1,0.94,16.16,32.299999999999997,17.13,34.229999999999997,19.059999999999999,38.090000000000003,20.99,41.95,30.64,61.25,40.29,80.55]
["Maxwell Water Company",96,1,"",34.14,"",44.01,"",47.3,"",50.59,"",67.040000000000006,"",83.49,""]
["Mayodan",2464,1,0.88,7.98,15.96,13.68,27.36,18.239999999999998,36.479999999999997,22.8,45.6,45.6,91.2,68.400000000000006,136.80000000000001]
["Maysville",1100,1,0.88,11.25,14.25,32.64,38.64,39.770000000000003,46.77,46.9,54.9,82.55,95.55,121.95,139.94999999999999]
["McAdenville",821,1,1.28,3.73,3.73,6.31,6.83,11.47,13.02,16.63,19.21,42.43,50.16,68.23,81.11]
["McDowell County",575,1,0.62,17,"",31.19,"",35.92,"",40.65,"",64.3,"",87.95,""]
["Mebane",13000,1,1.1399999999999999,6.11,12.22,18.329999999999998,36.659999999999997,24.44,48.88,30.55,61.1,61.1,122.2,91.65,183.3]
["Metropolitan Sewerage District of Buncombe County (no water bills)","","","","","","","","","","","","","","",""]
["Micro",515,1,1.2,23.35,36.53,26.35,41.48,29.35,46.43,32.35,51.38,47.35,76.13,62.35,100.88]
["Middlesex",846,1,"",8,8,21.5,35,26,44,30.5,53,53,98,75.5,143]
["Millennium Water Association",711,1,"",28,"",28,"",29.75,"",31.5,"",40.25,"",49,""]
["Mocksville",4655,1,1.06,14.85,25.78,21.16,36.549999999999997,25.37,43.73,29.58,50.91,50.63,86.81,71.680000000000007,122.71]
["Monroe",31008,1,1.5,11.37,22.74,19.32,30.69,21.97,33.340000000000003,24.62,35.99,37.869999999999997,49.24,51.12,62.49]
["Montgomery County",15102,1,"",12,"",27,"",33,"",41,"",81,"",121,""]
["Montgomery County - Troy Area (no water bills)","","","","","","","","","","","","","","",""]
["Montreat",798,1,"",14.35,"",29.2,"",34.15,"",39.1,"",63.85,"",88.6,""]
["Moore County",34073,1,1.07,9.5,"",19.600000000000001,"",23.6,"",28.2,"",52,"",83,""]
["Moore County - East Moore Water District",34073,1,1.07,24.6,"",34.700000000000003,"",38.700000000000003,"",43.3,"",67.099999999999994,"",98.1,""]
["Mooresville",38003,1,1.41,7.11,14.22,19.53,39.06,23.67,47.34,27.81,55.62,53.76,107.52,86.91,173.82]
["Moravian Falls Water Works",3226,1,"",15,"",19.5,"",24,"",28.5,"",51,"",73.5,""]
["Morehead City",9420,1,"",17.29,25.89,25.94,38.840000000000003,34.590000000000003,51.79,43.24,64.739999999999995,86.49,129.49,129.74,194.24]
["Morganton",38845,1,1.2,9,14.55,12.75,22.05,14,24.55,15.25,27.05,21.5,39.549999999999997,27.75,52.05]
["Morven",512,1,"",20.63,25.2,27.98,32.549999999999997,30.43,35,32.880000000000003,37.450000000000003,45.13,49.7,57.38,61.95]
["Mount Airy",10319,1,1.1000000000000001,11.59,23.17,19.670000000000002,39.33,23.01,46.01,26.35,52.69,43.05,86.09,59.75,119.49]
["Mount Gilead",1575,1,0.91,9.15,16.670000000000002,27.26,50.87,33.729999999999997,62.27,40.299999999999997,73.67,73.650000000000006,130.66999999999999,107,187.67]
["Mount Holly",17216,1,"",3.35,6.7,6.7,13.4,10.050000000000001,20.100000000000001,13.4,26.8,31.11,62.22,50.26,100.52]
["Mount Olive",5790,1,"",8,16,18,36,21.34,42.67,24.67,49.34,41.34,82.68,58.01,116.01]
["Mount Pleasant",1756,1,0.91,23.48,41.09,27.76,48.59,32.04,56.09,36.32,63.59,57.72,101.09,79.12,138.59]
["Mulberry-Fairplains Water Association",8150,1,"",13,"",21.85,"",26.04,"",30.23,"",51.18,"",72.83,""]
["Murfreesboro",3645,1,"",23,44,24.19,46.38,25.38,48.76,26.57,51.14,37.520000000000003,73.040000000000006,53.47,104.94]
["Murphy",4217,1,0.74,19.600000000000001,39.200000000000003,19.600000000000001,39.200000000000003,19.600000000000001,39.200000000000003,23.1,46,40.6,80,58.1,114]
["Nags Head",3125,1,0.88,16.45,"",25,"",30.7,"",36.4,"",66.650000000000006,"",98.65,""]
["Nash County",6060,1,0.89,30,"",48,"",55.75,"",63.5,"",110,"",163.5,""]
["Nashville",8800,1,"",5.74,11.7,14.1,28.74,18.28,37.26,22.46,45.78,43.36,88.38,64.260000000000005,130.97999999999999]
["Navassa",843,1,0.54,15,"",24.75,"",28,"",31.25,"",47.5,"",66.25,""]
["New Bern",30070,1,1.22,21.62,43.24,30.71,61.42,33.74,67.48,36.770000000000003,73.540000000000006,51.92,103.84,72.37,144.74]
["New London",514,2,0.88,18,"",25.4,"",32.799999999999997,"",40.200000000000003,"",77.2,"",111.95,""]
["Newland",999,1,0.99,10.5,21,21.3,42.6,26.7,53.4,32.1,64.2,59.1,118.2,86.1,172.2]
["Newport",4827,1,"",17,34,23,46,29,58,35,70,73,146,113,226]
["Newton",15415,1,0.99,26.2,52.35,26.2,52.35,29.32,58.6,32.44,64.849999999999994,48.04,96.1,63.64,127.35]
["Newton Grove",914,1,"",14.75,22.75,24.05,32.049999999999997,27.15,35.15,30.25,38.25,48.75,56.75,68,76]
["Norlina",1106,1,"",19.5,24.75,34.5,42,39.5,47.75,44.5,53.5,69.5,82.25,94.5,111]
["North Lenoir Water Corporation",14669,1,"",10,"",37.03,"",46.04,"",55.05,"",100.1,"",145.15,""]
["North Wilkesboro",4245,1,1.1100000000000001,9.08,13.61,21.02,30.98,25,36.770000000000003,28.98,42.56,48.88,71.510000000000005,68.78,100.46]
["Northampton County",12759,1,"",19.5,"",34.5,"",39.5,"",44.5,"",69.5,"",97,""]
["Northwest Onslow Water Association",1890,1,"",14,"",17,"",20,"",23,"",38,"",53,""]
["Northwest Water Supply",1409,1,"",13.5,"",20.25,"",27,"",33.75,"",67.5,"",101.25,""]
["Norwood",4128,1,"",18.91,37.82,28.66,57.32,33.54,67.08,38.409999999999997,76.83,62.79,125.59,87.17,174.35]
["Oak Island",20523,1,"",23.72,29.65,27.4,34.25,31.08,38.85,35.14,43.93,55.44,69.3,78.92,98.64]
["Oakboro",3063,1,1.27,18.38,30.87,23.38,45.02,28.38,59.17,33.380000000000003,73.319999999999993,63.03,144.07,94.88,203.42]
["Ocean Isle Beach",7051,1,1.17,15,22.5,26.94,40.409999999999997,30.92,46.38,34.9,52.35,54.8,82.2,74.7,112.05]
["Ocracoke Sanitary District - Step A",900,1,"",17,"",26.68,"",36.36,"",46.04,"",101.64,"",164.04,""]
["Ocracoke Sanitary District - Step B",900,1,"",46.04,"",46.04,"",46.04,"",46.04,"",101.64,"",164.04,""]
["Ocracoke Sanitary District - Step C",900,1,"",101.64,"",101.64,"",101.64,"",101.64,"",101.64,"",164.04,""]
["Old Fort",1700,1,0.72,12,12,22.41,32.79,25.88,39.72,29.35,46.65,46.7,81.3,64.05,115.95]
["Old North State Water Company - Asheboro Country Club Estates",25,1,"",17.97,"",33.06,"",38.090000000000003,"",43.12,"",68.27,"",93.42,""]
["Old North State Water Company - Briar Chapel (no water bills)","","","","","","","","","","","","","","",""]
["Old North State Water Company - Carolina Planation (no water bills)","","","","","","","","","","","","","","",""]
["Old North State Water Company - Horse Creek Farms (no water bills)","","","","","","","","","","","","","","",""]
["Old North State Water Company - Leone Landing",25,1,"",15,"",30,"",35,"",40,"",65,"",90,""]
["Old North State Water Company - Majestic Oaks and Hampstead Shopping Center (no water bills)","","","","","","","","","","","","","","",""]
["ONWASA",126761,1,1.02,13,"",22,"",25.11,"",28.22,"",46.05,"",66.150000000000006,""]
["Orange-Alamance Water System",8867,1,"",18,"",30,"",34,"",38,"",58,"",78,""]
["Oriental",903,1,"",16,"",27.65,"",31.8,"",35.950000000000003,"",57.2,"",78.45,""]
["Ossipee",1518,1,"",19.260000000000002,"",33.83,"",43.54,"",53.25,"",111.83,"",171.53,""]
["Outer Banks Kinnakeet Associates (no water bills)","","","","","","","","","","","","","","",""]
["OWASA",83300,1,1.19,14.99,"",26.87,"",33.39,"",39.909999999999997,"",79.86,"",135.66,""]
["Oxford",9800,1,1.53,6.24,6.24,26.61,38.82,33.4,49.68,40.869999999999997,61.63,78.22,121.38,115.57,181.13]
["Pamlico County",15546,1,1.1200000000000001,15.5,"",29.75,"",34.5,"",39.25,"",63,"",86.75,""]
["Parkton",487,1,1.01,19.29,28.94,19.29,28.94,28.77,43.16,38.25,57.38,90.88,136.32,185.23,277.82]
["Parmele",262,1,"",20,"",26,"",32,"",38,"",68,"",98,""]
["Pasquotank County",18200,1,1.1499999999999999,15,"",27,"",33,"",39,"",74,"",114,""]
["Peachland",423,1,0.88,16,18.5,31,47.5,38.5,62,46,76.5,83.5,149,121,221.5]
["Pembroke",4111,1,1.08,10.52,21.04,14.17,28.34,17.82,35.64,21.47,42.94,39.72,79.44,57.97,115.94]
["Pender County - Central Pender Water and Sewer District, Moore's Creek Water and Sewer District",18876,1,"",32.5,"",52,"",58.5,"",65,"",97.5,"",130,""]
["Pender County - Maple Hill Water District",18876,1,"",19.5,"",37.5,"",43.5,"",49.5,"",79.5,"",109.5,""]
["Pender County - Rocky Point-Topsail Water and Sewer District, Scott's Hill Water and Sewer District",18876,1,"",27.5,"",47,"",53.5,"",60,"",92.5,"",125,""]
["Perquimans County",12480,1,0.93,15,"",29,"",36,"",43,"",78,"",113,""]
["Pfeiffer-North Stanly Water Association",3937,1,"",18,"",25.4,"",32.799999999999997,"",40.200000000000003,"",77.2,"",111.95,""]
["Pikeville",714,1,"",27,27,49.56,60.69,57.08,71.92,64.599999999999994,83.15,102.2,139.30000000000001,139.80000000000001,195.45]
["Pilot Mountain",1947,1,0.78,16.5,30.5,28.4,54.3,34.35,66.2,40.299999999999997,78.099999999999994,70.05,137.6,99.8,197.1]
["Pine Knoll Shores",3861,1,1.28,11,16.5,20.28,30.43,23.68,35.53,27.08,40.630000000000003,46.08,69.13,66.08,99.13]
["Pine Level",2004,1,"",12,18.5,21,29.3,24,32.9,27,36.5,42,54.5,57,72.5]
["Pinebluff",2372,1,1.24,12,18,20.64,30.96,24.96,37.44,29.28,43.92,53.28,80.02,77.28,116.12]
["Pinetops",1360,1,"",14.17,27.3,22.99,41.49,26.08,46.32,29.17,51.15,44.92,76.349999999999994,60.67,101.55]
["Pink Hill",950,1,"",21.5,33.5,39.5,57.5,45.5,65.5,51.5,73.5,81.5,113.5,114,158.5]
["Pittsboro",4401,1,1.08,13.26,26.52,28.88,57.77,34.64,69.28,40.4,80.790000000000006,73.52,146.97999999999999,107.72,215.33]
["Plymouth",3975,1,0.91,25,"",34,"",43,"",52,"",97,"",152,""]
["Polkton",838,1,0.77,17.5,"",17.5,"",22,"",26.5,"",49,"",71.5,""]
["Pollocksville",858,1,"",14,16,27.5,31,32,36,36.5,41,59,66,81.5,91]
["Powellsville",643,1,0.54,35,"",35,"",35,"",35,"",35,"",35,""]
["Princeton",1323,1,0.96,10.5,15.75,28.21,42.32,35.36,53.05,42.51,63.78,91.69,137.53,145.34,217.98]
["Proctorville (no water bills)","","","","","","","","","","","","","","",""]
["Raeford",4611,1,0.99,10.25,18.96,14.9,27.57,16.45,30.43,18,33.299999999999997,26,48.1,34.25,63.36]
["Raleigh",540000,1,1.77,7.76,14.02,18.62,35.28,24.54,46.98,30.47,58.68,64.91,126.82,104.1,204.45]
["Raleigh - Knightdale",540000,1,1.77,7.76,14.02,18.170000000000002,34.799999999999997,23.94,41.72,29.72,48.65,63.41,83.27,101.85,117.9]
["Raleigh - Wendell",540000,1,1.77,9.49,17.489999999999998,38.049999999999997,74.680000000000007,47.56,93.75,57.08,112.81,104.68,208.13,152.27000000000001,303.45]
["Raleigh - Zebulon",540000,1,1.77,20.41,39.32,50.21,98.92,60.14,118.79,70.08,138.65,119.74,237.98,169.41,337.31]
["Ramseur",2893,1,1.0900000000000001,12,19,25.8,38.799999999999997,30.4,45.4,35,52,58,85,81,118]
["Randleman",6385,1,"",9.8699999999999992,19.739999999999998,20.7,41.4,27.92,55.84,35.14,70.28,71.239999999999995,142.47999999999999,107.34,214.68]
["Red Springs",4395,1,"",24,36,26,40,28,44,30,48,42.5,70.5,57.5,95.5]
["Reidsville",15202,1,1.0900000000000001,7.78,23.34,14.2,42.59,16.34,49.01,18.48,55.43,29.17,87.51,39.869999999999997,119.6]
["Rhodhiss",1149,1,0.77,15.6,31.2,31.2,62.4,36.4,72.8,41.6,83.2,67.599999999999994,135.19999999999999,93.6,187.2]
["Richmond County",21285,1,0.87,22.65,"",29.54,"",36.43,"",43.32,"",73.12,"",100.47,""]
["River Bend",2846,1,1.36,10.24,"",22.3,"",26.32,"",30.34,"",50.44,"",70.540000000000006,""]
["Roanoke Rapids Sanitary District",19378,1,1.08,9.5,17.100000000000001,12.95,21.85,16.399999999999999,26.6,19.850000000000001,31.35,37.1,55.1,54.35,78.849999999999994]
["Robbins",1565,1,"",20.399999999999999,40.799999999999997,35.4,70.8,40.9,82.01,46.4,93.22,79.260000000000005,159.11000000000001,113.46,227.46]
["Robbinsville",2780,1,0.92,25.7,36.35,31.25,41.9,42.35,53,53.45,64.099999999999994,108.95,119.6,164.45,175.1]
["Robersonville",1445,1,"",20,33,34.700000000000003,58.05,39.6,66.400000000000006,44.5,74.75,69,116.5,93.5,158.25]
["Robeson County",64295,1,"",18,28,23.5,33.5,29,39,34,44,57.8,67.8,80.3,90.3]
["Rockingham",13159,1,1.1599999999999999,9.3000000000000007,"",11.5,"",13.7,"",15.9,"",26.9,"",37.9,""]
["Rockingham County",1026,1,0.78,19,"",46,"",55,"",64,"",109,"",154,""]
["Rocky Mount",56871,1,1.1000000000000001,9,18,15.82,31.65,18.7,37.39,21.57,43.14,35.94,71.89,50.32,100.63]
["Ronda",907,1,"",20.5,30,28.5,38,36.5,46,44.5,54,84.5,94,124.5,134]
["Ronda - Pleasant Hill",907,1,"",20,"",27.5,"",35,"",42.5,"",80,"",117.5,""]
["Roper",602,1,"",22,"",35,"",48,"",61,"",126,"",191,""]
["Rose Hill",1862,1,1.19,21.25,39.630000000000003,28.99,53.49,31.57,58.11,34.15,62.73,47.05,85.83,61.7,112.23]
["Roseboro",1933,1,"",18.64,32.58,18.64,32.58,23.89,40.98,29.14,49.38,55.39,91.38,81.64,133.38]
["Rosman",650,1,"",16.75,25,19.25,27.75,24.25,33.25,29.25,38.75,54.25,66.25,81.75,96.25]
["Rowland",1341,1,0.88,23,42,26.754999999999999,48.064999999999998,29.065000000000001,52.685000000000002,31.375,57.305,44.08,81.56,56.935000000000002,105.965]
["Roxboro",12600,1,"",11.33,22.66,23.99,45.25,28.21,52.78,32.43,60.31,53.53,97.96,74.63,135.61000000000001]
["Rutherford College",2083,1,1.04,31,48,31,48,36.5,53.5,42,59,69.5,86.5,97,114]
["Rutherfordton (no water bills)","","","","","","","","","","","","","","",""]
["Salemburg",850,1,0.88,10.5,15.75,20.25,30,23.5,34.75,26.75,39.5,43,63.25,59.25,87]
["Salisbury-Rowan Utilities",53942,1,1.17,4.13,"",19.73,"",24.93,"",30.13,"",56.14,"",82.14,""]
["Saluda",1350,1,1.43,20,37.299999999999997,47.75,69.16,57,79.78,66.25,90.4,112.5,143.5,158.75,196.6]
["Sampson County",15236,1,1.1399999999999999,19.399999999999999,"",33.950000000000003,"",38.799999999999997,"",43.65,"",67.900000000000006,"",92.15,""]
["Sandyfield",409,1,0.7,12,"",18.5,"",21.75,"",25,"",45,"",65,""]
["Sanford",41869,1,1.1100000000000001,14.61,29.21,19.09,38.130000000000003,25.01,49.94,30.93,61.74,60.54,120.77,90.16,179.79]
["Saratoga",410,1,0.88,17,27,35.200000000000003,47.6,46,59.2,59.6,73.599999999999994,127.6,145.6,195.6,217.6]
["Sawmills",5162,1,1.1499999999999999,20.6,41.2,26.6,53.2,32.6,65.2,38.6,77.2,68.599999999999994,137.19999999999999,103.6,207.2]
["Scotland County - District I",5990,1,"",31.2,"",34.83,"",38.46,"",42.09,"",68.540000000000006,"",94.99,""]
["Scotland Neck",2955,1,"",20,25.5,36.74,45.09,42.82,52.02,48.9,58.95,79.3,93.6,109.7,128.25]
["Seaboard",640,1,"",16,"",40,"",48,"",59.25,"",120.25,"",190.25,""]
["Sedgefield Sanitary District (no water bills)","","","","","","","","","","","","","","",""]
["Selma",6801,1,1.05,5,9,12.75,22.2,16.75,29.01,20.76,35.82,45.76,78.319999999999993,70.760000000000005,120.82]
["Seven Devils",400,1,1.32,35,"",35,"",40,"",50,"",140,"",240,""]
["Severn",325,1,0.96,10,"",20,"",25,"",30,"",55,"",80,""]
["Shallotte",5372,1,1.22,17.84,26.76,17.84,26.76,23.12,34.68,28.4,42.6,59.6,89.4,92,138]
["Sharpsburg",2006,1,"",16.71,31,37.68,68.5,44.67,81,51.66,93.5,86.61,156,121.56,218.5]
["Shelby",20323,1,1.2,13.67,25.81,20.72,39.79,23.07,44.45,25.42,49.11,37.17,72.41,48.92,95.71]
["Siler City",8140,1,"",23,46,32,64,36.5,73,41,82,63.5,127,86,172]
["Sims",317,1,"",18.5,23.5,18.5,23.5,19.8,24.8,21.1,26.1,28.6,33.6,36.1,41.1]
["Smithfield",13494,1,"",10.42,18.23,22.9,43.16,27.06,51.47,31.97,61.29,56.52,110.39,84.87,167.04]
["Snow Hill",2657,1,"",8,16,23,31,28,36,33,41,58,66,83,91]
["South Camden Water and Sewer District",5133,1,"",25,"",30.5,"",36,"",41.5,"",71.5,"",104.5,""]
["South Granville Water and Sewer Authority",19216,1,1.76,25.15,"",29.73,"",34.31,"",38.89,"",61.79,"",84.69,""]
["South Greene Water Corporation",2634,1,"",16,"",19.28,"",22.56,"",26.58,"",46.68,"",66.78,""]
["South Mills Water Association",5300,1,"",24,"",29.5,"",35,"",40.5,"",70.5,"",103.5,""]
["Southeast Brunswick Sanitary District (no water bills)","","","","","","","","","","","","","","",""]
["Southern Pines",17379,1,1.0900000000000001,10.93,21.86,20.47,40.94,23.65,47.3,26.83,53.66,42.73,85.46,58.63,117.26]
["Southern Wayne Sanitary District",6926,1,1.03,14.75,20.65,19.5,27.15,24.25,33.65,29,40.15,54,74.650000000000006,79,109.15]
["Southport",6617,1,"",24.43,39.729999999999997,24.43,39.729999999999997,30.04,48.15,35.65,56.57,63.7,98.67,99.4,152.22]
["Sparta",1763,1,1.01,16.260000000000002,23.93,23.47,37.92,30.68,51.91,37.89,65.900000000000006,73.94,135.85,109.99,205.8]
["Spindale (no water bills)","","","","","","","","","","","","","","",""]
["Spring Hope",1324,1,0.91,17,34,17,34,20.5,41,24,48,41.5,83,59,118]
["Spring Lake",9331,1,"",3.42,6.84,22.35,44.7,29.45,58.9,36.549999999999997,73.099999999999994,76,152,119.4,238.8]
["Spruce Pine",5400,1,0.91,10,27.05,13.3,32,16.600000000000001,36.950000000000003,19.899999999999999,41.9,36.4,66.650000000000006,52.9,91.4]
["St. Pauls",2551,1,0.96,16,32,19,38,22,44,25,50,45,90,65,130]
["Stanfield",742,1,0.98,20.25,24.25,29.4,35.25,38.549999999999997,46.25,47.7,57.25,93.45,112.25,139.19999999999999,167.25]
["Stanley",5339,1,"",10,20,20.5,39.5,27.3,53.1,34.1,66.7,68.099999999999994,134.69999999999999,102.1,202.7]
["Stanly County",14893,1,0.91,23.03,"",34.82,"",46.61,"",58.4,"",117.35,"",176.3,""]
["Stanly County - Greater Badin Water and Sewer District",14893,1,0.91,20.7,"",28.02,"",32.9,"",37.78,"",62.18,"",86.58,""]
["Stanly County - Stanfield",14893,1,0.91,0,"",7.71,"",10.28,"",12.85,"",25.7,"",38.549999999999997,""]
["Stanly Water and Sewer Authority","",7,1.2,23.03,"",34.82,"",46.61,"",58.4,"",117.35,"",176.3,""]
["Stantonsburg",933,1,"",22,29.5,33.700000000000003,44.2,37.6,49.1,41.5,54,61,78.5,80.5,103]
["Star",933,1,0.87,21.08,27.83,26.58,33.83,32.08,39.83,37.58,45.83,65.08,75.83,92.58,105.83]
["Statesville",25712,1,1.04,7.88,19.7,17.22,43.08,20.34,50.88,23.45,58.67,39.03,97.64,54.6,136.61000000000001]
["Stedman",1522,1,0.83,17,21,26,33,29,37,32,41,47,61,62,81]
["Stokes County Water and Sewer Authority",670,1,0.91,20,"",50,"",60,"",70,"",120,"",170,""]
["Stokes Regional Water Corporation",3290,1,"",28,"",38.5,"",45.5,"",52.5,"",87.5,"",122.5,""]
["Stokesdale",899,1,0.93,30.5,"",49.97,"",56.46,"",62.95,"",95.4,"",127.85,""]
["Stoneville",1473,1,0.92,15.78,28.58,29.12,51.52,38.01,66.81,46.9,82.1,91.35,158.55000000000001,135.80000000000001,235]
["Stovall",450,1,0.72,24.37,48.74,36.770000000000003,73.540000000000006,49.17,98.34,61.77,123.54,125.97,251.94,192.77,385.54]
["Surf City",5606,1,"",25.62,"",29.26,"",32.9,"",36.54,"",56.59,"",78.489999999999995,""]
["Surry County - Flat Rock/Bannertown Water and Sewer District",282,1,0.79,26.41,"",45.02,"",52.71,"",60.4,"",98.85,"",137.30000000000001,""]
["Surry County - Gentry Road District",282,1,0.79,26.95,"",46.07,"",53.05,"",61.06,"",107.75,"",166,""]
["Swan Quarter Sanitary District (no water bills)","","","","","","","","","","","","","","",""]
["Swepsonville",2145,1,1.32,21,26,29.22,36.28,37.44,46.56,45.66,56.84,86.76,108.24,127.86,159.63999999999999]
["Tabor City",3261,1,0.96,8,16,13.55,27.1,15.4,30.8,17.25,34.5,26.5,53,35.75,71.5]
["Tarboro",11310,1,0.9,6.33,6.33,14.43,22.53,17.13,27.93,19.829999999999998,33.33,33.33,60.33,46.83,87.33]
["Taylorsville",3250,1,0.97,19.25,37.25,26.25,50.55,29.75,57.2,33.25,63.85,57.75,110.35,94,184.35]
["Taylortown",945,1,"",22.6,"",25.6,"",28.6,"",31.6,"",46.6,"",61.6,""]
["Teachey",635,1,0.85,22,29,33.6,40.6,39.65,46.65,45.7,52.7,77.150000000000006,84.15,110.15,117.15]
["Thomasville",26418,1,1.1499999999999999,9.6999999999999993,21.83,24.82,55.85,29.86,67.19,34.9,78.53,60.1,135.22999999999999,85.3,191.93]
["Topsail Beach",3198,1,1.4,30,"",45,"",50.17,"",55.42,"",81.67,"",109.17,""]
["Trinity (no water bills)","","","","","","","","","","","","","","",""]
["Troutman",4511,1,"",0,0,23.16,46.32,30.88,61.76,38.6,77.2,77.2,154.4,115.8,231.6]
["Troy",4149,1,1.02,13.63,17,18.73,24.13,23.83,31.26,28.93,38.39,54.43,74.040000000000006,79.930000000000007,109.69]
["Tryon",5140,1,"",16.61,34.549999999999997,24.61,58.55,28.61,70.55,32.61,82.55,52.61,142.55000000000001,72.61,202.55]
["Tuckaseigee Water and Sewer Authority",6262,1,1.07,18.23,"",23.86,"",28.07,"",32.28,"",53.33,"",74.38,""]
["Turkey",300,1,1.24,22.72,31.46,24.74,34.26,28.78,39.86,32.82,45.46,53.57,74.209999999999994,74.819999999999993,103.66]
["Two Rivers Utilities (Gastonia)",82585,1,1.1499999999999999,12.4,21.7,20.68,38.26,23.44,43.78,26.2,49.3,41.04,79.02,57.73,112.39]
["Union County",123533,1,1.0900000000000001,10.3,"",17.8,"",21.2,"",24.6,"",45.95,"",81.2,""]
["Union Utilities Corporation",353,1,"",20,"",25,"",30,"",35,"",60,"",85,""]
["Valdese",13700,1,"",31.5,49.85,31.5,49.85,34.6,55.75,37.700000000000003,61.65,53.2,91.15,68.7,120.65]
["Vance County",2086,1,0.79,30,"",60.99,"",71.319999999999993,"",81.650000000000006,"",133.30000000000001,"",184.95,""]
["Vanceboro",1864,1,"",20.9,23.86,20.9,23.86,22.85,26.78,24.81,29.7,35.67,46.75,47.91,66.3]
["Wade",835,1,0.79,17,19,21.8,23.95,25,27.25,28.2,30.55,44.2,47.05,60.2,63.55]
["Wadesboro",6098,1,1.1399999999999999,17.28,23.33,23.2,30.72,29.12,38.11,35.04,45.5,64.64,82.45,94.24,119.4]
["Wagram",801,1,0.76,18,23,25.5,35.6,28,39.799999999999997,30.5,44,43,65,55.5,86]
["Wallace",5825,1,"",13.39,23,19.96,32.869999999999997,22.15,36.159999999999997,24.34,39.450000000000003,35.29,55.9,46.24,72.349999999999994]
["Walnut Creek",854,1,0.98,20.260000000000002,"",26.22,"",32.18,"",38.14,"",68.66,"",116.16,""]
["Walstonburg",235,1,0.79,23,30.79,48,55.79,58,65.790000000000006,68,75.790000000000006,118,125.79,168,175.79]
["Warren County - served by Kerr Lake RWS",9455,1,1.1200000000000001,25,"",40,"",45,"",50,"",75,"",100,""]
["Warrenton",2250,1,"",12.28,22.42,25.09,41.74,29.36,48.18,33.630000000000003,54.62,54.98,86.82,76.33,119.02]
["Warsaw",3151,1,0.86,14.29,28.58,17.91,35.76,21.53,42.94,25.15,50.12,43.25,86.02,61.35,121.92]
["Washington",12500,1,1.04,15.2,32.159999999999997,20.48,38.770000000000003,25.16,44.61,29.83,50.46,53.21,79.69,76.58,108.92]
["Washington County",6413,1,"",24,"",37,"",50,"",63,"",128,"",193,""]
["Wayne Water Districts",48728,1,"",20.260000000000002,"",26.22,"",32.18,"",38.14,"",69.38,"",116.88,""]
["Waynesville",15046,1,1.1200000000000001,16.18,29.17,18.350000000000001,33.03,20.65,37.119999999999997,22.95,41.21,34.44,61.66,45.94,82.12]
["Weaverville",6535,1,1.1299999999999999,16.23,32.46,24.35,48.69,33.299999999999997,66.58,42.25,84.47,87,173.92,131.75,263.37]
["Weldon",1750,1,"",20.05,25.97,26.35,35.03,28.45,38.049999999999997,30.55,41.07,41.05,56.17,51.55,71.27]
["West Carteret Water Corporation",15311,1,"",17.8,"",40.65,"",48.5,"",56.55,"",97.7,"",140.19999999999999,""]
["West Iredell Water Company",5685,1,"",15,"",29,"",37.5,"",45,"",87,"",134,""]
["West Jefferson",1305,1,1.02,13.3,26.6,27.66,55.32,34.840000000000003,69.680000000000007,42.02,84.04,77.92,155.84,113.82,227.64]
["West Wilkes Water Association",12202,1,"",11.44,"",20.84,"",25.54,"",30.24,"",53.74,"",77.239999999999995,""]
["Whitakers",815,1,"",41.6,83.2,49.45,98.9,57.3,114.6,65.150000000000006,130.30000000000001,104.65,209.3,144.4,288.8]
["White Lake",2500,1,0.77,11.6,23.21,14.35,28.71,17.100000000000001,34.21,19.850000000000001,39.71,34.35,68.709999999999994,51.15,102.31]
["Whiteville",5347,1,"",6,12,12,24,14,28,16,32,26,52,36,72]
["Whittier Sanitary District",292,1,1.02,17.5,"",17.5,"",17.5,"",17.5,"",27.5,"",37.5,""]
["Wilkesboro",3705,1,"",6.73,13.46,6.73,13.46,8.7100000000000009,17.420000000000002,10.69,21.38,20.59,41.18,30.49,60.98]
["Williamston",7650,1,"",18.649999999999999,27,46.4,60.75,55.65,72,64.900000000000006,83.25,111.15,139.5,157.4,195.75]
["Wilson",51088,1,1.28,9,18,24.36,48.72,29.48,58.96,34.6,69.2,60.2,120.41,85.8,171.61]
["Wilson County",8275,1,1.22,25,"",38.5,"",45,"",51.5,"",89,"",131.5,""]
["Windsor",2433,1,0.95,10.1,20.2,14.6,29.2,16.850000000000001,33.700000000000003,19.100000000000001,38.200000000000003,30.35,60.7,41.6,83.2]
["Winfall (no water bills)","","","","","","","","","","","","","","",""]
["Wingate",4201,1,"",11,22,21.1,42.2,26.15,52.3,31.2,62.4,56.45,112.9,90.2,180.4]
["Winston-Salem",321000,1,1.56,6.01,9.01,15.8,23.7,20.12,30.18,24.44,36.659999999999997,47.64,71.47,71.7,107.55]
["Winston-Salem - Clemmons",321000,1,1.56,6.01,"",15.8,"",20.12,"",24.44,"",47.64,"",71.7,""]
["Winston-Salem - Kernersville",321000,1,1.56,6.61,"",17.38,"",22.13,"",26.89,"",52.41,"",78.87,""]
["Winston-Salem - Lewisville",321000,1,1.56,9.01,"",23.7,"",30.18,"",36.659999999999997,"",71.47,"",107.43,""]
["Winston-Salem - Outside County",321000,1,1.56,12.01,"",31.6,"",40.24,"",48.88,"",95.29,"",143.24,""]
["Winterville",9900,1,"",22.4,44.8,22.4,44.8,25.71,51.42,29.02,58.04,45.57,91.14,62.12,124.24]
["Winton",756,1,"",10,15,21.7,30,25.6,35,29.5,40,49,65,68.5,90]
["Woodfin Water and Sewer Sanitary District",9000,1,0.91,15,17,19.88,26.53,23.13,32.880000000000003,26.38,39.229999999999997,42.63,70.98,58.88,102.73]
["Woodland",767,1,"",13,26,23.5,41,27,46,30.5,51,48,76,65.5,101]
["Wrightsville Beach",5212,1,1.22,21,21,28.62,36.24,31.16,41.32,33.700000000000003,46.4,46.4,71.8,59.1,97.2]
["Yadkin County - Jonesville",1658,1,0.61,48.4,"",67.900000000000006,"",87.4,"",106.9,"",204.4,"",301.89999999999998,""]
["Yadkin County - Yadkinville",1658,1,0.61,24.94,"",24.94,"",32.35,"",39.76,"",76.81,"",111.91,""]
["Yadkin Valley Sewer Authority (no water bills)","","","","","","","","","","","","","","",""]
["Yadkinville",4178,1,1.03,12.46,24.94,12.46,24.94,16.16,32.35,19.86,39.76,38.36,76.81,55.86,111.91]
["Yanceyville",2716,1,1.1399999999999999,14.3,28.61,21.43,42.92,28.56,57.23,35.69,71.540000000000006,74.239999999999995,148.88999999999999,112.79,226.24]