

**APPROVAL OF WATER SHORTAGE RESPONSE PLAN**

**SAMPSON COUNTY WATER AND SEWER DISTRICT II - PLAINVIEW**

WHEREAS, North Carolina General Statute 143-355 (I) requires that each unit of local government that provides public water services or plans to provide such services shall, either individually or together with other such units of local government, prepare and submit a Water Shortage Response Plan; and

WHEREAS, as required by the statute and in the interests of sound local planning, a Water Shortage Response Plan for Sampson County Water District II – Plainview has been developed and submitted to the Board of Commissioners of Sampson County Water and Sewer District II for approval; and

WHEREAS, the Board of Commissioners of Sampson County Water and Sewer District II finds that the Water Shortage Response Plan is in accordance with the provisions of North Carolina General Statute 143-355 (I) and that it will provide appropriate guidance for the future management of water supplies for Sampson County Water and Sewer District II, as well as useful information to the Department of Environment and Natural Resources for the development of a state water supply plan as required by statute;

NOW, THEREFORE, BE IT RESOLVED by the Board of Commissioners of Sampson County Water and Sewer District II that the Water Shortage Response Plan entitled *Sampson County WD II – Plainview Water Shortage Response Plan,* dated May XX, 2023, is hereby approved and shall be submitted to the Department of Environment and Natural Resources, Division of Water Resources; and

BE IT FURTHER RESOLVED that the Board of Commissioners of Sampson County Water and Sewer District II intends that this plan shall be revised to reflect changes in relevant data and projections at least once every five years or as otherwise requested by the Department, in accordance with the statute and sound planning practice.

This the XX day of May, 2023.

 ­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Jerol Kivett

Chairman, Board of Commissioners

Sampson County Water and Sewer District II

ATTEST:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Stephanie Shannon, Clerk to the Board

**Water Shortage Response Plan Sampson County WD II- Plainview, North Carolina**

**May 3, 2010; Revised May 16, 2018, and May XX, 2023**

The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water.

**I. Authorization**

The Sampson County Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In their absence, the Public Works Director will assume this role.

Ms. Edwin W. Causey Sampson County Manager

Phone: (910) 592-6308

E-mail: ecausey@sampsonnc.com

Mr. Mark Turlington

Acting Sampson County Public Works Director

Phone: (910) 592-0188

E-mail: mturlington@sampsonnc.com

**II. Notification**

The following notification methods will be used to inform water system employees and customers of a water shortage declaration: employee e-mail announcements, notices at municipal buildings, notices in water bills. Required water shortage response measures will be communicated through the County website, (http://www.sampsonnc.com) *The Sampson Independent,* PSA announcements on local radio and cable stations. Declaration of emergency water restrictions or water rationing will be communicated to all customers by telephone.

**Ill. Levels of Response**

Five levels of water shortage response are outlined in the table below. The five levels of water shortage response are: voluntary reductions, mandatory reductions I and II, emergency reductions and water rationing. A detailed description of each response level and corresponding water reduction measures follows below.

|  |  |  |
| --- | --- | --- |
| **Stage** | **Response** | **Description** |
| 1 | Voluntary Reductions | Water users are encouraged to reduce their water use and improve water use efficiency; however, no penalties apply for noncompliance. Water supply conditions indicate a potential for shortage.  |
| 2 | Mandatory Reductions I | Water users must abide required water use reduction and efficiency measures; penalties apply for noncompliance. Water supply conditions are significantly lower than the seasonal norm and water shortage conditions are expected to persist. |
| 3 | Mandatory Reductions II | Same as in Stage 2 |
| 4 | Emergency Reductions | Water supply conditions are substantially diminished and pose an imminent threat to human health or environmentalintegrity. |
| 5 | Water Rationing | Water supply conditions are substantially diminished, and remaining supplies must be allocated to preserve human health and environmental integrity. |

In Stage 1, Voluntary Reductions, all water users will be asked to reduce their normal water use by 5%. Customer education and outreach programs will encourage water conservation and efficiency measures including irrigating landscapes a maximum of one inch per week; preventing water waste, runoff and watering impervious surfaces; watering plants deeply to encourage root growth; washing only full loads in clothes and dishwashers; using spring-loaded nozzles on garden hoses; and identifying and repairing all water leaks.

In Stage 2, Mandatory Reductions I, all customers are expected to reduce their water use by 10% in comparison to their previous month's water bill. In addition to continuing to encourage all voluntary reduction actions, the following restrictions apply irrigation is limited to a half inch per week between 8PM and 8AM; outdoor use of drinking water for washing impervious surfaces is prohibited; and all testing and training purposes requiring drinking water (e.g. fire protection) will be limited.

In Stage 3, Mandatory Reductions II, customers must continue actions from all previous stages and further reduce water use by 20% compared to their previous month's water bill. All non-essential uses of drinking water are banned, and garden and landscape irrigation must be reduced to the minimum amount necessary for survival. Additionally, in Stage 3, a drought surcharge of 1.5 times the normal water rate applies.

In Stage 4, Emergency Reductions, customers must continue all actions from previous stages and further reduce their water use by 25% compared to their previous month's water bill. A ban on all use of drinking water except to protect public health and safety is implemented and drought surcharges increase to 2 limes the normal water rate The goal of Stage 5, Water Rationing, is to provide drinking water to protect public health (e.g., residences, residential health care facilities and correctional facilities). In Stage 5, all customers are only permitted to use water at the minimum required for public health protection. Firefighting is the only allowable outdoor water use and pickup locations for distributing potable water will be announced according to Sampson County’s Emergency Response Plan. Drought surcharges increase to 5 times the normal water rate.

**IV. Triggers**

The Sampson County WD II – Plainview has only one water source. The Plainview District water source is the Cape Fear River via water purchases from the City of Dunn.

Plainview District (Surface Water)

|  |  |
| --- | --- |
| **Stage** | **River Operating Conditions** |
| 1 | Target flow of Cape Fear River at the Lillington gage <225 cubic feet per second (cfs) for five (5) consecutive days. |
| 2 | Target flow of Cape Fear River at the Lillington gage < 200 cfs for five (5) consecutive days |
| 3 | Target flow of Cape Fear River at the Lillington gage < 175 cfs for five (5) consecutive days |
| 4 | Target flow of Cape Fear River at the Lillington gage < 150 cfs for five (5) consecutive days |
| 5 | Target flow of Cape Fear River at the Lillington gage <125 cfs for five (5) consecutive days |
| 6 | Target flow of Cape Fear River at the Lillington gage <100 cfs for five (5) consecutive days |

Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation. Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

**V. Enforcement**

The provisions of the water shortage response plan will be enforced by Sampson County personnel and local law enforcement. Violators may be reported to the County phone line. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

|  |  |  |  |
| --- | --- | --- | --- |
| Water Shortage Level | First Violation | Second Violation | Third Violation |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions | $250 | Discontinuation ofService | Discontinuation ofService |
| Water Rationing | $500 | Discontinuation of Service | Discontinuation ofService |

 Note: Drought surcharge rates are effective in Stages 3, 4 and 5.

**VI. Public Comment**

Customers will have multiple opportunities to comment on the provisions of the water shortage response plan. First, a draft plan will be available at County Office for customers to view. A notice will be included in customer water bill notifying them of such. Also, a draft plan will be published in *The Sampson Independent* and on the County website. All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by Sampson County Commissioners.

**VII. Variance Protocols**

Applications for water use variance requests are available from the County Offices. All applications must be submitted to the County Office for review by the County Manager or his or her designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e., necessary use of drinking water) and the prevention of structural damage.

**VIII. Effectiveness**

The effectiveness of the Sampson County WDII water shortage response plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained, and evaluation of demand reductions compared to the previous year’s seasonal data.

**IX. Revision**

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to the Sampson County Board of Commissioners. The Sampson County Public Works Director is responsible for initiating all subsequent revisions.