Water Shortage Response Plan

Town of Holden Beach, North Carolina

The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water.

I. Authorization

The Holden Beach Town Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section III are met. In his absence, the Town Clerk will assume this role.

Mr. David Hewett

Holden Beach Town Manager

Phone: (910) 842-6488

E-mail: david.hewett@hbtownhall.com

Ms. Heather Finnell

Town of Holden Beach Clerk

Phone: (910) 842-6488

E-mail: heather@hbtownhall.com

II. Notification

The following notification methods will be used to inform water system employees and customers of a water shortage declaration: employee e-mail announcements, notices at municipal buildings, notices in water bills and on the Holden Beach website homepage. Required water shortage response measures will be communicated through PSA announcements on local radio and cable stations and on the Holden Beach website. Declaration of emergency water restrictions or water rationing will be communicated to all customers by telephone or door hangers if necessary.

III. Triggers

Holden Beach is provided water solely by purchase from the Brunswick County. When Brunswick County declares a water shortage Holden Beach is required to do so as well. During this time Holden Beach Public Works Director will stay in close contact with Brunswick County and follow their triggers.

IV. Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation. Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

V. Enforcement

The provisions of the water shortage response plan will be enforced by Town of Holden Beach Public Works Department and Police personnel. Violators may be reported to the Town’s dedicated water conservation hotline. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions | $250 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $500 | Discontinuation of Service | Discontinuation of Service |

Drought surcharge rates are effective in Stages 3, 4 and 5.

VI. Public Comment

Customers will have multiple opportunities to comment on the provisions of the water shortage response plan. First, a draft plan will be will be available at Town Hall for customers to view. A notice will be included in customer water bill notifying them of such.  All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by Holden Beach’s Town Commissioners.

VII. Variance Protocols

Applications for water use variance requests are available from the Town Public Works Office. All applications must be submitted to the Public Works Office for review by the Public Works Director or his or her designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

VIII. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Holden Beach’s Town Commissioners. The Town of Holden Beach Manager is responsible for initiating all subsequent revisions.

This the 14th day of September, 2010.