TOWN OF BAKERSVILLE

WATER SHORTAGE RESPONSE PLAN - AMENDED

ARTICLE I - DECLARATION OF WATER SHORTAGE

Section 1. Declaration of Applicability of Ordinance.

In the event that the US Drought Monitor indicates abnormally dry or moderate drought for the Town of Bakersville, or it appears that water demand of the Town of Bakersville water system shall exceed supply and transmission capabilities, the Water System Operator will recommend to the Mayor that voluntary water conservation be implemented. The Mayor, following consultation with the Town Council, shall declare a Stage 1 Water Shortage Condition requesting voluntary conservation measures. If voluntary conservation measures fail to relieve the demand on the system the Town shall advance to a Stage 2 or Stage 3 Water Shortage Condition. The Mayor, following consultation with the Town Council, shall, with or without the recommendation of the Water System Operator declare that a Stage 2 or Stage 3 Water Shortage Condition exists.

Section 2.  Notification of Ordinance.

In the event the plan is enacted the following methods will be used to inform the public that the plan has been enacted, the stage of the water shortage, and the guidelines that must be followed at that particular stage.

(a.) An extensive publicity campaign will be initiated using public media and

specialized methods to inform the public of an impending or existing water

shortage.  The Town will use one or more of the following media outlets: Mitchell News Journal, WKYK/WTOE radio station, Town Website: www.bakersvillenc.com, Local TV Channel 13.

(b.) Employees will be made aware personally by the Mayor once the plan is enacted.

(c.) Conservation measures will be encouraged and recommended.
(d.)  Notices will be placed at local businesses and delivered to local residents by Town Police to inform them of what stage of Water Shortage the Town has declared, and what guidelines must be followed. Customers will also be made aware by notices placed on their water bills.

ARTICLE II – STAGE 1 WATER SHORTAGE CONDITION:

Section 1. Trigger.

In the event that the Town’s (1) one above ground storage tank drops to (9) nine feet or less of storage, the Mayor shall proclaim a Stage 1 Water Shortage.

Section 2. Compliance.

In the event the Mayor issues a declaration of a Stage 1 Water Shortage Condition, then voluntary conservation measures will be enacted.  In the event a Stage 1 Water Shortage Condition is declared the following guidelines shall apply and the public shall be encouraged to adhere to the following:

(a.) Limit car washing to a minimum.

(b.) Limit lawn and garden watering to that which is necessary for plants to

survive.

(c.) Do not wash down outside areas such as sidewalks, patios, parking lots,

service bays, etc.

(d.) Do not leave faucets running while shaving or rinsing dishes.

(e.) Water shrubbery to the minimum required reusing household water when

possible.

(f.) Limit use of clothes washers and dish washers and when used, operate fully

loaded.

(g.) Use of showers for bathing, rather than bathtub and limit showers to no more

than (4) four minutes.

(h.) Limit flushing of toilets by multiple usages.

(i.) The use of disposable and biodegradable dishes is encouraged.

(j.) The use of flow restrictive and water saving devices.

(k.) All residents, businesses and institutions are requested to temporarily delay

new landscape work until the water shortage has ended.

ARTICLE III – STAGE 2 WATER SHORTAGE CONDITION

Section 1. Trigger.

In the event a Stage 1 Water Shortage Condition is in effect and the Town’s (1) one above ground storage tank drops to (8) eight feet or less of storage, then a Stage 2 Water Shortage Condition shall be proclaimed by the Mayor.

Section 2. Compliance.

In the event the Mayor issues a declaration of a Stage 2 Water Shortage Condition, then it shall be unlawful for any person, firm or corporation, to use or permit the use of water from the Town of Bakersville water system for any purpose, hereinafter set forth until such time as the declaration of water shortage has been rescinded. In exercising the authority for declaring a water shortage condition consideration shall be given to the water storage levels and available sources of supply, available usable storage on-hand, draw-down rates, the projected supply capability, outlook for precipitation, daily water use patterns and availability of water from other sources.   In addition to the voluntary guidelines already in effect, it shall be unlawful to use water supplied by the Town of Bakersville in the following manner:

(a.) To water lawns, grass, shrubbery, trees, flowers, and vegetable gardens except

in accordance with the following schedule set forth below for specific areas of

the Town. Such watering shall be done by hand-held hose or container or drip

irrigation only.

All areas may water on Sunday and Thursday between the hours of 6:00 a.m. and

9:00 a.m.

(b.) To fill newly constructed swimming and/or wading pools or refill swimming

and/or wading pools which have been drained.

(c.) To wash automobile, trucks, trailers, boats, airplanes, or any other type of

mobile equipment, including commercial washing.

(d.) To wash down outside areas such as streets, driveways, service station apron,

parking lots, office buildings, exteriors of existing or newly constructed

homes or apartments, sidewalks, or patios, or to use water for other similar

purposes.

(e.) To use water from public or private fire hydrant for any purpose other than

fire suppression or another public emergency.

(f.) To operate or induce water into any ornamental fountain, pool or other

structure making similar use of water.

(g.) To serve drinking water in restaurants, cafeterias, or other food

establishments, except upon request.

(h.) To use water for any unnecessary purpose or intentionally waste water.

ARTICLE IV – STAGE 3 WATER SHORTAGE CONDITION

Section 1. Trigger.

In the event a Stage 2 Water Shortage Condition exists and the Town’s

(1) one above ground storage tank drops to (7) seven feet or less, then a Stage 3 Water Shortage Condition may be declared.

Section 2. Compliance.

In the event the Bakersville Mayor issues a declaration of Stage 3 Water Shortage Condition then it shall be unlawful for any person, firm or corporation to use or permit the use of water from the Town of Bakersville water system for any purpose hereinafter set forth until such time as the declaration of water shortage is rescinded. In exercising the authority for declaring a water shortage condition consideration shall be given to the water storage levels and available sources of supply, available usable storage on-hand, draw-down rates, the projected supply capability, outlook for precipitation, daily water use patterns and availability of water from other sources. In additions to the restrictions for Stage 1 and Stage 2 Water Shortage Conditions the following restrictions shall also apply:

(a.) To induce water into a pool.

(b.) Use water outside a structure for any use other than an emergency involving a fire.

(c.) Fire protection to be maintained by drafting of ponds, rivers, etc., wherever possible.

(d.) The use of throw away utensils and plates are encouraged and recommended at all eating establishments.

ARTICLE V – VARIANCE PROTOCOLS

Section 1. Application for Variance.

Applications for variance requests will be available at Town Hall.  Once submitted the Mayor in consultation with the Town Council, and Water System Operator will decide whether or not to approve the request.  The Mayor will look at the following criteria when determining whether or not to grant a variance to the ordinance.

- Impact on water demand

- Necessary use of drinking water

- Expected duration

- Alternative source options

- Social and economic importance

- Prevention of structural damage

ARTICLE VI – ENFORCEMENT

Section 1. Authority of Enforcement.

Town Police under the direction of the Mayor will be responsible for enforcement of the ordinance.  Citizens will be encouraged to report violations of the Ordinance to any Town Personnel or by calling Town Hall.  Warnings will be given for the first violation of the ordinance, but after the first violation the following penalties shall apply:

Section 2. Penalties.

Any violation of the provisions of this ordinance shall constitute a

misdemeanor, punishable upon conviction by a fine not to exceed fifty (50) dollars or

imprisonment not exceeding thirty (30) days as provided by General Statute Section 14-4

and in addition, thereto such violation may be enjoined and restrained as provided in

General Statute Section 153A-123.

Section 3. Discontinuance of Service.

Pursuant to the provisions of General Statue Section 162A-88 and the Town Water Ordinance, service may be temporarily disconnected for willful disregard of the ordinance and a fifty-five (55) dollar reconnect fee may be imposed before the restoration of service. In the event of continued gross noncompliance of this ordinance the removal of water meter will be deemed proper and service will be discontinued and all tap fees and deposits forfeited. Reconnection will only be made by payment of current due amounts, and new tap fees and deposits shall be paid.

ARTICLE VII – WATER RATIONING

Section 1. Water Rationing.

Any plan to ration, limit, or establish limitations on the quantity of water a specific user is authorized to consume, suspend, or terminate service must be approved by the Town Council; however, the termination of water service to a particular customer for specific violation of the Water Shortage Response Plan, or for terminations under normal Town policy regarding the payment of user fees shall not require prior approval of the Town Council.

ARTICLE VIII - Lifting of Restrictions Imposed during a Water Shortage Condition.

Section 1. Expiration/Cancellation of Water Shortage.

(a.) Water Shortage Conditions will expire when the Mayor, after consultation

with the Town Council and upon recommendation of the Water System

Operator, deems that the condition which caused the alert has abated.

(b.) The expiration or cancellation of a water shortage declaration shall be

promptly and extensively publicized.

ARTICLE IX – MEASURING EFFECTIVENESS/PLAN REVISION

Section 1. Plan Effectiveness.

The Mayor in consultation with the Water System Operator will ultimately be responsible for determining if the plan has been effective and achieved the desire outcome.  The primary method for determining the effectiveness of the plan will be measuring water consumption before implementation and after to see if the desired reductions were obtained.  In order to be considered effective the water usage should decrease, and the levels in the storage tanks should return to a normal level.  If the Mayor determines the plan to be ineffective, then a revision of the plan will be necessary.

Section 2. Plan Revision.

The Water Shortage Response Plan must be revised at a minimum of every (5) five years.  However, the plan can be revised when deemed necessary by the Mayor and Town Council, such as to adapt to new water supplies and demands.

ARTICLE X - PUBLIC COMMENT

Section 1. Public Comment Procedure.

Once the Water Shortage Response Plan has been approved by the NC Division of Water Resources, the plan will be available for public inspection for a minimum thirty days.  During this time comments can be left at Town Hall.  The Town Council will then hold a public hearing, in which the public can comment on the plan prior to its final approval and adoption.

ARTICLE XI – SEVERABILITY

Section 1. Severability.

If a section, subdivision clause or provision of this ordinance

shall be adjudged invalid, such adjudication shall apply only to such section, subdivision

clause or provision so adjudged, and the remainder of this ordinance may be declared

valid once effective.

Updated April 24, 2023