PAGE  

 CITY OF NORTHWEST

PWSID:  70-10-045

WATER SHORTAGE RESPONSE PLAN

I. PURPOSE

The purpose of the Water Shortage Response Plan is to provide guidance to Public Utilities staff, and the customers of the City of Northwest during periods of drought and other events that result in a shortage of potable water. The Water Shortage Response Plan is intended to provide a framework of steps and activities to be implemented as conditions require.

II. RESPONSIBILITY FOR DECLARATION OF A WATER SHORTAGE

Under the City’s current Water Emergency Ordinance, the Utility Administrator, Mayor or the Water Liaison representative is authorized to declare that a water emergency exists. Depending on the severity of the emergency, voluntary (Stage 1) and mandatory (Stage 2 and Stage 3) staged water use restrictions as described in this ordinance shall be imposed upon all water. This declaration shall be made after consultation with Brunswick County.
Northwest is provided water solely by purchase from the Brunswick County. When Brunswick County declares a water shortage, Northwest is required to do so as well. During this time the Utility Administrator and City Clerk will stay in close contact with Brunswick County and will notify city staff as needed to follow their triggers.

RETURN TO NORMAL
When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation. Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

III. SHORTAGE RESPONSE ACTION LEVELS 

STAGE 1 - WATER CONSERVATION ALERT

A Stage 1 water shortage emergency may be declared in the event of an immediate water shortage, as so declared by state and/or local officials, or when there are three (3) consecutive days when water demand exceeds eighty percent (80%) of the total water plant production capacity.  Water production capacity shall be defined as the maximum volume of water that meets or exceeds state and federal standards that the water treatment plant process can produce during a twenty-four (24) hour period.  Water production capacity can vary depending on system component reliability and/or raw water conditions or availability.

STAGE 2 – WATER SHORTAGE WARNING

A Stage 2 water shortage emergency may be declared in the event of an immediate water shortage, as so declared by state and/or local officials, or when there are two (2) consecutive days when water demand exceeds ninety percent (90%) of the water production capacity.  Water production capacity shall be defined as the maximum volume of water that meets or exceeds state and federal standards that the water treatment process can produce during a twenty-four (24) hour period.  Water production capacity can vary depending on system component reliability and/or raw water conditions or availability.

STAGE 3 – WATER SHORTAGE DANGER

A Stage 3 water shortage emergency may be declared in the event of an immediate water shortage, as so declared by state and/or local officials, or when there is one (1) day when water demand exceeds one hundred percent (100%) of the water production capacity.  Water production capacity shall be defined as the maximum volume of water that meets or exceeds state and federal standards that the water treatment process can produce during a twenty-four (24) hour period.  Water production capacity can vary depending on system component reliability and/or raw water conditions.

IV. NOTIFICATION PROCEDURES

Upon declaration of each stage of water shortage emergency, the following methods may be used to inform the customers.

PUBLIC NOTICE

The City will draft a Public Notice announcing the Water Shortage Stage and the actions that water customers must take to comply with the Water Emergency Ordinance. The Public Notice will be provided by the water contact person to all media outlets that serve the Brunswick County area. The Public Notice will include phone numbers that customers may call with questions.

DIRECT MAILING TO CUSTOMERS

Depending on the stage and severity of the event, the City may elect to send a direct mailing to all water customers. In the event of an immediate need to reduce water consumption, a notice would be sent to all water customers. If the event is an expected event, an insert to the water bill would be the method of communication.

NEWSPAPER ADVERTISEMENT

Depending on the stage, the City may elect to purchase space in the local newspapers to inform the public. The ad would include the language included in the Public Notice.

V. STAGE CONDITIONS

The basis for the determination of a water emergency shall be the City’s ability to provide potable water to its customers. For a Stage 1 emergency, a declaration will be made when the potable water demand or the anticipated potable water demand will be eighty percent (80%) of the combined treatment capacity of the County’s Northwest Water Treatment Plant for more than three (3) consecutive days. If the available raw water supply or the treatment capacity is diminished, the eighty percent (80%) level will be determined based upon the amount of raw water available or treatment capacity available.

For a Stage 2 emergency, a declaration will be made when the potable water demand or the anticipated potable water demand will be ninety percent (90%) of the combined treatment capacity of the County’s Northwest Water Treatment Plant for more than two (2) consecutive days. If the available raw water supply or the treatment capacity is diminished, the ninety percent (90%) level will be determined based upon the amount of raw water available or treatment capacity available.

For a Stage 3 emergency, a declaration will be made when the potable water demand or the anticipated potable water demand will be one hundred percent (100%) of the combined treatment capacity of the County’s Northwest Water Treatment Plant for more than a twenty-four (24) hour period. If the available raw water supply or the treatment capacity is diminished, the one hundred percent (100%) level will be determined based upon the amount of raw water available or treatment capacity available.

The available raw water supply shall be determined by the capacity of the Lower Cape Fear Water and Sewer Authority to supply raw water to the County from its Kings Bluff Water Pump Station for the Northwest Water Treatment Plant. The raw water flow is measured at the pump station and at the Northwest Water Treatment Plant.  The flow is measured at each well and at the plant.
VI. VARIANCES

All appeals for a variance must be submitted to the utility department in writing. The water liaison person will review the request and the following criteria will be used to determine if a variance can be granted:


A.  Impact on the overall water conservation goals


B.  Potential property damage


C.  Potential alternative sources of water supply


D.  Volume of water to be consumed


E.  Duration of usage


F.  Number of similarly situated property owners

The water liaison person must provide a written determination on the request for a variance within three (3) working days of the receipt of the variance. If the request for a variance is denied, the property owner has the right to appeal the determination to the City Council. The City Council would hear the appeal at the next regularly scheduled meeting provided the appeal request is received at least seven (7) days in advance of the next meeting.

VII. EVALUATION

During the declaration of the Water Shortage Event, the City staff will monitor the water usage. A spreadsheet will be developed to track water pumped through the vault. The pre-declaration usage will be compared to the post-declaration usage to determine an overall percentage reduction in demand. If the desired reduction in demand has not occurred, changes in the plan or enforcement of the plan will be recommended.

After the water shortage event has concluded, a post-event evaluation will be held. Changes in the Water Shortage Response Plan will be recommended to the City Council based upon the problems and issues that were discovered during the event.
VIII. ENFORCEMENT
The provisions of the water shortage response plan will be enforced by the City of Northwest personnel and local law enforcement. Violators may be reported to the City’s dedicated water conservation hotline. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

	Water Shortage Level
	First Violation
	Second Violation
	Third Violation

	Voluntary Reductions
	N/A
	N/A
	N/A

	Mandatory Reductions

(Stages 2 and 3)
	Warning
	$250
	Discontinuation of Service

	Emergency Reductions
	$250
	Discontinuation of Service
	Discontinuation of Service

	Water Rationing
	$500
	Discontinuation of Service
	Discontinuation of Service


Drought surcharge rates are effective in Stages 3, 4 and 5.

VI. Public Comment
Customers will have multiple opportunities to comment on the provisions of the water shortage response plan. First, a draft plan will be will be available at City Hall for customers to view. A notice will be included in customer water bill notifying them of such.  All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by Northwest’s City Council.

IX. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Northwest’s City Council. The Utility Administrator, Mayor, City Clerk, and Water Liaison is responsible for initiating all subsequent revisions.

Page 2 of 5

