ROBESON COUNTY COUNTY-WIDE WATER SYSTEM

WATER SHORTAGE RESPONSE PLAN

# SECTION 1 – AUTHORITY TO IMPLEMENT

SECTION 2 – FACTORS REQUIRING IMPLEMENTATION OF WSRP

SECTION 3 – WATER USE CLASSIFICATION

SECTION 4 – STAGED WATER SHORTAGE RESPONSE PLAN AND WATER USE REDUCTION GOALS

SECTION 5 – WATER USE COMPLIANCE

SECTION 6 – WATER SHORTAGE RESPONSE PLAN CANCELLATION

# SECTION 7 – PENALTIES FOR NON-COMPLIANCE

SECTION 8 - PUBLIC COMMENT

SECTION 9 – VARIANCE PROTOCOLS

SECTION 10- EFFECTIVENESS

SECTION 11- REVISIONS

## PREAMBLE

This Water Shortage Response Plan has been designed to alleviate difficult judgement calls and allow for an orderly transition between response levels.  It describes the classification of potable water uses, the various phases of use reductions and when restrictions will go into effect.  This plan will also allow Robeson County County-Wide Water System and its customers to respond early to avoid the necessity for extreme measures.

Drought is the most common need for a plan, but not the only one.  Treatment and or structure problems, such as line breaks, pressure drops, contaminants in the water system, acts of terrorism, vandalism and natural disasters can cause this system to require its customers to restrict water use for a short period of time.

Issues covered in this plan will include, but not be limited to, public involvement, events that trigger the plan, management practices and public education.

### SECTION  1:  AUTHORITY TO IMPLEMENT

When conditions dictate that water demand on the Robeson County County-Wide Water System may exceed supply and transmission capabilities, the Public Utilities Director may recommend to the County Manager that voluntary water conservation measures be implemented.  The County Manager, following consultation with the Board of Commissioners, may declare a Stage I (Voluntary) Water Shortage Condition Advisory requesting voluntary water conservation by customers.  In the event that voluntary conservation measures fail to relieve the demand on the system, the County may advance to a Stage II (Mandatory) or Stage III (Emergency) Water Shortage Condition.  The County Manager, following consultation with the Board of Commissioners, may with or without the recommendation to the Public Utilities Director, declare that a Stage II or Stage III Water Shortage Condition exists. The County Manager shall enact the water shortage response provisions whenever the trigger conditions outlined in Section 2 are met. In his or her absence, the Utility Director will assume this role.

Kellie Blue                                                               Myron Neville

Robeson County Manager                                       Public Utilities Director

(910)-671-3022                                                      (910)-671-3485

Email: kellie.blue@co.robeson.nc.us                       Myron.neville@co.robeson.nc.us

### SECTION  2:  FACTORS REQUIRING IMPLEMENTATION OF THE WATER SHORTAGE RESPONSE PLAN

Several parameters or conditions may require the Robeson County County-Wide Water System to begin the Water Shortage Response Plan.  These include, but may not be limited to, significant reductions are elevated tank or well water levels, a significant increase in pump run times for the predetermined total flow at the wells, contaminants in the water system, acts of terrorism, vandalism, main breaks and natural disasters.

If the factors listed above reduce elevated tank or well water levels or pump run times increase or by any event or combination of events prevent the water system from delivering water, Water Shortage Response Plan Stages will be enacted in the following order:

Stage I (Voluntary) – In the event that the Public Utilities Director determines that the water demand may exceed the supply for any of the reasons listed in Section 2, or a State Mandate is handed down because of Statewide drought conditions, or if (4) four elevated tanks drop to (10) ten feet of storage or less, a Stage I Advisory may be implemented.

Stage II (Mandatory) – In the event that a Stage I Water Shortage Condition is in effect and any (7) seven elevated tanks drop to (10) ten feet or less of storage for more than (2) two hours, or 50% of the system wells run for more than 14 hours per day for three consecutive days, a Stage II Advisory may be implemented.

Stage III (Emergency) – In the event that a Stage I Water Shortage condition is in effect and any (10) ten elevated tanks drop to (10) ten feet or less of storage for more than (2) two hours, or if a 60% reduction in normal well levels is noted in one-third or more of the production wells, or if the pump times of one-third or more of the wells increase 60% in order to maintain previous rates, a Stage III Advisory may be implemented.

### SECTION  3:  WATER USE CLASSIFICATION

In order to facilitate a fair and equitable Water Shortage Supply Plan, every water use will be governed into one of three classifications:

Class I – Essential Water Uses

These uses include, but may not be limited to water use required to/for:

•     Sustain human life and the lives of domestic pets.

•     Maintain minimum standards of hygiene and sanitation.

•     Health care uses necessary for patient care and rehabilitation.

•     Firefighting, including training and drills as approved by the County

Manager.

Class II – Socially or economically important water use.  These include, but may not be limited to water use to/for:

•     Preserve commercial vegetable gardens, fruit orchards, nursery stock and livestock.

•     Outdoor commercial watering, public and private.

•     Establishing vegetation, after construction/earth moving activities.

•     Filling and operations of municipal or private swimming pools

provided that these swimming pools serve 25 or more residents.

•     Operation of commercial car washes, restaurants, laundromats, clubs,

schools, churches and other similar establishments.

Class III – Non-Essential Water Uses

These uses include, but may not be limited to/for:

•     Operation of water fountains, ornamentation pools and recreational

pools that serve fewer than 25 persons.

•     Non-commercial washing of motor vehicles, sidewalks, houses, etc.

•     Non-commercial watering of gardens, lawns, parks, playing fields and

other recreational areas.

## SECTION  4:  STAGED WATER SHORTAGE RESPONSE PLAN AND WATER USE REDUCTION GOALS

When the Water Shortage Response Plan is implemented, the below staged approach will be followed:

Stage I – Voluntary Conservation

This Stage may be enacted when it is determined that one or more of the parameters outlined in Section 2 is met.

A Water Shortage Advisory will be issued to all system customers outlining the potential problem.  Customers will be notified through means such as mailers, newspaper articles, radio and television reports, postings at the County Water Department and any other means deemed appropriate.

The public will be requested to voluntarily conserve water and set conservation goals as shown in Section 5 and prepare for decreasing supply.

Stage II – Mandatory

In the event that a Stage I Water Shortage Advisory is in effect and the conditions outlined in Section 2 are met, the County Manager may enact a Stage II Water Shortage Condition.  If this occurs, the system customers will be promptly notified by any or all methods outlined in Stage I.  All users will be required to adhere to the voluntary conservation measures as noted in Section 5.  Class III uses will be banned.  Class II uses will be limited as shown in Section 5.  During Stage II, industrial facilities will be required to develop and demonstrate to the Public Utilities Director a Water Shortage Response Plan.  This program should show at least, a 25% reduction in water usage.

Stage III - Emergency

This Stage will commence with the issuance of a Water Shortage Emergency Declaration from the County Manager.  System users will be notified by any or all of the methods noted in Stage I.  All users will be required to use voluntary conservation measures outlined in Section 5.  Class III uses will be banned, and Class II uses will be restricted as noted in Section 5.

Industrial users will be required to implement their Water Reduction Program immediately.

## SECTION  5:  WATER USE COMPLIANCE

#### Stage I – Voluntary Conservation

In the event a Stage I Water Shortage Condition is declared, the following guidelines shall be encouraged to adhere to:

A.	Limit car washing to a minimum.

B.	Limit lawn and garden watering to that which is necessary for plants to survive.

C.	Do not wash down outside areas such as sidewalks, patios, parking lots, service bays or aprons, etc.

D.	Do not leave faucets running while shaving, brushing teeth or rinsing dishes.

E.	Water shrubbery to the minimum required, reusing household water when possible.

F.	Limit uses of clothes washers and dishwashers, and when used, operate fully loaded.

G.	Use of showers for bathing, rather than a tub bath, and limit showers to no more than four (4) minutes.

H.	The use of disposable and biodegradable dishes is encouraged.

I.	The use of flow restrictive and water saving devices.

J.	Limit hours of operation of water-cooled air-conditioners.

K.	All residents, businesses, and institutions are requested to temporarily delay new landscape work until the water shortage has ended.

Stage II – Mandatory

In the event that the County Manager issues a declaration of a Stage II Water Shortage Condition, in addition to the voluntary guidelines already in effect, it shall be unlawful to use water supplied by the Robeson County Water System in the following manner:

A.	To water lawns, grass, shrubbery, trees, flowers and vegetable gardens, except in accordance with the following schedule set forth below for specific areas of the County:

•     Addresses ending with an odd number (1, 3, 5, 7, 9) water on odd

numbered dates.

•     Addresses ending with an even number (2, 4, 6, 8, 0) water on even

numbered dates.

Note:  Such watering shall be done by handheld hose or container or drip irrigation system only.

B.	To fill newly constructed swimming and/or wading pools or refill swimming and/or wading pools that have been drained.

C.	To wash automobiles, trucks, boats, airplanes, or any other type of mobile equipment, including commercial washing.

D.	To wash down outside areas such as streets, driveways, service station aprons, parking lots, office buildings, exteriors of existing or newly constructed homes or apartments, sidewalks or patios, or to use water for other similar purposes.

E.	To use water from public or private fire hydrants for any purpose other than fire suppression or other public emergency.

F.	To operate or induce water into any ornamental fountain, pool or pond or other structure making similar use of water.

G.	To serve drinking water in restaurants, cafeterias or other food establishments except upon request.

H.	To operate water-cooled air conditioners or other equipment that does not recycle cooling water, except when health and safety are adversely affected.

I.	To use water for any unnecessary purpose or to intentionally waste water.

Stage III – Emergency Conservation

In the event the County Manager issues a declaration of Stage III Water Shortage Conditions, in addition to the restrictions for Stage I and Stage II Water Shortage Conditions, the following restriction shall also apply:

A.	To induce water into any pool.

B.	Use water outside a structure for any use other that an emergency involving a fire.

C.	Fire protection to be maintained by drafting of ponds, rivers, etc., whenever possible.

D.	The use of disposable utensils and plates is encouraged and recommended at all eating establishments.

E.	To operate an evaporative air conditioner which recycles water except during operating hours of business.

##### SECTION  6:  WATER SHORTAGE RESPONSE PLAN CANCELLATION

As the determining parameters decrease in severity and return to acceptable levels, the County Manager, after consultation with the Board of Commissioners and upon recommendation of the Public Utilities Director, may cancel the Water Shortage Response Plan in the reverse order of its implementation.  This cancellation shall be promptly and extensively publicized by the same methods as noted in Section 4.

##### SECTION  7:  PENALTIES FOR NON-COMPLIANCE

The Public Utilities Department will enforce the provisions of the Water Shortage Response Plan.

Stage I – Continued water consumption by Class III, non-essential users will result in a written notice of violation for the first offense and a $25.00 fine for each subsequent offense.

Stage II – Failure to adhere to the Stage II (Mandatory) required conditions will result in a written notice of violation for the first offense and/or a $50.00 fine.  Thereafter, each violation increases by a factor of $50.00.  Any violation past a fourth offense shall result in disruption of water service to the offending party until Stage II has been rescinded.

Stage III – Failure to comply with the mandates during Stage III will require the offending party to pay a $100.00 fine for the first offense, $350.00 for the second offense and disruption of service for the third offense.

In addition, residential users will be allotted 1,000 gallons per month, per person, per connection.  If the user uses 1,001-1,250 gallons per month, per person, per connection, a surcharge of 25% will be added to the monthly bill.  If the user uses 1,251-1,500 gallons per month, per person, per connection, a surcharge of 75% will be added to the monthly water bill.  If the user uses 1,501 or more gallons per month, per person, per connection, a surcharge of 150% will be added to the monthly bill.

Industrial facilities will be required to reduce their monthly water consumption by 25% of the previous 12-month water consumption average to maintain the current water rate for the month.  The average water use can be evaluated on an individual basis for facilities with seasonal demand fluctuations.  A 10% - 24% water use reduction from the previous 12-month water use average will require the County to impose a 25% surcharge on the monthly water bill.  A 0% - 9% water use reduction from the previous 12-month water use average will require the County to impose a 50% surcharge on the monthly bill.  An increase of 1% - 25% above the previous 12-month water use average will result in a surcharge of 100% added to the next monthly bill.  Any amount used above 25% of the pervious 12-month average water use will require the County to add a surcharge of 150% to the monthly bill.

SECTION  8: PUBLIC COMMENT

Customers will have multiple opportunities to comment on the provisions of the water shortage response plan. First, a draft plan will be published in The Robeson Journal and on the Robeson County Government website. A public hearing will be scheduled with notice printed in The Robeson Journal to collect comments on the draft. All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by the Robeson County Board of Commissioners.

SECTION  9: VARIANCE PROTOCOLS

A variance may be requested by sending a written request to the Utilities Department for review by the Utility Director or his or her designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

SECTION 10 EFFECTIVENESS

The effectiveness of the Robeson County Water System water shortage response plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained, and evaluation of demand reductions compared to the previous year’s seasonal data.

SECTION 11 REVISIONS

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to The Robeson County Board of Commissioners. The Robeson County Public Utilities Director is responsible for initiating all subsequent revisions.