Town of Bath

Water Shortage Response Plan Ordinance

Section 1.	Purpose. The purpose of this Plan is to provide for the declaration of 				official phases of water supply shortages and the implementation of 				voluntary and mandatory water conservation measures throughout the 				Utility’s service area in the event a shortage is declared.

Section 2. 	Authority to Implement.  When conditions dictate, the Town of 					Bath’s Utilities Director and/ or the Town Administrator under the 					Direction of the Town’s Mayor, may implement a Water Shortage 					Response Plan (WSRP). Conditions, which may require the WSRP to be 				enacted, as outlined in Section 3.

Section 3. 	Factors Requiring Implementation of the Water Shortage Response	 			Plan. Several parameters or conditions may require the Town of Bath 				to begin the WSRP. These include but may not be limited to significant 				reductions in well water levels, a significant increase in pump run times 				for the predetermined total flow at the well(s), contaminants in the water 				system, acts of terrorism, vandalism, main breaks and natural disasters.

If the factors listed above reduce well water levels or pump run times, or 				by any event or combination of events, prevent the water system from 				delivering water, WSRP phases will be enacted in the following order:

Phase I will be enacted if a 20% reduction in normal well water levels is 				noted or if pump run times increase 20% in order to maintain previous 				rates or any other event which cases a 20% reduction in the water system’s 			capacity.

Phase II will be enacted if a 40% reduction in normal well water levels is 				noted or if pump run times increase 40% in order to maintain previous 				rates or any other even which causes a 40% reduction in the system’s 				capacity.

Phase III will be enacted if a 60% reduction in normal well waters levels is 			noted or if pump run times increase 60% in order to maintain previous 				rates or any other event which causes a 60% reduction in the system’s 				capacity.

Section 4.	Water Use Classification. In order to facilitate a fair and equitable 				WSRP, every water use will be grouped into one of three classifications.

Class I – Essential Water Uses

These uses include but may not be limited to water use required to/for:

Sustain human life and the lives of domestic pets

Maintain minimum standards of hygiene and sanitation

Health care uses necessary for patient care and rehabilitation

Firefighting, including training and drills as approved by the 						Town’s Mayor

Class II – Socially or Economically Important Water Uses

These include but may not be limited to water use required to/for:

Preserve commercial vegetable gardens, fruit orchards, nursery 						stock, aquaculture, and livestock maintenance

Outdoor commercial watering, public or private

Establishing vegetation, after construction/earth moving activities

Filling and operation of municipal or private swimming pools 						provided that these swimming pools serve 25 or more 						residents

Operation of commercial car washes, restaurants, Laundromats, 						clubs, schools, churches and other similar establishments

Class III – Non-Essential Water Uses

These uses include but, may not be limited to:

Operation of water fountains, ornamental pools and recreational 						swimming pools

Non-commercial washing or motor vehicles, sidewalks, house, etc

Non-commercial watering of gardens, lawns, parks, playing fields 						and other recreational areas

Section 5.	Phased WSRP and Water Use Reduction Goals. When the WSRP is 				implemented, the below phased approach will be followed:

Phase I – Voluntary Conservation

This phase will be enacted when it is determined that one or more of the parameters outlined in Section 3 is met. If this occurs, the consumers will be notified promptly by any or all of the following: mailers, door hangers, hand delivered notices, public postings at the Town Hall, Post Office, Town Website (if available) etc. The public will be asked to begin voluntary conservation measures and Class III Non-Essential uses 	will be 	halted. Specific conservation measures and tips can be seen on Attachment I.

Continued water consumption by Class III, non-essential users will 				result in a written notice of violation for the first offense and a $25 					fine for each subsequent offense.

If the determining parameters(s) return to seasonal norms, the 					measures will be lifted. However, failure of the determining 					parameter(s) to return to the state of seasonal normalcy may 					require the initiation of Phase II.

Phase II – Mandatory

This phase will begin when the Town Public Works Supervisor 					issues a water shortage advisory. The consumers will be notified 					by one of the methods noted in Phase I. All users will be required 					to adhere to the voluntary conservation measurers as noted in 					Attachment 1. Class III uses will be banned. Class II uses will be 					allowed although outdoor vegetative watering will be limited 					according to the resident’s street address. Even numbered 						addresses will be allowed to water on even days of the month. Odd 				numbered addresses will be allowed to water on odd days of the 					month.

During Phase II, industrial facilities will be required to develop 					and demonstrate to the Town Board a water shortage response 					program. This program should show, at least, a 25% reduction in 					water usage.

Failure to adhere to the Phase II (Mandatory) required conditions 					will result in written notice of violation for the first offense and/or 					a $50 fine. Thereafter, each violation increases by a factor of $50. 					Any violation past a fourth offense shall result in a disruption of 					water service to the offending party until Phase II has been 						rescinded.

Phase III – Emergency

This phase will commence with the issuance of a water shortage 					emergency declaration from the Town’s Utilities Director. 						Users will be notified by any or all of the methods noted in Phase 					I. All users will be required to use voluntary conservation 						measures outlined in “Attachment 1”. Class III uses will be banned 				and Class II uses will be allowed with the exception of vegetative 					watering Industrial users will be required to implement their water 					reduction program immediately.

Failure to comply with the mandates during Phase III will require 					the offending party to pay $100 fine for the first offense, $350 fine 					for the second offense and disruption of service for the third 					offense.

In addition, residential users will be allotted 1000 gallons per 					month per person per connection. If the user uses 1001 – 1250 					gallons per month per person per connection, a surcharge of 25% 					will be added to the monthly water bill. If the user uses 1251 – 					1500 gallons per month per person per connection, a surcharge of 					75% will be added to the monthly water bill. If the user uses 1501 					or more gallons per month per person per connection, a surcharge 					of 150% will be added to the monthly water bill.

Commercial, industrial and institutional facilities will be required 					to reduce their monthly water consumption by 25% of the previous 				12 month water consumption average to maintain the current water 				rate for that month. The average water use can be evaluated on an 					individual basis for facilities with seasonal demand fluctuations. A 					10 – 24% water use reduction from the previous 12 month water 					use average will require the Town to impose a 25% surcharge on 					the monthly water bill. A 0 – 9% water use reduction from the 					previous 12 month water use average will require the Town to 					impose a 50% surcharge on the monthly water bill. An increase of 					1 – 25% above the previous 12 month water use average will result 				in a surcharge of 100% added to the next monthly bill. Any 					amount used above 25% of the previous 12 month average water 					use will require the Town to add a surcharge of 150% to the 					monthly bill.

Section 6.	Enforcement. Enforcement of mandatory conservation will be the 					responsibility of the Utilities Director under the direction of the 					Town Board and the Mayor. Associated fines will be the responsibility 				of the Town Board and the Mayor.

Section 7. 	Water Shortage Response Plan Cancellation. As the determining 				parameter(s) decrease in severity and return to acceptable levels, the Town 			will lift the WSRP. The cancellation process will be in the reverse order of 			the WSRP implementation.

Section 8.	Review and Comments. The residents will be given an opportunity to 				review the WSRP at the Town of Bath’s office. Comments can be given 				in writing to the Town Board and/or Town Mayor.

Section 9.	Variance.

a. Process. Variance request will be given to the Town Board or Mayor 				in writing. This will be presented to the Town Board of Commissioners 				for considerations.

b. Granting. The Town Board of Commissioners will grant variance based 				on usage, length of time, alternative source, social and economic 					importance, and impact on water demand.

Section 10.	Effectiveness of WSRP. The WSRP effectiveness will be based on the 				frequency that it is activated, time period in which the activations occur, 				number of violations/citations handed out, and amount of time taken to 				raise the % of water capacity.

Section 11. 	Revisions. The WSRP will be reviewed on a yearly basis and/or after 				each occurrence of water reductions.

Section 12.	Effective Date. The WSRP shall take effect immediately upon approval 				by the Town Board of Commissioners

.

Conservation Measures

Water Shortage

Response Ordinance

Direct Users to adopt the following conservation measures:

INDOOR RESIDENTIAL USE:

Conservation for Voluntary and Mandatory Conservation Phases

- Use dishwashers only when they are full. Washing dishes by hand (don’t let the tap run!) saves about 25 gallons.

- Adjust water level on clothes washing w\machines, if possible. Use full loads only, if not adjustable.

- Turn off faucets while brushing teeth, etc. Saves about 5 gallons per day.

- Reduce water used per flush by installing toilet tank displacement inserts, a plastic jug may often be used as an alternative. DO NOT USE BRICKS – they disintegrate when soaked and the resulting grit hinders closing of the flap valve.

- Do not use the toilet as a trash can.

- Use sink and tub stoppers to avoid wasting water.

- Keep a bottle of chilled water in the refrigerator for drinking.

- Find and fix leaks in faucets and water-using appliances. Faucets can usually be fixed cheaply and quickly by replacing washers.

- Adapt plumbing with flow-restricting or other water saving devices. These are usually inexpensive and easy to install.

- Learn to read your water meter so you can judge how much water you use and what difference conservation makes.

- Take shorter showers and shallow baths. Saves about 25 gallons.

- Reduce the number of toilet flushes per day. Each flush uses about 5 gallons (2-3 if you have water saving toilets).

- Don’t use a garbage disposal.

- Use non-phosphate detergent and save laundry water for lawns and plants.

Conservation for Emergency Conservation or Rationing Phase (In addition to measures listed above).

- Turn off shower while soaping up.

- Use disposable eating utensils.

OUTDOOR RESIDENTIAL USE

Conservation for Normal Conditions and Voluntary Conservation Phase

Lawns

- Water before 10:00 am to prevent evaporations which occurs during the hottest part of the day. Morning is better than evening, when the dampness encourages growth of fungus.

- Water only when lawn shows signs of wilt. Grass that springs back when stepped on does not need water.

- Water thoroughly: long enough to soak roots, a light sprinkling evaporates quickly and encourages shallow root systems. Water slowly to avoid runoff.

- Don’t let the sprinkler run any longer than necessary. In an hour, 600 gallons can be wasted.

- Allow maximum of one inch of water per week on your lawn. To measure, place cake tins outside to collect rain and water from sprinklers.

- Use pistol-grip nozzles on hoses to avoid waste when watering flowers and shrubs.

- Aerate lawns by punching holes 6 inches apart. This allows water to reach roots rather than run off surfaces.

- Position sprinklers to water the lawn, not the pavement.

- Avoid watering on windy days when the wind not only blows water off target, but also causes excess evaporation.

- Keep sprinkler heads clean to prevent uneven watering.

- Adjust hose to simulate a gentle rain. Sprinklers that produce a fine mist waste water through evaporation.

- Know how to turn off an automatic sprinkler system in case of rain.

- Use an alarm clock or stove timer to remind you to shut off sprinklers that don’t have timers.

Vegetables and Flower Gardens

- Water deeply, slowly and weekly. Most vegetables require moisture to a depth of 6 to 8 inches.

- Keep soil loose so water can penetrate easily.

- Keep weeds out to reduce competition for water.

- Put the water where you want it and avoid evaporation by using soil-soakers or slow-running hoses, not sprinklers.

Trees and Shrubs

- Water deeply using a soil-soaker or drip-irrigation.

- Water only when needed. Check the depth of soil dryness by digging with a trowel.

- Mulch to reduce evaporation (2” to 3” layer of wood chips, pine needles, grass clippings, or straw keeps the soil cool in the summer).

- Dig troughs around plants to catch and retain water.

- Water trees growing in full sun more often than those in shade.

- Do not use sprinklers. Apply water directly at base.

- Do not fertilize during the summer. Fertilizing increases a plant’s need for water.

- Postpone planting until fall or spring when there is generally less need for water.

- Install trickle-drip irrigation systems close to the roots of your plants. By dripping water slowly, the system doesn’t spray water in to the air. Use soil probes for large trees.

- Water when cloudy, at night, or even when a light rain is falling.

OUTDOOR RESIDENTIAL USE

Conservation for Voluntary Conservation Phase (in addition to measures listed above)

- Don not allow children to play with hose or sprinklers.

- Limit car washing.

- Be ready to catch rainfall that occurs. Place containers under drain sprouts.

- Use leftover household water if available.

- Consider delaying the seeding or sodding of new lawns.

- Determine the amount of water being used outdoors by comparing water bills for summer and winter.

Conservation for Mandatory Conservation Phase (in addition to measures listed above)

- Vegetable gardens and food trees should be given minimal amounts of water on an individual basis only.

- Do not water lawns and inedible plants.

- Do not use sprinklers.

Most outdoor watering is prohibited under Emergency Conservation conditions.

HOSPITAL AND HEALTH CARE FACILITY USE

- Reduce laundry usage or services by changing the linens, etc only when necessary to preserve the health of patients or residents.

- Use disposable food service items.

- Eliminate, postpone, or reduce, as they may be appropriate, elective surgical procedures during the period of emergency.

INDUSTRIAL USE

- Identify and repair all leaky fixtures and water-using equipment. Give special attention to equipment connected directly to water lines, such as processing machines, steam-using machines, washing machines, water-cooled air conditioners, and furnaces.

- Assure that valves and solenoids that control water flows are shut off completely when the water-using cycle is not engaged.

- Adjust water-using equipment to use the minimum amount of water required to achieve its stated purpose.

- Shorten rinse cycles for laundry machines as much as possible; implement lower water levels wherever possible.

- For processing, cooling, and other uses, either re-use water or use water from sources that would not adversely affect public water supplies.

- Advise employees, students, patients, customers, and other users not to flush toilets after every use. Install toilet tank displacement inserts; place flow restrictors in shower heads and faucets; close down automatic flushes overnight.

- Install automatic flushing valves to use as little water as possible or to cycle at longer intervals.

- Place water-saving posters and literature where employees, students, patients, customers’, etc will have access to them.

- Check meters on a frequent basis to determine consumptive patterns.

- Review usage patterns to see where other savings can be made.