Water Shortage Response Plan

Martin County Water District 2

May 31, 2024

The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water.

I. Authorization

The Martin County Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In his or her absence, the Water Districts Manager will assume this role.

Mr. Ben Eisner

Martin County Manager

Phone: (252) 789-4300

E-mail:ben.eisner@martincountyncgov.com

Mr. Robbie Whitaker

Martin County Water Districts Manager

Phone: (252) 789-4347

E-mail: robbie.whitaker@martincountyncgov.com

II. Notification

The following notification methods will be used to inform water system employees and customers of a water shortage declaration: employee e-mail announcements, notices at municipal buildings, notices in water bills and/or door hangers. Required water shortage response measures will be communicated through, The Enterprise, PSA  announcements on local radio and cable stations and the County’s website   (http://www.martincountyncgov.com/) Declaration of emergency water restrictions or water rationing will be communicated to all customers by telephone through automated messaging and/or door hangers.

III. Levels of Response

Five levels of water shortage response are outlined in the table below. The five levels of water shortage response are: voluntary reductions, mandatory reductions I and II, emergency reductions and water rationing. A detailed description of each response level and corresponding water reduction measures follows below.

| Stage | Response | Description |
| --- | --- | --- |
| 1 | Voluntary Reductions | Water users are encouraged to reduce their water use and improve water use efficiency; however, no penalties apply for noncompliance. Water supply conditions indicate a potential for shortage. |
| 2 | Mandatory Reductions I | Water users must abide by required water use reduction and efficiency measures; penalties apply for noncompliance. Water supply conditions are significantly lower than the seasonal norm and water shortage conditions are expected to persist. |
| 3 | Mandatory Reductions II | Same as in Stage 2 |
| 4 | Emergency Reductions | Water supply conditions are substantially diminished and pose an imminent threat to human health or environmental integrity. |
| 5 | Water Rationing | Water supply conditions are substantially diminished and remaining supplies must be allocated to preserve human health and environmental integrity. |

In Stage 1, Voluntary Reductions, all water users will be asked to reduce their normal water use by 5% below their 12 month average for the preceding calendar year. Customer education and outreach programs will encourage water conservation and efficiency measures including: irrigating landscapes a maximum of one inch per week; preventing water waste, runoff and watering impervious surfaces; watering plants deeply to encourage root growth; washing only full loads in clothes and dishwashers; using spring-loaded nozzles on garden hoses; and identifying and repairing all water leaks.

In Stage 2, Mandatory Reductions I, all customers are expected to reduce their water use by 10% below their 12 month average for the preceding calendar year. In addition to continuing to encourage all voluntary reduction actions, the following restrictions apply: irrigation is limited to a half inch per week between 8PM and 8AM; outdoor use of drinking water for washing impervious surfaces is prohibited; and all testing and training purposes requiring drinking water (e.g. fire protection) will be limited.

In Stage 3, Mandatory Reductions II, customers must continue actions from all previous stages and further reduce water use by 20% below their 12 month average for the preceding calendar year.  All non-essential uses of drinking water are banned and garden and landscape irrigation must be reduced to the minimum amount necessary for survival.

In Stage 4, Emergency Reductions, customers must continue all actions from previous stages and reduce their water use by 25% below their 12 month average for the preceding calendar year.  A ban on all use of drinking water except to protect public health and safety is implemented and a drought surcharge of 1.5 times the normal water rate applies.

The goal of Stage 5, Water Rationing, is to provide drinking water to protect public health (e.g. residences, residential health care facilities and correctional facilities). In Stage 5, all customers are only permitted to use water at the minimum required for public health protection. Firefighting is the only allowable outdoor water use. Drought surcharges increase to 2 times the normal water rate.

IV. Triggers

The Martin County WD 2 water source is surface water from the MCRWASA Water Treatment Plant supplemented by groundwater from the District 2 Well. As the MCRWASA implements the triggers in its Water Shortage Response Plan, Martin County WD 2 will implement reductions. In addition, the following measurements of well pumping times and well levels in relationship to pump intake levels trigger entry into corresponding water restriction stages.

| Stage | Well Operating Conditions |
| --- | --- |
| 1 | Pumping Time >10 hrs 20% reduction in seasonal normal distance from static water level and pump intake 20% increase pumping time for same output |
| 2 | Pumping Time >12 hrs 40% reduction in distance from static water level and pump intake 40% increase pumping time for same output |
| 3 | Pumping Time >14 hrs 60% reduction in distance from static water level and pump intake 60% increase pumping time for same output |
| 4 | Pumping Time >20 hrs 80% reduction in distance from static water level and pump intake |
| 5 | Water level at pump intake elevation |

Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation. Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

V. Enforcement

The provisions of the water shortage response plan will be enforced by Martin County Water Department and Sheriff Department personnel. Violators may be reported to the Martin County Water Department Office during normal working hours and to Martin County Communications during other times. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

Annual Average Usage 0-13999 Gallons Per Month (GPM)

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $100 | Discontinuation of Service |
| Emergency Reductions | $100 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $200 | Discontinuation of Service | Discontinuation of Service |

Annual Average Usage 14000-49999 GPM

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $150 | Discontinuation of Service |
| Emergency Reductions | $150 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $250 | Discontinuation of Service | Discontinuation of Service |

Annual Average Usage 50000-149999 GPM

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $200 | Discontinuation of Service |
| Emergency Reductions | $200 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $300 | Discontinuation of Service | Discontinuation of Service |

Annual Average Usage 150000 and Above GPM

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions | $250 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $500 | Discontinuation of Service | Discontinuation of Service |

Drought surcharge rates are effective in Stages 4 and 5.

VI. Public Comment

Customers will have multiple opportunities to comment on the provisions of the Water Shortage Response Plan. First, a draft plan will be available at County Water and Tax Offices for customers to view. A notice will be published in the The Enterprise notifying customers of such. All subsequent revisions to the draft plan will be made after public notification and at least a 30 day public review period prior to an adoption vote by Martin County Government.

VII. Variance Protocols

Applications for water use variance requests are available from the Water Department Office. All applications must be submitted to the Water Department Office for review by the Water Districts Manager or his or her designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

VIII. Effectiveness

The effectiveness of the Martin County WD 2 water shortage response plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained and evaluation of demand reductions compared to the previous year’s seasonal data.

IX. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Martin County Government. The Martin County Water Districts Manager is responsible for initiating all subsequent revisions.