Water Shortage Response Plan

West Wilkes Water Association, North Carolina

February 21, 2018

The procedures herein are written to reduce potable water demand and supplement

existing drinking water supplies whenever existing water supply sources are inadequate

to meet current demands for potable water.

I. Authorization

The West Wilkes Water Association Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In their absence, the West Wilkes Board of Director’s President is authorized to enact the needed provisions.

Mr. Jeff Weaver

West Wilkes Water Association Manager

Phone: (336) 838-5614

E-mail: cmcwater@gmail.com

II. Notification

The following notification methods will be used to inform water system employees and

customers of a water shortage declaration: employee e-mail announcements, notices at

municipal buildings, notices in water bills. Required water shortage response measures

will be communicated through PSA announcements on local radio and cable stations.

Declaration of emergency water restrictions or water rationing will be communicated to

all customers by telephone and door hangers if necessary.

III. Levels of Response

Five levels of water shortage response are outlined in the table below. The five levels of

water shortage response are: voluntary reductions, mandatory reductions I and II,

emergency reductions and water rationing. A detailed description of each response

level and corresponding water reduction measures follow below.

| Stage | Response | Description |
| --- | --- | --- |
| 1 | Voluntary Reductions | Water users are encouraged to reduce their water use and improve water use efficiency; however, no penalties apply for noncompliance. Water supply conditions indicate a potential for shortage. |
| 2 | Mandatory Reductions l | Water users must abide required water use reduction and efficiency measures; penalties apply for noncompliance. Water supply conditions are significantly lower than the seasonal norm and water shortage conditions are expected to persist. |
| 3 | Mandatory Reductions ll | Same as in Stage 2 |
| 4 | Emergency Reductions | Water supply conditions are substantially diminished and pose an imminent threat to human health or environmental integrity. |
| 5 | Water Rationing | Water supply conditions are substantially diminished and remaining supplies must be allocated to preserve human health and environmental integrity. |

In Stage 1, Voluntary Reductions, all water users will be asked to reduce their normal

water use by 5%. Customer education and outreach programs will encourage water

conservation and efficiency measures including: irrigating landscapes a maximum of

one inch per week; preventing water waste, runoff and watering impervious surfaces;

watering plants deeply to encourage root growth; washing only full loads in clothes and

dishwashers; using spring-loaded nozzles on garden hoses; and identifying and

repairing all water leaks.

In Stage 2, Mandatory Reductions I, all customers are expected to reduce their water

use by 10% in comparison to their previous month’s water bill. In addition to continuing

to encourage all voluntary reduction actions, the following restrictions apply: irrigation is

limited to a half inch per week between 8PM and 8AM; outdoor use of drinking water for

washing impervious surfaces is prohibited; and all testing and training purposes

requiring drinking water (e.g. fire protection) will be limited.

In Stage 3, Mandatory Reductions II, customers must continue actions from all previous

stages and further reduce water use by 20% compared to their previous month’s water

bill. All non-essential uses of drinking water are banned and garden and landscape

irrigation must be reduced to the minimum amount necessary for survival. Additionally,

in Stage 3, a drought surcharge of 1.5 times the normal water rate applies.

In Stage 4, Emergency Reductions, customers must continue all actions from previous

stages and further reduce their water use by 25% compared to their previous month’s

water bill. A ban on all use of drinking water except to protect public health and safety is

implemented and drought surcharges increase to 2 times the normal water rate.

The goal of Stage 5, Water Rationing, is to provide drinking water to protect public

health (e.g. residences, residential health care facilities and correctional facilities). In

Stage 5, all customers are only permitted to use water at the minimum required for

public health protection. Firefighting is the only allowable outdoor water use and pickup

locations for distributing potable water will be announced according to West Wilkes

Water Association’s Emergency Response Plan. Drought surcharges increase to 5 timesthe normal water rate.

IV. Triggers

West Wilkes Water Association is provided water solely by purchase from the

Towns of Wilkesboro and North Wilkesboro. When the Town of Wilkesboro or the Town

of N. Wilkesboro declares a water shortage the West Wilkes Water Association is

required to do so as well. During this time the West Wilkes Water Association Public

Works Director will stay in close contact with Town of Wilkesboro or the Town of N.

Wilkesboro and follow their triggers.

Return to Normal

When water shortage conditions have abated and the situation is returning to normal,

water conservation measures employed during each phase should be decreased in

reverse order of implementation. Permanent measures directed toward long-term

monitoring and conservation should be implemented or continued so that the

community will be in a better position to prevent shortages and respond to recurring

water shortage conditions.

V. Enforcement

The provisions of the water shortage response plan will be enforced by West

Wilkes Water Association Public Works department and police personnel. Violators

may be reported to the Town’s dedicated water conservation hotline. Citations are

assessed according to the following schedule depending on the number of prior

violations and current level of water shortage.

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 3 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions | $250 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $500 | Discontinuation of Service | Discontinuation of Service |

Drought surcharge rates are effective in Stages 3, 4 and 5.

VI. Public Comment

Customers will have multiple opportunities to comment on the provisions of the water

shortage response plan. First, a draft plan will be will be available at the Water

Association office for customers to view. A notice will be included in customer water bill

notifying them of such. All subsequent revisions to the draft plan will be published at

least 30 days prior to an adoption vote by West Wilkes Water Association’s Board.

VII. Variance Protocols

Applications for water use variance requests are available from the Water Works Office.

All applications must be submitted to the Water Works Office for review by the Manager

or his designee. A decision to approve or deny individual variance requests will be

determined within two weeks of submittal after careful consideration of the following

criteria: impact on water demand, expected duration, alternative source options, social

and economic importance, purpose (i.e. necessary use of drinking water) and the

prevention of structural damage.

VIII. Effectiveness

The effectiveness of the West Wilkes Water Association water shortage response

plan will be determined by comparing the stated water conservation goals with observed

water use reduction data. Other factors to be considered include frequency of plan

activation, any problem periods without activation, total number of violation citations,

desired reductions attained and evaluation of demand reductions compared to the

previous year’s seasonal data.

IX. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to

new circumstances affecting water supply and demand, following implementation of

emergency restrictions, and at a minimum of every five years in conjunction with the

updating of our Local Water Supply Plan. Further, a water shortage response planning

work group will review procedures following each emergency or rationing stage to

recommend any necessary improvements to the plan to West Wilkes Water

Association’s Board. The West Wilkes Water Association ORC is responsible for

initiating all subsequent revisions.