TOWN OF AHOSKIE

WATER SHORTAGE RESPONSE PLAN ORDINANCE

An ordinance authorizing the declaration of water shortage; establishing procedures and measures for the essential conservation of water resources; and prescribing certain penalties.

Be It Enacted by the Governing Body of the TOWN OF AHOSKIE:

Section 1.	Purpose

The purpose of this ordinance is to provide for the declaration of official phases of water supply shortage situations and the implementation of voluntary and mandatory water conservation measures throughout the TOWN OF AHOSKIE in the event a shortage is declared. The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water.

Section 2.	Definitions

"Allotment," as the term is used in this ordinance, shall mean the maximum quantity of water allowed for each customer over any applicable period as established in the water rationing provisions of this ordinance.

"Any Water," as the term is used in this ordinance, shall mean any type of water, including fresh water, brackish water, wastewater, or reclaimed water.

"Brackish Water," as the term is used in this ordinance, shall mean water containing more than 1000 parts per million of dissolved salts.

"Customer," as the term is used in this ordinance, shall mean any person using water for any purpose from the TOWN OF AHOSKIE's water distribution system and for which either a regular charge is made or, in this case of bulk sales, a cash charge is made at the site of delivery.

"Emergency," as the term is used in this ordinance, shall mean that water supplies are below the level necessary, to meet normal needs and that serious shortages exist in the area.

"Excess Use," as the term is sued in this ordinance, shall mean the usage of water by a water customer in excess of the water allotment provided under the water rationing provisions of this ordinance for that customer, over any applicable period.

"Fresh Water," as the term is used in this ordinance, shall mean water withdrawn from surface or groundwater which has not been previously used, other than brackish water.

"Mandatory Conservation," as the term is used in this ordinance, shall mean that raw water supplies (i.e stream flow, reservoir levels or groundwater levels) are consistently below seasonal averages, and if they continue to decline, may not be adequate to meet normal needs.

"Non-Residential Customer," as the term is used in this ordinance, shall mean commercial, industrial,

institutional, public and all other such users, with the exception of hospitals and health care facilities.

"Rationing, as the term is used in this ordinance, shall mean procedures established to provide for the equitable distribution of critically-limited water supplies, in order to balance demand and limited available supplies, and to assure that sufficient water is available to preserve public health and safety.

"Reclaimed Water," as the term used in this ordinance, shall mean wastewater which has been treated to allow reuse.

"Residential Customer," as the term is used in this ordinance, shall mean any customers who receive water service for a single or multi-family dwelling unit. The term residential customer does not include educational or other institutions, hotels, motel, or similar commercial establishments.

"Service Interruption," as the term is used in this ordinance, shall mean the temporary suspension of water supply, or reduction of pressure below that required for adequate supply, to any customer, portion of a water supply, or entire system.

"Voluntary Conservation,” as the term is used in this ordinance, shall mean that conditions exist which indicate the potential for serious water supply shortages.

"Waste of Water," as the term is used in this ordinance, includes, but is not limited to (1) permitting water to escape down a gutter, ditch, or other surface drain, or (2) failure to repair a controllable leak of water due to defective plumbing.

"Wastewater," as the term is used in this ordinance, shall mean water which has been previously used for industrial, municipal, domestic, or other purpose, and has not been returned to the surface or groundwater source.

"Water," as the term is used in this ordinance, shall mean water available to the TOWN OF AHOSKIE treatment by virtue of its water rights or withdrawal permit or any treated water introduced by the TOWN OF AHOSKIE into its water distribution system, including water offered for sale.

"Water Use Classes," as the term is used in this ordinance, shall be established as follows:

Class 1: Essential Water Uses Domestic Use:

Water necessary to sustain human life and the lives of domestic pets, and to maintain minimum standards of hygiene and sanitation.

Health Care Facilities:

Patient care and rehabilitation, including swimming pools used for patient care and rehabilitation.

Public Use:

- Fire Hydrants

  - Firefighting

  - Certain testing and drills by the fire department if performed in the interest of public safety and if approved by the municipal governing body.

- Flushing of Sewers and Hydrants: As needed to ensure public health and safety and if approved by the TOWN OF AHOSKIE governing body.

Class 2: Socially or Economically Important Uses of Water

All Domestic Uses Other Than Those Included in Classes 1 and 3:

- Home water use including kitchen, bathroom and laundry use

- Minimal watering of vegetable gardens

- Watering of trees where necessary to preserve them Commercial, Agricultural, Industrial and Institutional Uses:

- Outdoor commercial watering (public or private) using conservation measures and to the extent that sources of water other than fresh water are not available to use.

- Irrigation for commercial vegetable gardens and fruit orchards or the maintenance of livestock.

- Watering by commercial nurseries at a minimum level necessary to maintain stock.

- Water use by arboretums and public gardens of national, State, or regional significance where necessary to preserve specimens.

- Use of fresh water at a minimum rate necessary to implement vegetation following earth-moving, where such vegetation is required by law or regulation.

- Watering of golf course greens.

- Filling and Operation of Swimming Pools:

  - Residential pools which serve more than 25 dwelling units.

  - Pools used by health care facilities for patient care and rehabilitation

- Commercial car and truck washes

- Commercial Laundromats

- Restaurants, clubs, and Eating Places

- Air Conditioning:

  - Refilling for start up at the beginning of the cooling season

  - Make-up of water during the cooling season

  - Refilling specifically approved by health officials and the TOWN OF AHOSKIE governing body, where the system has been drained for  health protection or repair purposes.

- Schools, Churches, Motels/Hotels and Similar Commercial Establishments Class 3: Non-Essential Uses of Water

- Ornamental Purposes:

  - Fountains, reflecting pools, and artificial waterfalls

- Outdoor Non-Commercial Watering (public or private):

  - Gardens, lawns, parks, golf courses (except greens), playing fields and other recreational areas.

  - Filling and operation of recreational swimming pools which serve fewer than 25 dwellings

  - Non-commercial washing of motor vehicles

  - Serving water in restaurants, clubs, or eating places except by specific request.

  - Air Conditioning: refilling cooling towers after draining except as specified in Class 1

- Public Use:

  - Fire Hydrants: any purpose, including use of sprinkler caps and testing fire apparatus and for fire department drills, except as listed in Class 1

  - Flushing of Sewers and Hydrants except as listed in Class 1

Section 3. Declaration of Voluntary Conservation:

Whenever the governing body of the TOWN OF AHOSKIE finds that a potential shortage of water supply is indicated, it shall be empowered to declare by adoption of an ordinance that Voluntary Conservation conditions exist, and that the water manager or superintendent shall, on a daily basis, monitor the supply and demand upon that supply. In addition the Mayor (or his/her agent) is authorized to call upon all water customers to employ voluntary water conservation measures to limit water use and eliminate the waste of water. This resolution shall be published in a newspaper of general circulation in the area which qualifies under GS 1-597, and may be publicized through the general news media or any other appropriate method for making such resolutions public.

Section 4. Declaration of Mandatory Conservation:

Whenever the governing body of the TOWN OF AHOSKIE finds raw water supplies (i.e. stream flow, reservoir levels or groundwater levels) to be consistently below seasonal averages, and if they continue to decline and may not be adequate to meet normal needs, it shall be empowered to declare by adoption of an ordinance that Mandatory Conservation conditions exist. The TOWN OF AHOSKIE shall continue to encourage voluntary water conservation measures defined under the Voluntary Conservation declaration, and further shall impose a ban on all Class 3 water uses for the duration of the shortage until it is declared ended by ordinance of the governing board. Publication of these ordinances shall follow the provisions declaration in Section 3 of this ordinance.

Section 5. Declaration of a Water Shortage Emergency:

Whenever the governing body of the TOWN OF AHOSKIE finds that raw water supplies are below the level necessary to meet normal needs and that serious shortages exist, it shall be empowered to declare by adoption of an ordinance that a water shortage Emergency exists. Class 1, Essential Uses shall be identified, in specific, as targets for voluntary conservation initiatives. Also, all Class 2, Socially or Economically Important uses shall be

banned in addition to the Class 3, Non-Essential Uses. These restrictions shall continue until the emergency is declared ended by ordinance of the governing body. Publication of these ordinances shall follow the provisions in Section 3 of this ordinance.

Section 6. Declaration of Rationing:

Whenever the governing body of the TOWN OF AHOSKIE has declared a Water Shortage Emergency and finds a need to provide for the equitable distribution of critically-limited water supplies, in order to balance demand an limited available supplies, and to assure that sufficient water is available to preserve public health and safety, it shall be empowered to provide for mandatory rationing by adoption of an ordinance.

Section 6a. Objectives of Rationing:

An ordinance that provides for mandatory rationing shall state findings that:

- It is imperative that water customers achieve an immediate further reduction in water use in order to extend existing water supplies and at the same time, assure that sufficient water is available to preserve the public health and sanitation and to provide fire protection service.

- The immediate further reduction in water usage is another step along a continuum of responses to the present water supply shortage. Should shortage continue, further reductions in usage may be required. It must be emphasized that the additional usage reduction in the rationed area is a valid and attainable goal reflective of the conditions which currently exist.

- The plan provides for equitable reductions in water usage and for equal sacrifice on the part of each water customer. The success of this ordinance depends on the cooperation of all water customers in the emergency area.

Section 6b.	Water Use Rationing for Residential Users 1

- Metered Residential Water Customers and Allotments:

  - The number of permanent residents in each dwelling unit (household) will determine the amount of water that each household will be allowed.

  - Each dwelling unit (household) shall be allotted 40 gallons per day for each resident of the household. Households with only one permanent resident will have a daily allotment of 55

gallons.

  - Residential water customers are required to provide municipality and utility personnel with reasonable access to read meters as necessary to this rationing declaration. Where access is not readily available, all reasonable efforts to contact customers in order to arrange for access to read meters shall be made. In the event a water customer does not allow entry to read the meter after reasonable efforts to arrange for such access, the dwelling unit (household) allotment will be reduced to 55 gallons per day.

  - (I) If it is found that the residential water allotment provided under this section would create an extraordinary hardship for individual customers, as in the case of special health related requirements, a revised allotment for the particular customer may be established.

(ii) any person aggrieved by a decision relating to such an exemption or variance may file a complaint with the city manager (or clerk) in accordance with the Municipality's normal administrative procedures.

- Non-Metered Residential Water Customers and Allotments:

  - In order to effectively implement and monitor the residential water conservation effort, a water allotment shall be established for the entire water system based on 40 gallons per day per capita served or 50 percent of the water use by the entire system during month prior to the shortage, as notified individually by the TOWN OF AHOSKIE.

  - The TOWN OF AHOSKIE will establish a communication system with the customers through public media to inform them of the requirements of the water rationing provisions of this ordinance, possible conservation measures that customers may employ, the system allotment, and a regularly scheduled report of whether the usage was within the allotment.

- Metered and Non-Metered Residential Customers of the Same Water Supply System: Where a water supply system serves both metered and non-metered residential customer, the allotments and procedures provided under both subsections (a) and (b) shall be applied, as appropriate.

Section 6c. Water Use Rationing for Non-Residential Water Users

- Non-residential customers include commercial, industrial, public and all other such users with the exception of hospitals and health care facilities.

- Non-residential water customers shall further reduce their water usage to 40 gallons per person per day or to 50 percent of use levels during month prior to shortage.

- It is the primary responsibility of each non-residential water customer to meet the mandated water use reduction goal in whatever manner possible, including limitation of operating hours or days if necessary.

- The TOWN OF AHOSKIE will establish a water allotment for each non-residential water customers, based upon a required further reduction water usage from the rate of water used by the customer, or the last recorded use level if no meter readings record the rate of the customer's use.

- Each non-residential water user shall provide access to Municipal personnel for the purpose of meter reading and monitoring of compliance with this ordinance. All reasonable efforts will be made to contact customers to arrange for access.

- 1.  If the mandated further reduction in water usage cannot be obtained without   imposing extraordinary hardship which threatens health and safety, the non-residential customer may apply to the TOWN OF AHOSKIE of a variance. For these purposes "extraordinary hardship" means a permanent damage to property or an economic loss which is substantially more severe than the sacrifices borne by other water users subject to this water rationing ordinance. If the further reduction would cause an extraordinary hardship or threaten health or safety, a variance may be granted by the city clerk and a revised water use reduction requirement for the particular customer may be established.

2.	Any person aggrieved by a decision relating to such a variance may file a complaint with the city clerk in accordance with established procedures.

- The TOWN OF AHOSKIE will provide each non-residential customer with suggested means to reduce usage levels.

Section 6d. Water Use Rationing for Hospitals and Health Care Facilities

- Hospitals and health care facilities shall comply with all restriction imposed on residential and non-residential water customers as may be applicable to each individual institution, to the extent compliance will not endanger the health of the patients or residents of the institution.

- Each hospital or health care facility shall survey its water usage patterns and requirements and implement such additional conservation measures as may be possible without endangering the health of its patients or residents to achieve a further reduction in the institution's water usage.

- The TOWN OF AHOSKIE will provide each hospital and health care facility wit suggested means to reduce usage levels.

Section 6e.	Enforcement of Water Rationing.

- The TOWN OF AHOSKIE will have primary responsibility for monitoring of compliance with the water rationing ordinance.

- The following provisions shall govern the implementation of temporary service interruptions:

  - In order to effectuate compliance with this ordinance, the Municipality is hereby authorized and required to plan and implement temporary service interruption to all or part of its water supply system, as may be deemed appropriate, when any and/or all of the following conditions are determined to exist:

    - The mandated reduction in system-wide usage has not been achieved, and/or

- The mandated reduction in system-wide water usage has  been achieved, but has failed to have a significant impact in extending limited water supplies, and/or

- Temporary service interruptions are necessary in order to further extend limited and/or dwindling water supplies

  - In the event it is determined that temporary service interruptions are necessary, the TOWN OF AHOSKIE shall notify its customers through the public media (newspapers, radio, and television), at least one day prior to the temporary service interruptions, that a planned, temporary service interruption is to be imposed.

Such notice shall:

    - State the day or days when the planned, temporary service interruption will occur;

- State the time(s) when such planned, temporary service interruptions will commence, and the time(s) such interruption will cease;

- State whether the planned, temporary service interruptions are to be imposed on the entire system, or part thereof, and, if only part(s) of the system will experience planned, temporary service interruptions, identify geographic boundaries within which such interruptions will occur; and

- Advise all Customers within the areas affected by planned, temporary service interruptions how to treat any water received from the system, for human consumption, during the

period(s) of such interruptions and for such additional time as may be necessary until full pressure is restored to the system.

  - If a planned, temporary service interruption is imposed as authorized and required by this ordinance, the TOWN OF AHOSKIE must provide for the continued delivery of water to health care

facilities within the area(s) affected by such interruptions, by means of any adequate, alternative delivery measures that may be necessary.

  - If a planned, temporary service interruption is implemented, the municipality must make provisions, by any means possible, for the continued delivery of such water as may

be necessary for the proper operation of sewage collection, treatment, and disposal systems and facilities.

- Any residential or non-residential water customer who exceeds the allotments established pursuant to this water rationing will be subject to the following excess-use civil penalties.

  - “Excess-use civil penalties” will be collected based on the amount by which a customer’s use exceeds the water allotments established pursuant to the local water rationing declaration, computed in accordance with the following schedule:

Excess Usage Per Month Civil Penalty for Excess First 2,000 gallons or \$7.00 per 1,000 portion thereof gallons or portion thereof Each 1,000 gallons, or portion thereof, thereafter \$16.00

  - Any monies collected through excess-use civil penalties shall not be accounted for as income, but shall be placed in a reserve account that is dedicated to addressing water shortage problems and water conservation initiatives.

- In addition to the excess-use civil penalty, non-compliance with the water rationing provisions of this ordinance will result in the following:

  - For the first excess use, a warning of possible discontinuation shall be issued to the customer.

  - For the second or subsequent excess use, service to the customer may be interrupted or shut off for a period not to exceed 48 hours, or, if the customer provides access, a flow restrictor may be installed in the customer’s service line for the duration of the emergency. The cost incurred to interrupt or shut off and reinstate service, or to  install and remove a flow restrictor, shall be assessed to the water customer. Before service to an individual may be terminated under this provision, actual notice of the intent to discontinue shall be given, which shall include notice that the customer may appear at designated time and place (within 24 hours) for an informal hearing to show why service should not be discontinued.

- Meter reading schedules are authorized to be altered to assure adequate monitoring of compliance with this ordinance.

- Any customer or other person aggrieved by a decision or action imposing an excess-use civil penalty or other remedy for non-compliance with the requirements of this ordinance may proceed in accordance with the following provisions:

  - The TOWN OF AHOSKIE shall adopt procedures which provide an opportunity for the customer or aggrieved party to rebut the finding of a violation, or provide evidence of circumstances beyond the customer’s control which resulted in the violation. a record of evidence regarding disputed violations shall be kept, and a written notice of the TOWN’s final decision and action in such cases shall be provided to the customer or aggrieved party.

Section 7.	Authorization

The Ahoskie Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In his absence, the Public Works Director will assume this role.

Section 8.	Triggers

Ahoskie’s water source is groundwater. The following measurements of well pumping times and well levels in relationship to pump intake levels trigger entry into corresponding water restriction stages.

| Stage | Well Operating Conditions |
| --- | --- |
| 1 | Pumping Time >10 hrs 20% reduction in seasonal normal distance from static water level and pump intake 20% increase pumping time for same output |
| 2 | Pumping Time >12 hrs 40% reduction in distance from static water level and pump intake 40% increase pumping time for same output |
| 3 | Pumping Time >14 hrs 60% reduction in distance from static water level and pump intake 60% increase pumping time for same output |
| 4 | Pumping Time >20 hrs 80% reduction in distance from static water level and pump intake |
| 5 | Water level at pump intake elevation |

Section 9.	Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation. Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

Section 10. Shortage Water Rates Upon the declaration of a water  supply  shortage  as provided in Sections 3-6 the governing body of the Municipality shall have the power to adopt shortage water rates by ordinance designed to conserve water supplies. Such rates may provide for, but not be limited to:

- higher charges per unit for increasing usage (increasing block rates);

- uniform charges for water usage per unit of use (uniform unit rate);

- extra charges for use in excess of a specified level (excess demand surcharge);

or

- discounts for conserving water beyond specific levels.

Section 11.	Regulations:

Any person who violates the provisions of this ordinance, who fails to carry out the duties and responsibilities imposed by this ordinance, or who impedes or interferes with any action undertaken or ordered pursuant to this ordinance shall be subject to the following penalties:

- If the mayor, water superintendent, or other municipal official or officials charged with implementation and enforcement of this ordinance or a water supply shortage resolution learns of any violation of any water use restriction imposed pursuant to this ordinance, a written notice of the record shall be affixed to the property where the violation occurred and mailed to the customer and to any other person known to the

TOWN OF AHOSKIE who is responsible for the violation or its correction. Said notice shall describe the violation and order that is to be corrected, cured, or abated immediately or within such specified time as the Municipality determines is reasonable under the circumstances. If the order is not complied with, the TOWN OF AHOSKIE may terminate water service to the customer subject the following procedures:

  - The TOWN OF AHOSKIE shall give the customer notice by mail that, due to the violation, water services will be discontinued within a specified time and that the customer will have the opportunity to appeal the termination by requesting a hearing scheduled before AHOSKIE’S governing body;

  - If such a hearing is requested by the customer charged with the violation, he or she shall be given a full opportunity to be heard before termination is ordered; and,

  - The governing body shall make findings of fact and order whether service should continue or be terminated.

- A fee of $75 shall be paid for the reconnection of any water service terminated pursuant to subsection

  - In the event of subsequent violation the reconnection fee shall be $200 for the second violation and $300 for each additional violation.

- Any customers may also be charged with violation of this ordinance and prosecuted in District Court. Any person so charged and found guilty of violating the provisions of this ordinance shall be guilty of a misdemeanor. Each day’s violation shall constitute a separate offense. The penalty for violation shall be a maximum fine of $50 or imprisonment for not more than 30 days.

Section 12.	Civil Penalties and Enforcement:

The provisions of the water shortage response plan will be enforced by Town of Ahoskie personnel and local law enforcement. Violators may be reported to the Town’s phone line. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions | $250 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing | $500 | Discontinuation of Service | Discontinuation of Service |

Drought surcharge rates are effective in Stages 3, 4 and 5.

Section 13. Severability If any provision of this ordinance is declared unconstitutional, or the application thereof to any person or circumstance is held invalid, the constitutionality of the remainder of the ordinance and its applicability to other person and circumstances shall not be affected thereby.

Section 14:	Public Comment

Customers will have multiple opportunities to comment on the provisions of the water shortage response plan. First, a draft plan will be will be available at Town Hall for customers to view. A notice will be included in customer water bill notifying them of such. All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by Ahoskie’s Town Council.

Section 15:	Variance Protocols

Applications for water use variance requests are available from the Town Hall. All applications must be submitted to the Town Hall for review by the Manager or his designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

Section 16:	Effectiveness

The effectiveness of the Ahoskie water shortage response plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained and evaluation of demand reductions compared to the previous year’s seasonal data.

Section 17:	Revision

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Ahoskie’s Town Council. Ahoskie Public Works Director is responsible for initiating all subsequent revisions.

Section 18.	Effective Date This ordinance shall take effect immediately upon adoption or passage by the TOWN OF AHOSKIE’s governing body.

Section 19.	Effective Period This ordinance will remain in effect until terminated by action of the TOWN OF AHOSKIE’s governing body.

Passed by the council this	day of May, 2018