WATER SHORTAGE MANAGEMENT

City of Conover

Implementation Plan

November 20, 2018

- Executive Summary

- The Water Shortage Implementation Plan takes the Water Shortage Ordinance and flushes out the mechanics of putting the ordinance to work during times of need. Several issues guided this process. First, the enforcement of any mandatory restrictions has to be done with minimal cost. Therefore, this plan attempts to vigorously enforce its provisions in the most efficient and effective scenario possible.

- This plan is the result of many months of research, interviews, and analysis of previous actions, available resources and lessons learned. With this plan, City of Conover Water Department is positioned to quickly and effectively respond to any water shortage crisis.

- This plan shall be revised to reflect the needs of the most current situation and to best serve our customers.

TABLE OF CONTENTS

Water Shortage Conditions											 Page 4

Priority Uses 															 Page 5-6 Essential, Community/Business, Discretionary

Notification															 Page 6

Phases of Response													 Page 7-11 Restricted, Banned Emergency

Enforcement Plans for Phase I, II, III								       Page 12–15

Appeals															       Page 16

Public Comment														 Page 16

Variance															       Page 16-17

Return to Normal Conditions										       Page 17

Effectiveness															 Page 17-18

Revision																 Page 18

WATER SHORTAGE MANAGEMENT

Implementation Plan

# Purpose

A Water Shortage Management Plan is a useful tool in managing water supply problems and emergencies. This plan can be utilized in any number of situations, such as drought, water supply disruption, distribution or quality problems. It can also aid in response to man-made and natural disasters (acts of terrorism, contamination, flood, hurricanes, etc.).

## Water Shortage Conditions

- The City of Conover purchases water from the City of Hickory and is bound by contract to adhere to the conservation measures currently in effect with the City of Hickory, at a minimum.

A water shortage may be declared by the City Manager or, in his/her absence, by the Public Works Director upon recommendations of City staff, Utility Department Head and Hickory Public Utilities, based on some or all of the following factors:

- Pressure at monitoring locations of the water system.

- Ability to re-fill water storage tanks of the water system.

- Ability to maintain an amount of water in the ground level storage tanks at City of Hickory’s water treatment plants that is adequate for fire protection.

- Ability to maintain adequate water pressure in every portion of the City of Hickory’s water system or the City of Conover’s water system;

- Adequacy of the water supply in terms of quantity and/or quality for the foreseeable future to satisfy the anticipated demand for water;

- Conditions downstream of the Hickory Public Water Supply water intakes;

- Regulatory requirements affecting operation, repair or maintenance of any portion of Hickory’s or Conover’s water systems;

- Such factors as may affect our ability to supply, treat and/or distribute water through its water system;

- Such factors as identified by Duke Power and Drought Management Advisory Group (DMAG), in accordance with the drought phase triggers incorporated in to the Low Inflow Protocol;

- Drought declarations by the State of North Carolina.

### Donald Duncan, City Manager                Jimmy Clark, Public Works Director

Donald.duncan@conovernc.go                        jimmy.clark@conovernc.gov

(828) 464-1191                                                 (828) 464-4808

### PRIORITY USES

Water use prioritization is the key to the success of a Water Management Plan. By grouping water uses by category, Utilities can maintain service consistent with community values and priorities. All users/customer groups will be affected by the implementation of a Water Shortage Management Plan, but in a logical and progressive manner. This strategy allows for decisions to be made when conditions change.

- Essential Water Use

- Essential use means water necessary to maintain public health and safety. All entities charged with ensuring those services are deemed essential functions. In emergencies, water delivery may be limited to specific locations.

- Sample uses:	Sustaining human health and safety.

- Fighting fires.

- Testing for public safety standards.

- Continued operation of water system.

- Operation of medical care facilities.

- Community/Business Water Use

- Community/Business use defines any use of water that is critical to the function of a business or institution or has significant value to the community.

- Sample uses:	Watering plant stock at nurseries, tree farms.

- Commercial car washing.

- Maintaining community pools.

- Agricultural applications.

- Drip irrigation/hand applied water to trees, plant                              beds.

- Water used in production of a product.

- Discretionary Water Use

- Discretionary water includes water for activities that are deemed elective or non-essential. These activities are the first to be regulated when restrictive measures are enacted.

- Sample uses:	Turf irrigation.

- Ornamental water use – fountains, decorative use.

- Water to fill or re-fill pools.

- Non-commercial car/vehicle washing.

- Irrigation during a rain event.

- Water applied to impervious surfaces – driveways, streets, sidewalks, parking lots.

- NOTIFICATION

- The following notification methods will be used to inform water system employees and customers of a water shortage declaration:  employee e-mail announcements, notices at municipal buildings, notices in water bills and on the City of Conover website homepage.  Required water shortage response measures will be communicated through, PSA announcements on local radio, cable and tv stations, and on the City of Conover website.  Declaration of emergency water restrictions or water rationing will be communicated to all customers by phone.

- STAGES OF RESPONSE

Trigger points that demonstrate worsening hydrologic conditions will define various stages of drought response. A summary of trigger points for various stages is provided in the table below. The specific triggers required to enter successive stages are defined in the procedure for each stage.

Summary of Trigger Points

| Stage | Storage Index |  | Drought Monitor (3 mo Average) |  | USGS Stream Flow Gauges |
| --- | --- | --- | --- | --- | --- |
| 0 | 90% < SI<TSI |  | 0 = DM |  | AVG = 85% |
| 1 | 75%<SI = 90%TSI | And | 1 = DM | Or | AVG. = 78% |
| 2 | 57% <SI = 75% TSI | And | 2 = DM | Or | AVG = 65% |
| 3 | 42% , SI = 57% TSI | And | 3 = DM | Or | AVG = 55% |
| 4 | SI = 42% TSI | And | 4 = DM | Or | AVG = 40% |

Stage 0

This is the preliminary stage of the Water Shortage Plan. The Catawba Wateree Drought Management Advisory Group (DMAG) will initiate monthly meetings to focus on:

Reporting information.

Reviewing history and forecast.

Reviewing plans for responding to conditions.

Stage 1

At this level of alert, citizens are reminded of conservation techniques and encouraged to adopt some water saving measures intended to reduce overall water use. This level of action is encouraged year round for efficient water use.

Actions:		Notify customers of current conditions through public outreach and 						communications.

Activate communications plan to raise awareness of conditions with employees, customers and visitors.

Request customers implement voluntary water use restrictions, to include;

a)	Reduction in lawn and landscape irrigation to no more than two days a week:

b)	Irrigate at a rate of no more than one inch of water per week.

c)	Planting of new ornamental plants and seeding of lawns should be deferred until the water emergency situation no longer exists.

- d)	Limit public building, sidewalk and street washing activities except as required for safety and health regulations.

e)	Encourage reduction in residential vehicle washing.

f)	Urge customers to avoid watering during daytime hours (sunrise to sunset).

g)	Any practice listed in this section may be modified or additional practices added at the discretion of the director of Public Works or his Designee.

Goal:			3 - 5% reduction in demand.

- Stage 2

- This phase reflects a move in intensity from voluntary actions to mandatory restrictions. Restrictions at this time are designed to capture a significant savings with a minimum of regulation. Although this phase does require enforcement, it does not signal emergency or crisis. A move to mandatory restriction is necessary when voluntary measures are not effective in reducing the demand significantly when the supply continues to be threatened by long-range projections or localized interruptions. The following levels may be implemented sequentially or in any order that meets the immediate need to ensure adequate water for necessary uses.

- Actions:	Communicate current conditions and required actions to employees, customers and community users.

- a)	Lawn and landscape water use is limited to the following schedule:

- City of Conover Water Customers-Tuesdays and Saturdays between the hours of 10:00pm and 5:00 am.

- b)	Eliminate residential vehicle washing.

- c)	Bubble, drip or hand irrigation applied to trees and plant beds is not restricted in Stage 2.

- d)	Athletic fields and golf course fairways may submit an alternative watering plan to achieve conservation goals. All customers are asked to reduce consumption and to defer discretionary uses to early morning or late evening hours.

- e) 	Pool filling is by permit only and is limited to Tuesdays and Saturdays between the hours of 10:00 pm and 5:00 am.

- f)	Limit outside water use to only those items required for safety or regulatory compliance.  No washing of buildings, sidewalks, parking lots or public streets is permitted.

- g)	Enforce mandatory restrictions through assessment of penalties.

h)	Any practice listed in this section may be modified or additional practices added at the discretion of the Director of Public Works or his Designee.

- Goal:		Overall reduction in water use by 5 - 10%.

- Stage 3:

- Mandatory requirements become more restrictive in an effort to lessen the impacts of worsening conditions.

- Actions:	Communicate current conditions and required actions to       employees, customers and community visitors.

- All practices listed in Stage 1 and Stage 2 shall remain in effect unless stricter measures are indicated in this section.

- b)	These restrictions apply to turf irrigation, athletic fields and golf course fairway irrigation.

- c)	No residential vehicle car washing.

- d)	No outdoor ornamental water use (fountains, ponds without fish).

- c)	No filling or re-filling swimming pools (top offs allowed).

- d)	Limited construction uses, street washing or hydrant flushing except to maintain water quality and regulatory compliance.

- e)	Enforce mandatory water use restrictions through assessment of penalties.

- f)	Encourage industrial process changes that reduce consumption.

g)	Any practice listed in this section may be modified or additional practices added at the discretion of the Director of Public Works or his Designee.

- Goal:		Overall reduction in water use by 10 - 20%.

Stage 4:

This is a severe measure and is reserved for situations where the public water supply is threatened and the Director must act to ensure an adequate supply for essential public needs. The restrictions remain in place until conditions improve to Stage 3 level or better.

Actions:	Notify customers of the movement to emergency water use 							restrictions.

a)	Mandatory restrictions prohibit all outdoor water use.

b)	Community/Business water users must reduce their consumption by 25%.

c)	Irrigation of athletic fields and fairways with City of Conover water is prohibited.

d)	Essential water use customers (hospitals, nursing homes, emergency care providers, etc.) are asked to monitor their use for opportunities to conserve.

e)	All employers are asked to educate their employees about water conservation.

f)	Make water available for fire protection where possible, through whatever means.

g)	Place medical facilities at the highest priority standing for available water.

h)	Close valves or remove meters throughout the system to direct water to meet essential priority needs.

i)	Limit total customer water consumption.

j)	Issue a boil water advisory notice.

f)	Any practice listed above may be modified or additional practices assed at the discretion of the Director of Public Works or his designee.

Enforcement

Any customer or user who violates the mandatory restrictions, willfully or accidentally is subject to penalties, to include surcharges and possible loss of service. Knowledge of the prevailing restrictions and proper functioning of automatic sprinkler systems are the responsibility of the property owner and resident. This provision also applies to a customer who violates a variance or a hydrant permit. Customers who violate conditions of a variance, hydrant permit or alternate watering plan are subject to the enforcement penalties as well as additional surcharges.

Enforcement Plan for Stage 2

Enforcement efforts will be focused on the time when no customer should be watering. The customer who waters on prohibited days, when no one can water, is the problem and that’s where our energies will be directed. Likewise, the customer who waters on the wrong day, but who does so at night (after 9 pm) is not placing a hardship on the system, so we will patrol most vigorously on the prohibited days during daytime hours when our system becomes most stressed.

Stage 2 Permitted Watering Schedule:

City of Conover Customers- Tuesdays and Saturdays

DAYS OF PATROL

For the initial implementation period (first 2-3 weeks), patrols will be conducted on the days that all watering is prohibited – Sunday through Friday.

Assessment will be made weekly to determine the results of the patrols.

If demand is not significantly reduced, patrols can be expanded to include every day to enforce the correct watering days.

## PATROL TEAMS

Police Department

Public Works Personnel

Water Department Personnel

## Prohibited Water Use During Stage 2

Lawn/Turf watering that takes place on days when lawn and landscape watering is prohibited, (Hand watering and drip irrigation is allowed any time).

Operating an ornamental water feature that does not support animal life.

Filling swimming pools.

Topping off swimming pools outside of the prescribed days.

Wasting water.

Fines

Violation		1’’ meter			2’’ + meter

1st				$100				$200

2nd				$200				$400

3rd				$300				$600

Any customer who violates the Stage 2 restrictions more than 5 times is subject to loss of irrigation water service.

Enforcement Plan for Stage 3

Stage 3 is designed to manage a worsening situation. Limited discretionary outdoor water use is permitted one day a week and business use must be reduced as well. To make the most efficient use of limited resources to patrol for violators, the emphasis must be placed on allocating resources during the times that most severely stress our system. Conscious effort also should be directed to eliminating watering in highly visible, high traffic areas. Depending on the length of time Stage 2 was in place, the customers will have an awareness of the days a week they were allowed to water. The transition down to one day a week will allow watering on one of the previously designated watering days.

## Commercial/Industrial Compliance

These customers must reduce their consumption by 20%.

Meters should be read weekly.

## Prohibited Water Use During STAGE 3

Lawn or turf watering at any time (Hand watering and drip irrigation is allowed).

Watering fields or fairways. (Watering tees and greens is allowed.)

Residential/non-commercial car washing.

Filling or topping off swimming pools.

Hydrant use except for emergency uses and fire protection.

Applying water to buildings, pavement, decks, hard surfaces unless preparing for imminent painting.

Fines

Violation		1” meter		2” + meter

1st 				$200			$400

2nd				$400			$800

3rd				$600			$1200

Any customer who accumulates more than 2 violations is subject to loss of irrigation water service.

Enforcement Plan for Stage 4 Emergency

If the Water Shortage situation progresses to Stage 4 – Emergency, the situation will be managed by City of Conover Public Works, City Manager and other agencies.

Water Rationing would be utilized to ensure public health and safety.

Valves and meters will be adjusted to direct water to meet essential needs.

A Boil Water Advisory may be issued.

All customers will be limited in their total consumption capability.

Business hours may be curtailed.

Patrols will be dispatched according to need and to protect and regulate hydrant use.

## Prohibited Water Use During stage 4 Emergency

No outdoor water use except for emergency purposes, such as fire protection, water main repair, etc.

Fines same as Stage 3.

Enforcement Policies and Procedures

1.	A customer is in violation of the prevailing water restrictions when he/she is using water outdoors in conflict with existing regulations as declared by the City Manager.

2.	A citation for a violation is warranted when a Utilities employee observes the watering or sees evidence of the watering during prohibited days or times.

Evidence of watering may include:

Sprinkler spray pattern on driveway, sidewalk, street or parking lot.

Runoff from sprinkler or hose use.

Wet turf in absence of recent rain.

- Prior to issuing a citation, employee must check data sheet containing list of variances granted, previous citations issued and identified well water users.

Well water users are not subject to the water restrictions.

Customers with previous citations are subject to increased surcharges.

Customers given a variance must comply with the stated conditions on the 			      variance form and must post the variance on site.

- When a violation is determined to have occurred, the Utilities employees should:

Confirm all appropriate meter and street address information.

Leave a door hanger/citation at the site of the violation which contains information about the water restrictions and the violation.

Maintain the copy of the door hanger and turn it in to the team leader at the end of the patrol shift.

Offer customer a brochure with water conservation information.

Refer all questions about the violation to the Public Works Director or Water Department Supervisor.

If customer refuses to stop his water use after being informed of the violation,

Utilities employees should alert the dispatcher for further directions.

- Utilities employees should not attempt to operate a customer’s automatic sprinkler timer.

- If questioned about the restrictions or the surcharges, employees can refer to the pocket guide issued to all patrol members.

- In the event that a customer becomes hostile or threatening, the employee should leave the property and contact the Conover Public Works Department immediately for support and directions.

- Enforcement employee must turn in all violation notices and variance lists to team leaders at end of patrol shift.

- Team leaders must submit all updated patrol results.

- During Stage 3 and 4 Team Leaders will coordinate with meter reading routes to do spot checks of AMR meter consumption for compliance on irrigation meters.

APPEALS

Conover Public Works Department Policy on Violations will be as follows:

All citations for unauthorized water use during any phase of water restrictions will not be changed unless shown to be in error. Knowledge of the prevailing restrictions and proper functioning of automatic sprinkler systems are the responsibility of the property owner and resident. Customers who are not in residence at the time restrictions take effect are still responsible for the operation of any irrigation system on their property using City of Conover water. These conditions will not be considered a basis for an appeal of a citation.  All water that passes through the user’s meter is the responsibility of the customer and is subject to the restrictions in effect.

Appeals are limited to loss of service actions. Customers do not have a right to appeal a citation or a surcharge. They may however ask for information regarding their violation. If a customer feels the citation was issued in error, he may submit additional information disputing the violation. That information should be directed to the City of Conover Public Works Director.

Customers whose service is terminated or who receive notice of termination shall have 5 calendar days after termination of service or notice of termination to appeal the action in writing to the Public Works Director, or his designee. A hearing will be held within 3 business days of receipt of appeal. Termination orders will be suspended until an appeal decision is made. Appeal procedures will be available on the Utilities website.

PUBLIC COMMENT

Customers will be given the opportunity to comment on the provisions of the Water Shortage Management Plan.  A public comment period will be scheduled prior to an adoption vote by the Conover City Council.

If a water shortage declaration is in effect, the City of Conover may make, without public comment and review, any changes to this plan necessary to meet conform to the requirements of their water provider, preserve human health, protect public safety, and preserve environmental integrity.  Any temporary changes in the plan made without public comment and review will be subject to review and comment when the water shortage stage is reduced to Stage 1 or lower.

VARIANCE

A variance from the prevailing mandatory water restrictions may be granted to a customer satisfying the requirements to use water for a purpose that would be otherwise prohibited. Variances may be granted for new landscape installations to help the new planting become established.

In order to qualify for a variance, a customer/user must apply in writing, using a prescribed form, supplying all necessary information. Once the variance is approved for a specific time period, the variance is sent back to the customer to be displayed on site. All variances are recorded and maintained in a database for use by enforcement officials. All variances expire on the noted expiration date or at the onset of Stage 4 mandatory emergency restrictions

How to apply:	State request, reason and duration in writing addressed to City of Conover Public Works Department.

Who may apply:   Property owners or resident at the location where the water will be used and where water bill is sent.

Notification:	Applicant will be notified of the status of the request within 3 business days.

Obligation:	Property owner must display a copy of the variance on site when watering and must comply with all provisions of the variance.

Variance Stage 2: New landscape installation is granted permission to water on the day of installation, and for 30 days more, during the approved hours and under special conditions for outdoor water use. An additional 30 days may be granted to extend a variance if warranted and requested.

Variance Stage 3: Landscape installations installed during the previous 30 days may be granted permission to water for 30 days. No new landscape installations will be granted a variance.

Variance Stage 4:	No variances allowed. All previous variances will be voided.

Variances are not needed for water use not restricted by this ordinance, such as garden centers, tree farms, well users, etc.

Violation of the terms of the variance will be treated as a violation of mandatory restrictions and all prescribed surcharges will apply. In addition, the variance will be voided at the time of the violation.

RETURN TO NORMAL CONDITIONS

When the factors measuring the water shortage conditions warrant, the Public Works Director shall recommend that the City Manager issue a public notice declaring the water shortage resolved and the termination of water restrictions. This action means the emergency has eased but that conservation and wise water use should continue. Such actions will help to ensure the continuing availability of a safe and reliable water supply for our community.

EFFECTIVENESS

The effectiveness of the City of Conover’s Water Shortage Management Plan will be determined by comparing the stated water conservation goals with observed water use reduction data.  Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained, and evaluation of demand reductions compared to the previous year’s seasonal data.

REVISION

The Water Shortage Management Plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan.  The plan may also be revised following implementation of emergency restrictions to make adjustments required to reduce potable water demand and supplement existing drinking water supplies.

Further, a water shortage management planning work group will be formed to review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to the Conover City Council.  If revisions are not recommended following a review, a memo will be filed documenting the effectiveness of the Water Shortage Management Plan.  The City of Conover Director of Public Works is responsible for initiating all subsequent revisions.

The Water Shortage Management Plan is effective upon adoption by the Conover City Council.

Approved as to form:

_____________________							__________________

Brian Bradshaw							Date

City of Conover Water Department