## South Greene Water Corporation

## (updated September 12, 2023)

WATER SHORTAGE RESPONSE PLAN ORDINANCE

### Section 1. Authority to Implement

When conditions dictate, the Greene County Public Works Director or their designee, under the Direction of the South Greene Water Corp. President, may implement a Water Shortage Response plan (WSRP). Conditions, which may require the WSRP to be enacted, are outlined in Section 2.

### Section 2. Factors Requiring Implementation of the Water Shortage Response Plan

The South Greene Water Corporation purchases all of its water from Greene County Regional Water. South Greene Water Corporation will adhere to the same WSRP phases as is being implemented by Greene County Regional Water.

### Section 3. Water Use Classification

In order to facilitate a fair and equitable WSRP, every water use will be grouped into one of three classifications.

Class I-Essential Water Uses

These uses include but may not be limited to water use required to/for: Sustain human life and the lives of domestic pets

Maintain minimum standards of hygiene and sanitation Health care uses necessary for patient care and rehabilitation

Firefighting, including training and drills as approved by the Public Works Director

Class II - Socially or Economically Important Water Uses

These include but may not be limited to water use required to/for:

Preserve commercial vegetable gardens, fruit orchards, nursery stock and livestock maintenance Outdoor commercial watering, public or private

Establishing vegetation, after construction/earth moving activities

Filling and operation of municipal or private swimming pools provided that these swimming pools serve 25 or more residents.

Operation of commercial car washes, restaurants, laundromats, clubs, schools, churches and other similar establishments.

Class III - Non-Essential Water Uses

These uses include but. may not be limited to:

Operation of water fountains, ornamental pools and recreational swimming pools that serve fewer than 25 persons

Non-commercial washing of motor vehicles, sidewalks, houses, etc

Non-commercial watering of gardens, lawns, parks, playing fields and other recreational areas.

### Section 4. Phased WSRP and Water Use Reduction Goals

When the WSRP is implemented, the below phased approach will be followed: Phase I - Voluntary Conservation

This phase will be enacted when it is determined that one or more of the parameters outlined in Section 2 is met. If this occurs, the consumers will be notified promptly by any or all of the following: mailers, door hangers, public postings at the County Complex, Post Offices, etc. The public will be asked to begin voluntary conservation measures and Class III Non-Essential uses will be halted. Specific conservation measures and tips can be seen on Attachment I.

Continued water consumption by Class III, non-essential users will result in a written notice of violation for the first offense and a $25.00 fine for each subsequent offense.

If the determining parameter{s} returns to seasonal norms, the measures will be lifted. However, failure of the determining parameter{s} to return to a state of seasonal normalcy may require the initiation of Phase II.

Phase II - Mandatory

This phase will begin when the County Public Works Director issues a water shortage advisory. The consumers will be notified by one of the methods noted in Phase I. All users will be required to adhere to the voluntary conservation measures as noted in Attachment I.  Class III uses will be banned. Class II uses will be allowed although outdoor vegetative watering will be limited according to the resident's street address. Even numbered addresses will be allowed to water on even days of the month. Odd numbered addresses will be allowed to water on odd days of the month.

During Phase II, industrial facilities will be required to develop and demonstrate to the Public Works director a water shortage response program. This program should show, at least, a 25 % reduction in water usage.

Failure to adhere to the Phase II (Mandatory) required conditions will result in a written notice of violation for the first offense and/or a $50.00 fine. Thereafter, each violation increases by a factor of

$50.00. Any violation past a fourth offense shall result in a disruption of water service to the offending party until Phase II has been rescinded.

Phase III - Emergency

This phase will commence with the issuance of a water shortage emergency declaration from the County Public Works Director. Users will be notified by any or all of the methods noted in Phase I. All users will be required to use voluntary conservation measures outlined in "Attachment I". Class III uses will be banned and Class II uses will be allowed with the exception of vegetative watering Industrial users will be required to implement their water reduction program, immediately.

Failure to comply with the mandates during Phase III will require the offending party to pay $100.00 fine for the first offense, $350.00 fine for the second offense and disruption of service for the third offense.

In addition, residential users will be allotted 1000 gallons per month per person per connection. If the user uses 1001 - 1250 gallons per month per person per connection, a surcharge of 25% will be added to the monthly bill. If the user uses 1251 - 1500 gallons per month per person per connection, a surcharge of 75% will be added to the monthly water bill. If the user uses 1501 or more gallons per month per person per connection, a surcharge of 150% will be added to the monthly bill.

Commercial, industrial and institutional facilities will be required to reduce their monthly water consumption by 25% of the previous 12 - month water consumption average to maintain the current water rate for that month. The average water use can be evaluated on an individual basis for facilities with seasonal demand fluctuations. A 10 - 24% water use reduction from the previous 12 - month water use average will require the County to impose a 25% surcharge on the monthly water bill. A 0 - 9% water use reduction from the previous 12 - month water use average will require the County to impose a 50% surcharge on the monthly water bill. An increase of 1 - 25% above the previous 12 - month water use average will result in surcharge of 100% added to the next monthly bill. Any amount used above 25% of the previous 12 - month average water use will require the County to add a surcharge of 150% to the monthly bill.

# Section 5. Enforcement

Enforcement of mandatory conservation and associated fines will be the responsibility of the Public Works Director under the direction of the president of the board.

# Section 6. Water Shortage Response Plan Cancellation

As the determining parameter(s) decrease in severity and return to acceptable levels, the County will lift the WSRP. The cancellation process will be in the reverse order of the WSRP implementation.

# Section 7. Conservation Measures

Direct users to adopt the following conservation measures:

INDOOR RESIDENTIAL USE:

Conservation for Voluntary and Mandatory Conservation Phases

  - Use dishwashers only when they are full. Washing dishes by hand (don't let the tap run!) Saves about 25 gallons

  - Adjust water level on clothes washing machines, if possible. Use full loads only, if not adjustable.

  - Turn off faucets while brushing teeth, etc. Saves about 5 gallons per day

  - Reduce water used per flush by installing toilet tank displacement inserts, a plastic jug may often be used as an alternative. DO NOT USE BRICKS - they disintegrate when soaked and

the resulting grit hinders closing of the flap valve.

  - Do not use the toilet as a trash can.

  - Use sink and tub stoppers to avoid wasting water.

- Keep a bottle of chilled water in the refrigerator for drinking.

- Find and fix leaks in faucets and water-using appliances. Faucets can usually be fixed cheaply and quickly by replacing washers.

- Adapt plumbing with flow-restricting or other water-saving devices. These are usually inexpensive and easy to install.

- Learn to read your water meter so you can judge how much water you use and what difference conservation makes.

- Take shorter showers and shallow baths. Saves about 25 gallons.

- Reduce the number of toilet flushes per day. Each flush uses about 5 gallons (2-3 if you have water saving toilets).

- Don't use a garbage disposal

- Use non-phosphate detergent and save laundry water for lawns and plants.

Conservation for Emergency Conservation or Rationing Phase (In addition to measures listed above).

- Turn off shower while soaping up.

- Use disposable eating utensils.

OUTDOOR RESIDENTIAL USE

Conservation for Normal Conditions and Voluntary Conservation Phase Lawns

- Water before 10:00 a.m. to prevent evaporation which occurs during the hottest part of the day. Morning is better than evening, when the dampness encourages growth of fungus.

- Water only when lawn shows signs of wilt. Grass that springs back when stepped on does not need water.

- Water thoroughly, not frequently: long enough to soak roots, a light sprinkling evaporates quickly and encourages shallow root systems. Water slowly to avoid runoff.

- Don't let the sprinkler run any longer than necessary. In an hour, 600 gallons can be wasted.

- Allow maximum of one inch of water per week on your lawn. To measure, place cake tins outside to collect rain and water from sprinklers.

- Use pistol-grip nozzles on hoses to avoid waste when watering flowers and shrubs.

- Aerate lawns by punching holes 6 inches apart. This allows water to reach roots rather than run off surfaces.

- Position sprinklers to water the lawn, not the pavement.

- Avoid watering on windy days when the wind not only blows water off target, but also causes excess evaporation.

- Keep sprinkler heads clean to prevent uneven watering.

- Adjust hose to simulate a gentle rain. Sprinklers that produce a fine mist waste water through evaporation.

- Know how to tum off an automatic sprinkler system in case of rain.

- Use an alarm clock or stove timer to remind you to shut off sprinklers that don't have timers.

Vegetables and Flower Gardens

  - Water deeply, slowly and weekly. Most vegetables require moisture to a depth of 6 to 8 inches.

  - Keep soil loose so water can penetrate easily.

  - Keep weeds out to reduce competition for water.

  - Put the water where you want it and avoid evaporation by using soil-soakers or slow running hoses, not sprinklers.

Trees and Shrubs

  - Water deeply using a soil-soaker or drip-irrigation.

  - Water only when needed. Check the depth of soil dryness by digging with a trowel.

  - Mulch to reduce evaporation, a 2" to 3" layer of wood chips, pine needles, grass clippings, or straw keeps the soil cool in summer.

  - Dig troughs around plants to catch and retain water.

  - Water trees growing in full sun more often than those in shade.

  - Do not use sprinklers. Apply water directly at base.

  - Do not fertilize during the summer. Fertilizing increases a plant's need for water.

  - Postpone planting until fall or spring when there is generally less need for water.

  - Install trickle-drip irrigation systems close to the roots of your plants. By dripping water slowly, the system doesn't spray water in to the air. Use soil probes for large trees.

  - Water when cloudy, at night, or even when a light rain is falling.

OUTDOOR RESIDENTIAL USE

Conservation for Voluntary Conservation Phase (in addition to measures listed above).

- Do not allow children to play with hose or sprinklers.

- Limit car washing.

- Be ready to catch rainfall that occurs. Place containers under drain spouts.

- Use leftover household water if available.

- Consider delaying the seeding or sodding of new lawns.

- Determine the amount of water being used outdoors by comparing water bills for summer and winter.

Conservation for Mandatory Conservation Phase (In addition to measures listed above).

- Vegetable gardens and food trees should be given minimal amounts of water on an individual basis only.

- Do not water lawns and inedible plants.

- Do not use sprinklers.

Most outdoor watering is prohibited under Emergency Conservation conditions.

HOSPITAL AND HEALTH CARE FACILITY USE

- Reduce laundry usage or services by changing bed linens, etc. only when necessary to preserve the health of patients or residents.

- Use disposable food service items.

- Eliminate, postpone, or reduce, as they may be appropriate, elective surgical procedures during the period of emergency.

INDUSTRIAL USE

- Identify and repair all leaky fixtures and water-using equipment. Give special attention to equipment connected directly to water lines, such as processing machines, steam-using machines, washing machines, water-cooled air conditioners, and furnaces.

- Assure that valves and solenoids that control water flows are shut off completely when the water-using cycle is not engaged.

- Adjust water-using equipment to use the minimum amount of water required to achieve its stated purpose.

- Shorten rinse cycles for laundry machines as much as possible; implement lower water levels wherever possible.

- For processing, cooling, and other uses, either re-use water or use water from sources that would not adversely affect public water supplies.

- Advise employees, students, patients, customers, and other users not to flush toilets after every use. Install toilet tank displacement inserts; place flow restrictors in shower heads and faucets; close down automatic flushes overnight.

- Install automatic flushing valves to use as little water as possible or to cycle at longer intervals.

- Place water-saving posters and literature where employees, students, patients, customers', etc. will have access to them.

- Check meters on a frequent basis to determine consumptive patterns.

- Review usage patterns to see where other savings can be made.

8. Public Comment

Customers will have multiple opportunities to comment on any significant revision of the water shortage response plan. Consumers will be notified promptly by any or all of the following: mailers, door hangers, public postings at the County Complex, Post Offices, etc.

9. Variance Protocols

Applications for water use variance requests are available from the system’s Utility Office. All applications must be submitted to the Utility Office for review by the Utility Director or his or her designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

10. Effectiveness

The effectiveness of the South Greene Water Corporation WSRP will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained and evaluation of demand reductions compared to the previous year’s seasonal data.

11. Revision

The WSRP will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to the County Council. The Greene County Utility Director is responsible for initiating all subsequent revisions.