Water Shortage Response Plan 
Town of Garland, North Carolina 
            February 20, 2018

NC 03·82·020

The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water.

Section I. Authorization

The Garland Mayor and ORC shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In his/her absence, the Town Clerk will assume this role.

Mrs. Winifred Hill Murphy 
Garland Mayor

Phone: 910-529-4141

E-mail: twngarland@intrstar.net

Pamela Cashwell 
Garland Town Clerk 
Phone:910-529-4141

E-mail: pcashwell@intrstar.net

Mr. Tony Baldwin 
ORC Water

Phone: 252-236-1655

E-mail:  tbaldwin@envirolinkinc.com

Section 2.

Factors Requiring Implementation of the Water Shortage Response Plan

Several parameters or conditions may require the Town of Garland to begin the WSRP. These include but may not be limited to significant reductions in well water levels, a significant increase in pump run times for the predetermined total flow at the well(s), contaminants in the water system, act of terrorism, vandalism, main breaks and natural disasters.

If the factors listed above reduce well water levels or pump run times or by any event or combination of events prevent the water system from delivering water, WSRP phases will be enacted in the following order:

Phase I will be enacted if a 20% reduction in normal well water levels is noted or if pump run times increase 20% in order to maintain previous rates or any other event which causes a 20% reduction is the water system's capacity.

Phase II will be enacted if a 40% reduction in normal well water levels is noted or if pump run times increase 40% in order to maintain previous rates or any other event which causes a 40% reduction in the system's capacity.

Phase III will be enacted if a 60% reduction in normal well waters levels is noted or if pump run times increase 60% in order to maintain previous rates or any other event which causes a 60% reduction in the system's capacity.

Section 3.

Water Use Classification

In order to facilitate a fair and equitable WSRP, every water use will be grouped into one of three classifications.

Class I- Essential Water Uses. These uses include but may not be limited to water use required to/for:

Sustain human life and the lives of domestic pets;

Maintain minimum standards of hygiene and sanitation;

Health care uses necessary for patient care and rehabilitation; and

Firefighting, including training and drills as approved by the Town's Mayor

Class II - Socially or Economically Important Water Uses. These include but may not be limited to water use required to/for:

Preserve commercial vegetable gardens, fruit orchards, nursery stock and livestock maintenance;

Outdoor commercial watering, public or private;

Establishing vegetation, after construction/earth moving activities;

Filling and operation of municipal or private swimming pools provided that these swimming pools serve 25 or more residents; and

Operation of commercial car washes, restaurants, Laundromats, clubs, schools, churches and other similar establishments.

Class III - Non-Essential Water Uses. These uses include but may not be limited to:

Operation of water fountains, ornamental pools and recreational swimming pools that serve fewer than 25 persons;

Non-commercial washing of motor vehicles, sidewalks, houses, etc; and

Non-commercial watering of gardens, lawns, parks, playing fields and other recreational areas.

Section 4. Phased WSRP and Water Use Reduction Goals

When the WSRP is implemented, the below phased approach will be followed:

Phase I - Voluntary Conservation

This phase will be enacted when it is determined that one or more of the parameters outlined in Section 2 is met. If this occurs, the consumers will be notified promptly by any or all of the following: mailers, door hangers, public postings at the Town Hall, Post Offices, etc. The public will be asked to begin voluntary conservation measures and Class III Non-Essential uses will be halted. Specific conservation measures and tips can be seen on Attachment I. Continued water consumption by Class III, non-essential users will result in a written notice of violation for the first offense and a $25.00 fine for each subsequent offense.

Garland Water Shortage Response Plan

If the determining parameter(s) return to seasonal norms, the measures will be 
lifted. However, failure of the determining parameter(s) to return to a state of 
seasonal normalcy may require the initiation of Phase II.

Phase II - Mandatory

This phase will begin when the Town Public Works Director issues a water 
shortage advisory. The consumers will be notified by one of the methods noted 
in Phase I. All users will be required to adhere to the voluntary conservation 
measurers as noted in Attachment I. Class III uses will be banned. Class II 
uses will be allowed although outdoor vegetative watering will be limited 
according to the resident's street address. Even numbered addresses will be 
allowed to water on even days of the month. Odd numbered addresses will be 
allowed to water on odd days of the month.

During Phase II, industrial facilities will be required to develop and demonstrate 
to the Public Works director a water shortage response program. This program 
should show, at least, a 25% reduction in water usage.

Failure to adhere to the Phase II (Mandatory) required conditions will result in a 
written notice of violation for the first offense and/or a $50.00 fine. Thereafter, 
each violation increases by a factor of $50.00. Any violation past a fourth offense 
shall result in a disruption of water service to the offending party until Phase II 
has been rescinded.

Phase III - Emergency

This phase will commence with the issuance of a water shortage emergency 
declaration from the Town's Public Works Director. Users will be notified by any 
or all of the methods noted in Phase I. All users will be required to use voluntary 
conservation measures outlined in "Attachment I". Class III uses will be banned 
and Class II uses will be allowed with the exception of vegetative watering 
Industrial users will be required to implement their water reduction program, 
immediately.

Failure to comply with the mandates during Phase III will require the offending 
party to pay $100.00 fine for the first offense, $350.00 fine for the second offense 
and disruption of service for the third offense.

In addition, residential users will be allotted 1000 gallons per month per person 
per connection. If the user uses 1001 -1250 gallons per month per person per 
connection, a surcharge of 25% will be added to the monthly bill. If the user uses 
1251 - 1500 gallons per month per person per connection, a surcharge of 75% 
will be added to the monthly water bill. If the user uses 1501 or more gallons per 
month per person per connection, a surcharge of 150% will be added to the 
monthly bill.

Commercial, industrial and institutional facilities will be required to reduce their 
monthly water consumption by 25% of the previous 12 - month water 
consumption average to maintain the current water rate for that month. The 
average water use can be evaluated on an individual basis for facilities with

NC Division of Water Resources 
http://www.ncwater.org

3

Garland Water Shortage Response Plan

seasonal demand fluctuations. A 10 – 24% water use reduction from the 
previous 12 - month water use average will require the Town to impose a 25% 
surcharge on the monthly water bill. A 0 – 9% water use reduction from the 
previous 12 - month water use average will require the Town to impose a 50% 
surcharge on the monthly water bill. An increase of 1 – 25% above the previous 
12 - month water use average will result in surcharge of 100% added to the next 
monthly bill. Any amount used above 25% of the previous 12 - month average 
water use will require the Town to add a surcharge of 150% to the monthly bill.

Section 5. Enforcement

Enforcement of mandatory conservation and associated fines will be the responsibility of 
the Public Works Director under the direction of the Town's Mayor.

Section 6. Water Shortage Response Plan Cancellation

As the determining parameter(s) decrease in severity and return to acceptable levels, the 
Town will lift the WSRP. The cancellation process will be in the reverse order of the 
WSRP implementation.

Section 7. Public Comment

Customers will have multiple opportunities to comment on the provisions of the water 
shortage response plan. First, a draft plan will be published in Sampson Independent. A 
public hearing will be scheduled with notice printed in all customer water bills to collect 
comments on the draft. All subsequent revisions to the draft plan will be published at 
least 30 days prior to an adoption vote by Garland's Town Council.

Section 8. Variance Protocols

Applications for water use variance requests are available from the Town Hall. All 
applications must be submitted to the Utility Office for review by the Utility Director or his 
or her designee. A decision to approve or deny individual variance requests will be 
determined within two weeks of submittal after careful consideration of the following 
criteria: impact on water demand, expected duration, alternative source options, social 
and economic importance, purpose (i.e. necessary use of drinking water) and the 
prevention of structural damage.

Section 9. Effectiveness

The effectiveness of the Garland water shortage response plan will be determined by 
comparing the stated water conservation goals with observed water use reduction data. 
Other factors to be considered include frequency of plan activation, any problem periods 
without activation, total number of violation citations, desired reductions attained and 
evaluation of demand reductions compared to the previous year's seasonal data.

NC Division of Water Resources 
http://www.ncwater.org

4

Garland Water Shortage Response Plan

Section 10. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to 
new circumstances affecting water supply and demand, following implementation of 
emergency restrictions, and at a minimum of every five years in conjunction with the 
updating of our Local Water Supply Plan. Further, a water shortage response planning 
work group will review procedures following each emergency or rationing stage to 
recommend any necessary improvements to the plan to Garland's Town Council. The 
Town of Garland Utility Director is responsible for initiating all subsequent revisions.

NC Division of Water Resources 
http://www.ncwater.org

5