**Water Shortage Response Plan**

**Town of Stantonsburg, North Carolina**

**March 8, 2023**

The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water.

1. Authorization

The Stantonsburg Town Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In his absence, the ORC-WTP will assume this role.

Ms. Barbra Aycock

Stantonsburg Interim Town Manager

Phone: (252)238-3608

Email: [baycock@townofstantonsburg.com](mailto:baycock@townofstantonsburg.com)

Mr. Roger Sullivan

Town of Stantonsburg ORC-WTP

Phone: (252)414-7800

Email: [roger@townofstantonsburg.com](mailto:roger@townofstantonsburg.com)

1. Notification

The following notification methods will be used to inform water system employees and customers of a water shortage declaration: employee e-mail announcements, notices at municipal buildings and notices in water bills. Required water shortage response measures will be communicated through *The Wilson News*, PSA announcements on local radio stations and cable stations. Declaration of emergency water restrictions or water rationing will be communicated to all customers by telephone and door hangers if necessary.

1. Levels of Response

Five levels of water shortage response are outlined in the table below. The five levels of water shortage responses are voluntary reductions, mandatory reductions and water rationing. A detailed description of each response level and corresponding water reduction measures follow below.

**Stage Response Description**

1. Voluntary Water users are encouraged to reduce their water use and improve water

Reductions use efficiency; however, no penalties apply for noncompliance. Water

Supply conditions indicate a potential shortage.

1. Mandatory Water users must abide by required water use reduction and efficiency

Reductions I measures; penalties apply for noncompliance. Water supply conditions

are significantly lower than the seasonal norm and water shortage

conditions are expected to persist.

1. Mandatory Same as in Stage 2.

Reductions II

1. Emergency Water supply conditions are substantially diminished and pose an

Reductions imminent threat to human health or environmental integrity.

1. Water Water supply conditions are substantially diminished and remaining

Rationing supplies must be allocated to preserve human health and environmental

integrity.

In Stage 1, Voluntary Reductions, all water users will be asked to reduce their normal water use by 5%. Customer education and outreach programs will encourage water conservation and efficiency measures including: irrigating landscapes a maximum of one inch per week, preventing water waste, runoff and watering impervious surfaces; watering plants deeply to encourage root growth; washing only full loads in clothes and dishwashers; using spring-loaded nozzles on garden hoses; and identifying and repairing all water leaks.

In Stage 2, Mandatory Reductions I, all customers are expected to reduce their water use by 10% in comparison to their previous month’s water bill. In addition to continuing to encourage all voluntary reduction actions, the following restrictions apply: irrigation is limited to a half inch per week between the hours of 8 pm and 8 am; outdoor use of drinking water for washing impervious surfaces is prohibited; and all testing and training purposes requiring drinking water (e.g. fire protection) will be limited.

In Stage 3, Mandatory Reductions II, customers must continue actions from all previous stages and further reduce water use by 20% compared to their previous month’s water bill. All non-essential uses of drinking water are banned and garden and landscape irrigation must be reduced to the minimum amount necessary for survival. Additionally, in Stage 3, a drought surcharge of 1.5 times the normal water rate applies.

In Stage 4, Emergency Reductions, customers must continue all actions from previous stages and further reduce their water use by 25% compared to their previous month’s water bill. A ban on all use of drinking water except to protect public health and safety is implemented and drought surcharges increase to 2 times the normal water rate.

The goal of Stage 5, Water Rationing, is to provide drinking water to protect public health (e.g. permitted to use water at the minimum required for public health protection. Firefighting is the only allowable outdoor water use and pickup locations for distributing potable water will be announced to Stantonsburg’s Emergency Response Plan. Drought surcharges increase to 5 times the normal water rate.

1. Triggers

Stantonsburg’s water source is groundwater. The following measurements of well pumping times and well levels in relationship to pump intake levels trigger entry into corresponding water restriction levels.

**Stage Well Operating Conditions**

1. Pumping Time >10 hours

20% reduction in seasonal distance from static water level to pump intake

1. Pumping Time > 12 hours

40% reduction in distance from static water level and pump intake

40% increase pumping time for same output

1. Pumping Time > 14 hours

60% reduction in distance from static water level and pump intake

60% increase pumping time for same output

1. Pumping Time > 20 hours

80% reduction in distance from static water level and pump intake

1. Water level at pump intake elevation

Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decrease in reverse order of implementation. Permanent measures directed to long-term monitoring and conservation should be implemented or continues so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

1. Enforcement

The provisions of the water shortage response plan will enforced by the Town of Stantonsburg utility department and police personnel. Violators may be reported on the Town’s telephone line. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

**Water Shortage Level First Violation Second Violation Third Violation**

Voluntary Reductions N/A N/A N/A

Mandatory Reductions Warning $250 Discontinuation of

(Stages 2 and 3) Service

Emergency Reductions $250 Discontinuation of Discontinuation of

Service Service

Water Rationing $500 Discontinuation of Discontinuation of

Service Service

Drought surcharge rates are effective in Stages 3, 4 and 5.

1. Public Comment

Customers will have multiple opportunities to comment on the provisions of the water shortage response plan. First, a draft will be available at the Town Hall for customers to review. A notice will be included in customers’ water bill notifying them of such. All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by the Stantonsburg Town Council.

1. Variance Protocols

Applications for water use variance requests are available from the Town Office. All applications must be submitted to the Town Office for review by the ORC-WTP or his designee. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

1. Effectiveness

The effectiveness of the Stantonsburg Water Shortage Response Plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of activation, any problem periods without activation, total number of violation citations, desired reductions attained and evaluation of demand reductions compared to the previous year’s seasonal data.

VIIII. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions and at a minimum of every five years in conjunction with the updating of the Local Water Supply Plan. Further, a water shortage response planning group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Stantonsburg’s Town Council. The Town of Stantonsburg’s ORC-WTP is responsible for initiating all subsequent revisions.