WATER SHORTAGE RESPONSE PLAN                                                                                                                  TOWN OF CERRO GORDO, NORTH CAROLINA                                                                                                               APRIL, 2023

I.  AUTHORIZATION

The Cerro Gordo Town Mayor shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met.  In his or her absence, the Utility Operator will assume this role.

Mr. David White                                                                                 Steven Price                                          
Cerro Gordo Town Mayor                                                                 Town of Cerro Gordo Operator of Water Phone:  910.654.5387                                                                        System                                                         Email:  cgth@embarqmail.com                                                        Phone: 910.654.5387

II.  NOTIFICATION

The following notification methods will be used to inform water system employees and customers of a water shortage declaration:  employee e-mail announcements, notices at municipal buildings, notices in water bills.  Required water shortage response measures will be communicated through PSA announcements on local radio and cable stations. Declaration of emergency water restrictions or water rationing will be communicated to all customers by telephone.

III.  LEVELS OF RESPONSE

Five levels of water shortage response are outlined in the table below.  The five levels of water shortage response are:  voluntary reductions, mandatory reductions I and II, emergency reductions and water rationing.  A detailed description of each response level and corresponding water reduction measures follow below:

Stage                        Response                   Description

1                                Voluntary                    Water users are encouraged to reduce their water use and                                                                                                  *                                Reductions                  improve water use efficiency; however, no penalties apply for   *                                                                      noncompliance.  Water supply conditions indicate a potential         *                                                                      for shortage

2                               Mandatory                   Water users must abide required water use reduction and               *                               Reductions I                  efficiency measures, penalties apply for noncompliance.              *                                                                       Water supply conditions are significantly lower than the                *                                                                       seasonal norm and water shortage conditions are expected to      *                                                                       persist.

3.                               Mandatory                   Same as in Stage 2                                                                                 *                               Reductions II

4.                             Emergency                   Water supply conditions are substantially diminished and                *                               Reductions                   pose an imminent threat to human health or environmental       *                                                                      integrity

5.                             Water                             Water supply conditions are substantially diminished and                          *                             Rationing                         remaining supplies must be allocated to preserve human           *                                                                       health and environmental integrity.

In State 1, Voluntary Reductions, all water users will be asked to reduce their normal water use by 5%.  Customer education and outreach programs will encourage water conservation and efficiency measures including:  irrigating landscapes a maximum of one inch per week; preventing water waste, runoff and watering impervious surfaces; watering plants deeply to encourage root growth; washing only full loads in clothes and dishwashers; using spring-loaded nozzles on garden hoses; and identifying and repairing all water leaks.

In Stage 2, Mandatory Reductions I, all customers are expected to reduce their water use by 10% in comparison to their previous month’s water bill.  In addition to continuing to encourage all voluntary reduction actions, the following restrictions apply:  irrigation is limited to a half inch per week between 8PM and 8AM; outdoor use of drinking water for washing impervious surfaces is prohibited; and all testing and training purposes requiring drinking water (e.g. fire protection) will be limited.

In Stage 3.  Mandatory Reductions II, customers must continue actions from all previous stages and further reduce water use by 20% compared to their previous month’s water bill.  All non-essential uses of drinking water are banned, and garden and landscape irrigation must be reduced to the minimum amount necessary for survival.  Additionally, in Stage 3, a drought surcharge of 1.5 times the normal water rate applies.

In Stage 4, Emergency Reductions, customers must continue all actions from previous stages and further reduce their water use by 25% compared to their previous month’s water bill.  A ban on all use of drinking water except to protect public health and safety is implemented and drought surcharges increase to 2 times the normal water rate.

The goal of Stage 5, Water Rationing, is to provide drinking water to protect public health  ( e.g. residences, residential health care facilities and correctional facilities).  In Stage 5, all customers are only permitted to use water at the minimum required for public health protection.  Firefighting is the only allowable outdoor water use and pickup locations for distributing potable water will be announced according to Cerro Gordo’s Emergency Response Plan.  Drought surcharges increase to 5 times the normal water rate.

IV.   TRIGGERS:

Cerro Gordo’s water source is groundwater from wells.  The following measurements of well pumping times and well pumping times and well levels in relationship to pump intake levels trigger entry into corresponding water restriction stages.

STAGE     WELL OPERATING CONDITIONS                                                                                                                        1               Pumping Times > 10 hours.  20% reduction in seasonal normal distance from static water level  *               and pump intake.  20% increase pumping time for same output.

2               Pumping Time >12 hours.  40% reduction in distance from static water level and pump intake.        *               40% increase pumping time for same output

3.               Pumping Time >14 hours.  60% reduction in distance from static water level and pump intake.      *                60% increase pumping time for same output

4                Pumping Time >20 Hours.  80% reduction in distance from static water level and pump intake

5                Water level and pump intake elevation

Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation.  Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

V.  ENFORCEMENT

WATER SHORTAGE LEVEL          FIRST VIOLATION          SECOND VIOLATION        THIRD VIOLATION                         Voluntary Reductions                              N/A                                N/A                                       N/A

Mandatory Reductions                       Warning                            $250                         Discontinuation of                          (Stages 2 and 3)                                                                                                                           Service

Emergency Reductions                           $250                       Discontinuation of           Discontinuation of                                           *                                                                                                           Service                                Service

Water Rationing                                       $500                       Discontinuation of            Discontinuation                        *                                                                                                          Service                               Service

Drought Surcharge rates are effective in Stages 3, 4, and 5.

VI.  PUBLIC COMMENT

Customers will have multiple opportunities to comment on the provisions of the water shortage response plan.  All subsequent revisions to the draft plan will be published at least 30 days prior to an adoption vote by Cerro Gordo’s Town Council.

VII.  VARIANCE PROTOCOLS

Applications for water use variance requests are available from the Town Hall.  All applications must be submitted to the Town Hall for review by the Town Mayor or his or her designee.  A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria:  impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

VIII. EFFECTIVENESS

The effectiveness of the Cerro Gordo water shortage response plan will be determined by comparing the stated water conservation goals with observed water use reduction data.  Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained, and evaluation of demand reductions compared to the previous year’s seasonal data.

IX.  REVISION

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand.  Following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan.  Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Cerro Gordo’s Town Council.  The Town of Cerro Gordo Water System Operator is responsible for initiating all subsequent revisions.