The Town of Bryson City’s

Water Shortage Response Plan

§ 53.40  DEFINITION

For the purpose of this policy, the following definition shall apply unless the context clearly indicates or requires a different meaning.

WATER SHORTAGE: Shall be deemed to exist when the demand by customers connected to the Town water system reaches the point where continued or increased demand will equal or exceed the system supply and transmission capabilities. When demand results in the condition whereby customers cannot be supplied with water to protect their health and safety, then the demand must be substantially curtailed to relieve the water shortage.

(92’ Code, § 52.01) (Ord., passed 11-9-87)

§ 53.41 DECLARATION OF WATER SHORTAGE

In the event it appears that water demand on the Town water system may exceed supply and transmission capabilities, the Town Manager may declare that voluntary water conservation measures be implemented.  The Town Manager may declare a Stage 1 Water Shortage Condition Advisory requesting voluntary water conservation by consumers.  In the event that voluntary conservation measures fail to relieve the demand on the system, the Town may advance to a Stage 2 or Stage 3 Water Shortage Condition.  (’92 Code, § 52.02) (Ord., passed 11-9-87)

Section 1 AUTHORITY

Alternate authority: The Bryson City Town Manager shall have the authority to enact the following water shortage response provisions whenever the trigger conditions outlined in Section 4 are met. In the absence of the Town Manager, the Water Plant Superintendant or ORC of the Water Plant will assume this role.

Sam Pattillo                                                   Russell Ball

Bryson City Town Manager 			Superintendent/ORC DCWTP

sampattillo@brysoncitync.gov		russellball@brysoncitync.gov

828-488-3335 					828-488-1004

828-736-7448                                                  828-736-1174

Section 2 NOTIFICATION

The following notification methods will be used to inform water system employees and customers of a water shortage declaration: Cell phone, land line, local radio 1590 WBHN, local news paper Smoky Mountain Times, messages included on billing, notices and flyers on public and municipal buildings.

Section 3 LEVELS OF RESPONSE

Voluntary  Stage 1

§ 53.42 STAGE 1 WATER SHORTAGE CONDITION

- In the event a Stage 1 Water Shortage Condition is declared, the following guidelines shall apply:

- An extensive publicity campaign will be initiated using public media and specialized methods to inform the public of an impending or existing water shortage.

- Conservation measures will be encouraged and recommended.

- In the event a Stage 1 Water Shortage Condition is declared, the following guidelines shall apply and the public encouraged to adhere to the following:

- Limit car washing to the minimum.

- Limit lawn and garden watering to that which is necessary for plants to survive.

- Do not wash down outside areas such as sidewalks, patios, parking lots, service bays or aprons, or the like.

- Do not leave faucets running while shaving or rinsing dishes.

- Water shrubbery to the minimum required, reusing household water when possible.

- Limit use of clothes washers and dishwashers and when used, operate fully loaded.

- Use showers for bathing rather than bathtubs, and limit showers to no more than four minutes.

- Limit flushing of toilets by multiple usage.

- Use of disposable and biodegradable dishes is encouraged.

- The use of flow restrictive and water saving devices.

- Limit the hours of operation of water-cooled air conditioners

- All residences, businesses, and institutions are requested to temporarily delay new landscape work until the water shortage has ended.

(’92 Code, § 52.03) (Ord., passed 11-9-87)

Mandatory Stage 2

§ 53.43 STAGE 2 WATER SHORTAGE CONDITION

- In the event the Town Manager issues a declaration of a Stage 2 Water Shortage Condition, then it shall be unlawful for any person, firm, or corporation to use or permit the use of water from the Town water system for any purpose hereinafter set forth until such time as the declaration of water shortage has been rescinded. In exercising the authority for declaring a water shortage condition, consideration shall be given to water storage levels and the available sources of supply, available usable storage on hand, drawdown rates, the projected supply capability, outlook for precipitation, daily water use patterns, and the availability of water from other sources.

(B) In the event a Stage 1 Water Shortage Condition is in effect and the triggers

described in Section 4 are met, then a Stage 2 Water Shortage Condition may be

proclaimed. In addition to the voluntary guidelines already in effect, it shall be

unlawful to use water supplied by the Town water system in the following

manner:

- (a) To water lawns, grass, shrubbery, trees, flowers, and vegetable gardens

except in accordance with the schedule set forth below for specific areas in the service area. Such watering shall be done by hand-held hose or container or by drip irrigation system only.

(b) All areas may water on Sunday and Thursday between the hours of 6:00am and 9:00am.

(2) To fill newly constructed swimming and/or wading pools or refill swimming

and/or wading pools which have been drained.

(3) To wash automobiles, trucks, trailers, boats, airplanes, or any other types of

mobile equipment, including commercial washing.

(4) To wash down the outside areas such as streets, driveways, service station

aprons, parking lots, office buildings, exteriors of existing or newly constructed

homes or apartments, sidewalks, or patios, or to use water for any other similar

purposes.

(5) To use water from public or private fire hydrants for any purpose other than fire

suppression or other public emergency.

(6) To operate or induce water into any ornamental fountain, or other structure

making similar use of water.

(7) To serve drinking water in restaurants, cafeterias, or other food establishments,

except upon request.

(8) To operate water-cooled air conditioners or other equipment that does not

recycle cooling water, except when health and welfare are adversely affected.

(9) To use water for any unnecessary purpose or to intentionally waste water.

(’92 Code, § 52.04) (Ord., passed 11-9-87) Penalty, see § 53.99

Mandatory Stage 3

§ 53.44 STAGE 3 WATER SHORTAGE CONDITION

(A) In the event the Town Manager issues a declaration of a Stage 3 Water Shortage

condition, then it shall be unlawful for any person, firm, or corporation to use or permit the use of water from the Town water system for any purpose hereinafter set forth until such time as the declaration of water shortage has been rescinded. In exercising the authority for declaring a water shortage condition, consideration shall be given to water storage levels and available sources of supply, available usable storage on hand, drawdown rates, the projected supply capability, outlook for precipitation, daily water use patterns, and the availability of water from other sources.

- In the event a Stage 2 Water Shortage Condition exists and the triggers described as Section 4 Triggers are met, then a Stage 3 Water Shortage may be declared. In addition to the restrictions for Stage 1 and Stage 2 Water Shortage Conditions, it shall be unlawful to use water supplied by the Town water system in the following manner:

- To induce water into any pool.

- To use water outside a structure for any use other than an emergency involving fire protection.

- To operate an evaporative air conditioner which recycles water except during operating hours of business.

In addition, during a Stage 3 Water Shortage, fire protection shall be provided by the drafting of ponds, rivers, and the like whenever possible and the use of throw-away utensils and plates is encouraged and recommended at all eating establishments.

(’92 Code, § 52.05) (Ord., passed 11-9-87) Penalty, see § 53.99 existing plan and Section 5 ENFORCEMENT

Section 4 TRIGGERS

The Town of Bryson City reserves the right to declare a water shortage in the event that the town’s ability to produce or deliver adequate water to its customers is hindered. These triggers are not limited to but include the following triggers:

severe mechanical failures, main line breaks, source contamination, or exceeding 80% of the Water Plants capacity for more than three days consecutively (7Q10). Examples of mechanical breakdowns include but are not limited to filter under drain failure, pump failures etc. In addition to the aforementioned triggers the levels in storage tanks shall be considered in the declaration of any or all of the levels of a water shortage and the timing of its implementation. Presently when the tank level drops below 46.5 feet at the Sherrill Gap tank some customers begin to lose pressure. When any trigger such as a mechanical failure, main line break, or drought condition that limits the refilling of the Sherrill Gap tank or any combination of storage tanks to less than acceptable levels, the appropriate Stage of use restriction will be declared. A situation could exist where only a portion of the system would be affected, limiting use restrictions to the affected area only.

A Stage 1 level shall be declared when there are one or more of the aforementioned triggers that would limit or hinder the ability to produce or supply water for a short or limited time or when the level of raw source water is deemed low or has the potential to drop to a level that could limit production of potable water, or when use exceeds 80% of production for three consecutive days. Goal is 5-10% reduction in use.

A Stage 2 level shall be declared when there are one or more of the aforementioned triggers that would limit or hinder the ability to produce or supply water for an extended period of time or until whatever repairs needed can be made to the mechanical failure, stream levels drop to levels that limit production, or when use exceeds 80% of production for 5 consecutive days. Goal is 10-20% reduction in use.

A Stage 3 level shall be declared when there are one or more of the aforementioned triggers that would limit or hinder the ability to produce or supply water for an extreme or extended period of time to include extreme mechanical failures, severe or extreme drought conditions or any combination of the above, or when use exceeds 80% of production for 7 consecutive days. Goal is 25% reduction in use.

§ 53.45 LIFTING OF RESTRICTIONS

(A) Water shortage conditions will expire when the Town Manager after

consultation with the Board of Aldermen and upon the recommendation of Superintendant of Water and Waste Water and the ORC of the WTP, deems that the condition which caused the alert abated.

(B) The expiration or cancelation of a water shortage declaration shall be

promptly and extensively publicized. See Section 2 Notification

(’92 Code, § 52.06) (Ord., passed 11-9-87)

Section 5  ENFORCEMENT

  - Every Police Officer of the Town shall, in connection with his duties imposed by the law, diligently enforce the provisions of this WSRP.

  - The Town Manager shall have the authority to enforce the provisions of this WSRP by the discontinuance of water service a specified in § 53.47 in the event of violation hereof.

(’92 Code, § 52.07) (Ord., passed 11-9-87)

(C) The violation of these provisions may be reported at the following

Number: (828)488-3335.

§ 53.47   Discontinuance Of Service

Pursuant to the provisions of G.S. §  160A-174 and the Town water regulations, service may be temporarily discontinued for willful disregard of this WSRP and a $250.00 reconnect fee may be imposed before restoration of service. In the event of continued gross noncompliance with this WSRP, the removal of the meter will be deemed proper, service will be discontinued, and all tap fees and deposits forfeited. Reconnection will only be made by payment of current due amounts, and new tap fees and deposits shall be paid.

(’92 Code, § 52.08) (Ord., passed 11-9-87)

Level          violation 1        violation 2         violation 3

STAGE  1                N/A                  N/A                    N/A

STAGE  2             warning              $100.00            discontinue service

STAGE  3             $250.00              discontinue service

Reconnect Fee $250.00

§ 53.99 PENALTY

Any violation of the provisions of this WSRP shall constitute a misdemeanor, punishable upon conviction by a fine not to exceed $250.00 or imprisonment not exceeding 30 days as provided by G.S. §  14-4, and in addition thereto such violation may be enjoined and restrained as provided in G.S. §  160A-175.

(’92 Code, § 52.99) (Ord., passed 11-9-87)

Section 6     PUBLIC COMMENT

The public will be given the opportunity to review and comment on the WSRP at a public meeting at the Town Hall of Bryson City, the public will be given notice prior to the meeting (time/date) by one or more of the methods listed in Section 2 Notification, this will normally be through the Smoky Mountain Times newspaper. This will precede final adoption of the proposed plan, after a final draft is complete and all revisions have been made, the Bryson City Board of Aldermen will vote to adopt or decline the proposed plan.

Section 7     VARIANCE PROTOCOLS

Requests for variance related to the different levels of water use restrictions will be made directly to the Bryson City Board of Aldermen, during regularly scheduled Board meetings. Persons wishing to make a request for variance should contact the Town Office at (828)488-3335 before the Town Board meeting and be scheduled for a time on the meeting agenda to make their request. All requests for variance will be reviewed and a decision to approve or disapprove the request made as quickly as possible. The decision to approve or disapprove will be made based on the human and economic impact, the expected duration of the restriction level or levels, and the health, welfare, and safety of the public.

Section 8 EFFECTIVENESS

The effectiveness of these WSRP protocols will be evaluated by comparing amounts of water used while the levels of restriction are declared compared to historical data from periods of normal operation. This data will come from billing records, water plant records, etc. This information will be used to calculate the percentage of effectiveness of the restrictions and determine if the expected goals in use reduction have been met.

Section 9 REVISIONS

The WSRP will be reviewed and revised as needed to adapt to new circumstances that affect the supply and demand of the water resource, the plan should be reviewed and revised a minimum of every five years in conjunction with the updating of the LWSP, and at any time a deficiency is identified in the WSRP. All revisions should follow the protocols laid out in Section 7 of this proposal.

Section 10 REGULATION OF PRIVATE WELLS

The Town of Bryson City has NO plan or provision to meter or regulate private drinking water wells.