Water Shortage Response Plan (WSRP)

Shelby, North Carolina

The procedures herein are written to reduce potable water demand and supplement existing drinking water supplies whenever existing water supply sources are inadequate to meet current demands for potable water. This plan is required by NC G.S. 143-355 (l).

I. Authorization

The Shelby City Manager shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In his absence, the Water Resources Director will assume this role.

Mr. Rick Howell

City of Shelby - City Manager

Phone : (704) 484-6800

E-mail : rick.howell@cityofshelby.com

Mr. Ben Yarboro

City of Shelby – Assistant City Manager

Phone : (704) 669-2060

E-mail : ben.yarboro@cityofshelby.com

II. Notification

The following notification methods will be used to inform the water system employees and customers of a water shortage declaration and required responses:

- Internal email system.

- Notices at municipal buildings and in water bill mailings.

- The Shelby Star (Local Newspaper)

- Announcements on local radio and Public, educational, and government access television (PEG channel)

- Social Media:  Facebook, Twitter, Instagram

- City’s website (www.cityofshelby.com)

III. Stages of Response

Five Stages of City of Shelby water shortage response are outlined in the table below. The five Stages of City of Shelby water shortage response are: voluntary reductions, mandatory reductions I, mandatory reductions II, emergency reductions and water rationing. A detailed description of each response stage and corresponding water reduction measures follows below.

| Stage | Response | Description |
| --- | --- | --- |
| 1 | Voluntary Reductions | Water users are encouraged to reduce their water usage and improve water usage efficiency; however, no penalties apply for noncompliance. Water supply conditions indicate a potential for shortage. |
| 2 | Mandatory Reductions I | Water users must abide by required water usage reduction and efficiency measures; penalties apply for noncompliance. Water supply conditions are significantly lower than the seasonal norm and water shortage conditions are expected to persist. |
| 3 | Mandatory Reductions II | Same as in Stage 2 |
| 4 | Emergency Reductions | Water supply conditions are substantially diminished and pose an imminent threat to human health or environmental integrity. |
| 5 | Water Rationing | Water supply conditions are substantially diminished, and remaining supplies must be allocated to preserve human health and environmental integrity. |

In Stage 1, Voluntary Reductions, all water users will be asked to reduce their normal water usage by 5%. Customer education and outreach programs will encourage water conservation and efficiency measures including irrigating landscapes a maximum of one inch per week; preventing water waste, runoff and watering impervious surfaces; watering plants deeply to encourage root growth; washing only full loads of clothes and dishwashers; using spring-loaded nozzles on garden hoses; and identifying and repairing all water leaks.

In Stage 2, Mandatory Reductions I, all customers are expected to reduce their water usage by 10% in comparison to their previous month’s water bill. In addition to continuing to encourage all voluntary reduction actions, the following restrictions apply irrigation is limited to a half inch per week between 8PM and 8AM; outdoor use of drinking water for washing impervious surfaces is prohibited; and all testing and training purposes requiring drinking water (e.g., fire protection) will be limited.

In Stage 3, Mandatory Reductions II, customers must continue actions from all previous stages and further reduce water usage by 20% compared to their previous month’s water bill. All non-essential uses of drinking water are banned, and garden and landscape irrigation must be reduced to the minimum amount necessary for survival. Additionally, in Stage 3, a drought surcharge of 1.5 times the normal water rate may apply as directed by Shelby City Council.

In Stage 4, Emergency Reductions, customers must continue all actions from previous stages and further reduce their water usage by 25% compared to their previous month’s water bill. A ban on all use of drinking water except to protect public health and safety is implemented and drought surcharges of 2 times the normal water rate may apply as directed by Shelby City Council.

The goal of Stage 5, Water Rationing, is to provide drinking water to protect public health (e.g., residences, residential health care facilities and correctional facilities). In Stage 5, all customers are only permitted to use water at the minimum required for public health protection. Firefighting is the only allowable outdoor water use and pickup locations for distributing potable water will be announced according to Shelby’s Emergency Response Plan. Drought surcharges of 5 times the normal water rate may apply as directed by Shelby City Council.

IV. Triggers

The City of Shelby’s primary water source is the First Broad River, and the secondary water source is the Broad River. The following streamflow measurements, intake levels and production capacities trigger entry into corresponding water restriction stages.

| Stage | River Operating Conditions |
| --- | --- |
| 1 | Water Level at First Broad Intake <30cfs for >7 straight days |
| 2 | Water Level at First Broad Intake <25 CFS >7 straight days |
| 3 | Water Level at First Broad Intake <25cfs for >14 days; Activate Broad River Intake. |
| 4 | Water Level at the First Broad Intake <25CFS and @ 80% of the 9.0 MGD allocated flow from the Broad River Intake (7.2MGD) |
| 5 | At or above when withdrawal of Broad River Intake of 9.0 MGD or excess is needed. |

Return to Normal

When water shortage conditions have abated and the situation is returning to normal, water conservation measures employed during each phase should be decreased in reverse order of implementation. Permanent measures directed toward long-term monitoring and conservation should be implemented or continued so that the community will be in a better position to prevent shortages and respond to recurring water shortage conditions.

V. Enforcement

The provisions of the water shortage response plan will be enforced by City of Shelby Utilities Department, Shelby Police Department, Shelby Fire & Rescue Department, and other such personnel as designated by the City Manager.  Violators may be reported to the City’s Customer Service at 704-484-6866. Citations are assessed according to the following schedule depending on the number of prior violations and current stage of the water shortage.

| Water Shortage Stage | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions (Stage 1) | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions (Stage 4) | $250 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing (Stage 5) | $500 | Discontinuation of Service | Discontinuation of Service |

VI. Public Comment

The most current WSRP will be available for review at City Hall & posted on the City of Shelby website (www.cityofshelby.com). Customers may contact the Shelby Water Resources Department at 704-484-6840 for questions or clarifications regarding the WSRP.  Customers may also comment on water shortage response protocols at City Council meetings, which are held monthly.

VII. Variance Protocols

Applications for water use variance requests are available from the City of Shelby Utilities Office. All applications must be submitted to the City of Shelby Utilities Office for review by the Water Resources Director or his/her designee.  A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e., necessary use of drinking water) and the prevention of structural damage.

VIII. Effectiveness

The effectiveness of the City of Shelby Water Shortage Response Plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained, and evaluation of demand reductions compared to the previous year’s seasonal data.

IX. Revision

The City of Shelby Water Shortage Response Plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years in conjunction with the updating of our Local Water Supply Plan. Further, a water shortage response planning work group will review procedures following each emergency or rationing stage to recommend any necessary improvements to the plan to Shelby’s City Council. The Shelby City Manager is responsible for initiating all subsequent revisions.

| Revision |  | ## Reason for Revision | ## Description of Revision |
| --- | --- | --- | --- |
| ###### Date | # |  |  |
| 10/18/2010 | 0 | WSMP Created | Adopted by Council with Resolution 75-2010 |
| 3/26/2018 | 1 | State Required Review | Changed to reflect Water Resources Director, adding David Hux; added social media outlets for notification. |
| 3/15/2023 | 2 | State Required Review | Updated section (I) staff change removed David Hux added Brian Wilson, corrected minor grammar errors throughout. |