Town of Candor, North Carolina

Water Shortage Response Plan

2019

The procedures herein are written to reduce potable water demand whenever existing water supply sources are inadequate to meet current demands for potable water.

I. Authorization

The Mayor shall enact the following water shortage response provisions whenever the trigger conditions outlined in Section IV are met. In his or her absence, the Public Works Director will assume this role.

Mr. Phillip Hearne, Mayor

Phone: (910) 974-4221

E-mail: townofcandor@embarqmail.com

Mr. Jared Smith, Public Works Director

Phone: (910) 974-4221

E-mail: publicworkstoc@embarqmail.com

II. Notification

E-mail announcements, notices at municipal buildings, notices in water bills and on the Town of Candor website will be used to inform water system customers of a water shortage declaration. Required measures will be communicated through The Courier Tribune, PSA announcements on local radio and cable stations, and on the Town of Candor website. Declaration of emergency water restrictions or water rationing will be communicated to all customers by telephone through use of reverse 911.

III. Levels of Response

Five levels of water shortage response along with a detailed description of each response level and corresponding water reduction measures are given below.

| Stage | Response | Description |
| --- | --- | --- |
| 1 | Voluntary Reductions | Water users are encouraged to reduce their water use and improve water use efficiency; however, no penalties apply for noncompliance. Conditions indicate a potential for shortage. |
| 2 | Mandatory Reductions I | Water users must abide by required water use reduction and efficiency measures; penalties apply for noncompliance. Conditions are significantly lower than the seasonal norm and water shortage conditions are expected to persist. |
| 3 | Mandatory Reductions II | Same as in Stage 2 |
| 4 | Emergency Reductions | Supply conditions are substantially diminished and pose an imminent threat to human health or environmental integrity. |
| 5 | Water Rationing | Supply conditions are substantially diminished and remaining supplies must be allocated to preserve human health and environmental integrity. |

In Stage 1, all users will be asked to reduce their normal water use by 5%. Customer education and outreach programs will encourage water conservation and efficiency measures including: irrigating landscapes a maximum of one inch per week; preventing water waste, runoff and watering impervious surfaces; watering plants deeply to encourage root growth; washing only full loads in clothes and dishwashers; using spring-loaded nozzles on garden hoses; and identifying and repairing all water leaks.

In Stage 2, all users are expected to reduce their water use by 10% in comparison to their previous month’s water bill. In addition to continuing to encourage all voluntary reduction actions, the following restrictions apply: irrigation is limited to a half inch per week between 8PM and 8AM; outdoor use of drinking water for washing impervious surfaces is prohibited; and all testing and training purposes requiring drinking water (e.g. fire protection) will be limited.

In Stage 3, users must continue actions from all previous stages and further reduce water use by 20% compared to their previous month’s water bill. All non-essential uses of drinking water are banned and garden and landscape irrigation must be reduced to the minimum amount necessary for survival. Additionally, in Stage 3, a drought surcharge of 1.5 times the normal water rate applies.

In Stage 4, users must continue all actions from previous stages and further reduce their water use by 25% compared to their previous month’s water bill. A ban on all use of drinking water except to protect public health and safety is implemented and drought surcharges increase to 2 times the normal water rate.

The goal of Stage 5 is to provide drinking water to protect public health (e.g. residences, residential health care facilities and correctional facilities). In Stage 5, all customers are only permitted to use water at the minimum required for public health protection. Firefighting is the only allowable outdoor water use and pickup locations for distributing potable water will be announced according to Candor’s Emergency Management Plan. Drought surcharges increase to 5 times the normal water rate.

IV. Trigger

In most instances, the trigger for the Town of Candor to declare a water shortage will be based on declarations of water shortages or emergency conditions declared by the Montgomery County Water System due to drought, interruptions in water treatment plant or storage tank operations, or water main breaks.  In the case of water shortages that may be caused by local conditions generally within the Town’s water distribution system, the trigger may result from water main breaks or unanticipated interruption in the operation of the Town’s elevated storage tank.  The severity of the local conditions as they may affect water supply or quality will be evaluated by the Town of Candor to determine the level of response and necessity, if any, for declaration of water restrictions or water rationing.

V. Enforcement

The provisions of the water shortage response plan will be enforced by Town of Candor public works department and police personnel. Violators may be reported to the Town’s dedicated water conservation hotline or the e-mail contact listed on the Town’s website. Citations are assessed according to the following schedule depending on the number of prior violations and current level of water shortage.

| Water Shortage Level | First Violation | Second Violation | Third Violation |
| --- | --- | --- | --- |
| Voluntary Reductions | N/A | N/A | N/A |
| Mandatory Reductions (Stages 2 and 3) | Warning | $250 | Discontinuation of Service |
| Emergency Reductions (Stage 4) | $250 | Discontinuation of Service | Discontinuation of Service |
| Water Rationing (Stage 5) | $500 | Discontinuation of Service | Discontinuation of Service |

Drought surcharge rates are effective in Stages 3, 4 and 5.

VI. Public Comment

Customers will have ample opportunity to comment on the provisions of the Water Shortage Response Plan. Notification of the intention to adopt a Water Shortage Response Plan will be published in The Courier Tribune. A public hearing will be scheduled with notice printed in all customer water bills to collect comments on the Water Shortage Response Plan. All subsequent revisions to the plan will be published at least 30 days prior to adoption by the Candor Town Board of Commissioners.

VII. Variance Protocols

Applications for water use variance requests are available from the Town of Candor website and Town Hall. All applications must be submitted to the Public Works Director for review. A decision to approve or deny individual variance requests will be determined within two weeks of submittal after careful consideration of the following criteria: impact on water demand, expected duration, alternative source options, social and economic importance, purpose (i.e. necessary use of drinking water) and the prevention of structural damage.

VIII. Effectiveness

The effectiveness of the water shortage response plan will be determined by comparing the stated water conservation goals with observed water use reduction data. Other factors to be considered include frequency of plan activation, any problem periods without activation, total number of violation citations, desired reductions attained and evaluation of demand reductions compared to the previous year’s seasonal data.

IX. Revision

The water shortage response plan will be reviewed and revised as needed to adapt to new circumstances affecting water supply and demand, following implementation of emergency restrictions, and at a minimum of every five years.  The Public Works Director is responsible for initiating all subsequent revisions.